| SUBJECT* | Triennial Electrical Power Distribution System Testing Services |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 30329 |
| --- | --- |
| SOLICITATION NUMBER* | 36C24726Q0147 |
| RESPONSE DATE/TIME/ZONE | 01-15-2026 12PM EASTERN TIME, NEW YORK, USA |
| ARCHIVE | 15 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE | SDVOSBC |
| PRODUCT SERVICE CODE* | H961 |
| NAICS CODE* | 238210 |
| CONTRACTING OFFICE ADDRESS | DEPARTMENT OF VETERANS AFFAIRS VETERANS HEALTH ADMINISTRATION Network Contracting Office (NCO) 7 2957 CLAIRMONT ROAD NE, Suite 1200 Atlanta GA 30329 |
| POINT OF CONTACT* | Contract Specialist Jessica Cummings Jessica.Cummings3@va.gov |

PLACE OF PERFORMANCE

| ADDRESS |  |
| --- | --- |
|  | Department of Veterans Affairs |
|  | Tuscaloosa VA Medical Center |
|  | 3701 Loop Road |
|  | Tuscaloosa AL |
| POSTAL CODE | 35404 |
| COUNTRY | USA |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

DESCRIPTION

This is a combined synopsis/solicitation for commercial services prepared in accordance with the format in Federal Acquisition Regulation (FAR) Parts 12 and 13, as supplemented with additional information included in this notice. This announcement constitutes the only solicitation; quotes are being requested, and a separate written solicitation will not be issued.

The Government intends to award a firm-fixed-price (FFP) contract resulting from this solicitation.

This procurement is being conducted as a total Service-Disabled Veteran-Owned Small Business (SDVOSB) set-aside. Only firms verified as SDVOSBs in the Department of Veterans Affairs Veteran Small Business Certification (VetCert) database at the time of quote submission and at the time of award are eligible for award.

The associated NAICS code is 238210, Electrical Contractors and Other Wiring Installation Contractors, with a small business size standard of $19.0 million.

DESCRIPTION OF REQUIREMENT

The Department of Veterans Affairs, Tuscaloosa VA Medical Center, is seeking qualified contractors to provide Triennial Electrical Inspection, Testing, and Maintenance Services for the facility’s Electrical Power Distribution System, in accordance with the attached Statement of Work (SOW).

Services include, but are not limited to:

- Triennial inspection and testing of electrical distribution equipment

- Compliance with applicable NFPA, NETA, OSHA, and VA requirements

- System testing, reporting, and documentation

- Coordination with VA Engineering staff and the Contracting Officer’s Representative (COR)

- Participation in site visits, if applicable

All work shall be performed in strict accordance with Attachment 1 – Statement of Work.

TERMS

This solicitation incorporates one or more provisions and clauses by reference, with the same force and effect as if they were given in full text. The full text of applicable clauses may be accessed at:

- https://www.acquisition.gov/far

- https://www.va.gov/oal/library/vaars

Offerors are responsible for reviewing the entire solicitation, including the SOW, applicable provisions and clauses, submission instructions, and evaluation criteria prior to submitting a quote.

Offerors must be verified SDVOSBs in VetCert and registered in the System for Award Management (SAM.gov) at the time of quote submission.

QUESTIONS

All questions pertaining to this solicitation must be submitted via email to the Contracting Officer no later than January 9, 2025, at 12:00 PM Eastern Time. The solicitation number shall be included in the subject line of the email to ensure timely review and response.

Questions received after this date and time will not be considered. Responses to questions, if any, will be posted as an amendment to the solicitation on SAM.gov. Offerors are responsible for monitoring SAM.gov for updates and amendments.

DEADLINE

Quotes must be submitted electronically in a single email and received no later than January 15, 2025, at 12:00 PM Eastern Time.

Late submissions will not be accepted. Telephone submissions will not be accepted.

ADDITIONAL INFORMATION

The place of performance is the Tuscaloosa VA Medical Center, Tuscaloosa, Alabama.

Award will be made in accordance with the evaluation criteria set forth in the solicitation. The Government reserves the right to make award without discussion.

PAGE 1 OF

1. REQUISITION NO.

2. CONTRACT NO.

3. AWARD/EFFECTIVE DATE

4. ORDER NO.

5. SOLICITATION NUMBER

6. SOLICITATION ISSUE DATE

a. NAME

b. TELEPHONE NO.  (No Collect Calls)

8. OFFER DUE DATE/LOCAL

TIME

9. ISSUED BY

CODE

10. THIS ACQUISITION IS

UNRESTRICTED OR

SET ASIDE:

% FOR:

SMALL BUSINESS

HUBZONE SMALL

BUSINESS

SERVICE-DISABLED

VETERAN-OWNED

SMALL BUSINESS

WOMEN-OWNED SMALL BUSINESS

(WOSB) ELIGIBLE UNDER THE WOMEN-OWNED

SMALL BUSINESS PROGRAM

EDWOSB

8(A)

NAICS:

SIZE STANDARD:

11. DELIVERY FOR FOB DESTINA-

TION UNLESS BLOCK IS

MARKED

SEE SCHEDULE

12. DISCOUNT TERMS

13a.  THIS CONTRACT IS A

RATED ORDER UNDER

DPAS (15 CFR 700)

13b. RATING

14. METHOD OF SOLICITATION

RFQ

IFB

RFP

15. DELIVER TO

CODE

16. ADMINISTERED BY

CODE

17a. CONTRACTOR/OFFEROR

CODE

FACILITY CODE

18a. PAYMENT WILL BE MADE BY

CODE

TELEPHONE NO.

UEI:

EFT:

PHONE:

FAX:

17b. CHECK IF REMITTANCE IS DIFFERENT AND PUT SUCH ADDRESS IN OFFER

18b. SUBMIT INVOICES TO ADDRESS SHOWN IN BLOCK 18a UNLESS BLOCK BELOW IS CHECKED

SEE ADDENDUM

19.

20.

21.

22.

23.

24.

ITEM NO.

SCHEDULE OF SUPPLIES/SERVICES

QUANTITY

UNIT

UNIT PRICE

AMOUNT

(Use Reverse and/or Attach Additional Sheets as Necessary)

25. ACCOUNTING AND APPROPRIATION DATA

26. TOTAL AWARD AMOUNT (For Govt. Use Only)

27a. SOLICITATION INCORPORATES BY REFERENCE FAR 52.212-1, 52.212-4. FAR 52.212-3 AND 52.212-5 ARE ATTACHED.  ADDENDA

ARE

ARE NOT ATTACHED.

27b. CONTRACT/PURCHASE ORDER INCORPORATES BY REFERENCE FAR 52.212-4. FAR 52.212-5 IS ATTACHED.  ADDENDA

ARE

ARE NOT ATTACHED

28. CONTRACTOR IS REQUIRED TO SIGN THIS DOCUMENT AND RETURN _______________

29. AWARD OF CONTRACT: REF.  ___________________________________ OFFER

COPIES TO ISSUING OFFICE.  CONTRACTOR AGREES TO FURNISH AND

DATED ________________________________.  YOUR OFFER ON SOLICITATION

DELIVER ALL ITEMS SET FORTH OR OTHERWISE IDENTIFIED ABOVE AND ON ANY

(BLOCK 5), INCLUDING ANY ADDITIONS OR CHANGES WHICH ARE

ADDITIONAL SHEETS SUBJECT TO THE TERMS AND CONDITIONS SPECIFIED

SET FORTH HEREIN IS ACCEPTED AS TO ITEMS:

30a. SIGNATURE OF OFFEROR/CONTRACTOR

31a. UNITED STATES OF AMERICA (SIGNATURE OF CONTRACTING OFFICER)

30b. NAME AND TITLE OF SIGNER (TYPE OR PRINT)

30c. DATE SIGNED

31b. NAME OF CONTRACTING OFFICER (TYPE OR PRINT)

31c. DATE SIGNED

AUTHORIZED FOR LOCAL REPRODUCTION

(REV. NOV 2021)

PREVIOUS EDITION IS NOT USABLE

Prescribed by GSA - FAR (48 CFR) 53.212

7. FOR SOLICITATION

INFORMATION CALL:

STANDARD FORM 1449

SOLICITATION/CONTRACT/ORDER FOR COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES

OFFEROR TO COMPLETE BLOCKS 12, 17, 23, 24, & 30

99

679-26-2-5056-0016

36C24726Q0147

12-22-2025

Jessica Cummings

***EMAIL***

01-15-2026

12PM

EST

508A

DEPARTMENT OF VETERANS AFFAIRS

VETERANS HEALTH ADMINISTRATION

Network Contracting Office (NCO) 7

2957 CLAIRMONT ROAD NE, Suite 1200

Atlanta GA 30329

X

100

X

238210

$19 Million

N/A

X

Department of Veterans Affairs

Tuscaloosa VA Medical Center

3701 Loop Road

Tuscaloosa AL 35404

508A

DEPARTMENT OF VETERANS AFFAIRS

VETERANS HEALTH ADMINISTRATION

Network Contracting Office (NCO) 7

2957 CLAIRMONT ROAD NE, Suite 1200

Atlanta GA 30329

508A

Department of Veterans Affairs

FMS-VA-2(101)

Financial Services Center

PO Box 149971

Austin TX 78714-0071

See CONTINUATION Page

Triennial Electrical Power Distribution System Maintenance

Tuscaloosa VA Medical Center

Please reference RFQ# 36C24726Q0147  and Title on ALL

email correspondence, and submission documents.

Please Fill-In and complete Clause VAAR 852.219-73 and VAAR

852.219-75 to be considered acceptable for Award

Questions regarding this solicitation shall be submitted no

later than December 9,2025 at 12 PM EST, unless

determined to be in the best interest of the Government as

deemed by the Contracting Officer. Telephone requests for

information will not be accepted.

Wage Determination Service Contract: No.: 2015-4609

Contracting POC: Cummings Email: Jessica.Cummings3@va.gov

See CONTINUATION Page

679-3660162-5056-854100-2580 010055590

X

x

1

Jessica Cummings

Contracting Officer

Table of Contents

SECTION A	6

A.1  SF 1449  SOLICITATION/CONTRACT/ORDER FOR COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES	6

SECTION B - CONTINUATION OF SF 1449 BLOCKS	9

B.1  CONTRACT ADMINISTRATION DATA	9

B.2 STATEMENT OF WORK	11

STATEMENT OF WORK	11

B.3 PRICE/COST SCHEDULE	19

ITEM INFORMATION	19

SECTION C - CONTRACT CLAUSES	20

C.1  52.212-4  CONTRACT TERMS AND CONDITIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (NOV 2023)	20

C.2  52.240-91  SECURITY PROHIBITIONS AND EXCLUSIONS  (NOV 2025) (DEVIATION)	26

C.3  VAAR 852.219-73  VA NOTICE OF TOTAL SET-ASIDE FOR CERTIFIED SERVICE-DISABLED VETERAN-OWNED SMALL BUSINESSES  (JAN 2023) (DEVIATION)	35

C.4  VAAR 852.219-75  VA NOTICE OF LIMITATIONS ON SUBCONTRACTING—CERTIFICATE OF COMPLIANCE FOR SERVICES AND CONSTRUCTION (JAN 2023) (DEVIATION)	38

C.5  VAAR 852.232-72 ELECTRONIC SUBMISSION OF PAYMENT REQUESTS (NOV 2018)	40

C.6  VAAR 852.242-71  ADMINISTRATIVE CONTRACTING OFFICER (OCT 2020)	41

C.7  52.252-2  CLAUSES INCORPORATED BY REFERENCE  (FEB 1998)	41

C.8  52.237-1  SITE VISIT  (APR 1984)	41

C.9  52.212-5  CONTRACT TERMS AND CONDITIONS REQUIRED TO IMPLEMENT STATUTES OR EXECUTIVE ORDERS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (OCT 2025) (DEVIATION FEB 2025)	42

SECTION D - CONTRACT DOCUMENTS, EXHIBITS, OR ATTACHMENTS	51

SECTION D - D.1 WAGE DETERMINATION	51

SECTION E - SOLICITATION PROVISIONS	71

E.1  52.212-1  INSTRUCTIONS TO OFFERORS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (SEP 2023)	71

E.2  52.216-1 TYPE OF CONTRACT (DEVIATION) (NOV 2025)	76

E.3  52.240-90  SECURITY PROHIBITIONS AND EXCLUSIONS REPRESENTATIONS AND CERTIFICATIONS (NOV 2025) (DEVIATION)	76

E.4  52.252-1  SOLICITATION PROVISIONS INCORPORATED BY REFERENCE  (FEB 1998)	80

E.5  52.212-2  EVALUATION—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (NOV 2021)	81

E.6  52.212-3  OFFEROR REPRESENTATIONS AND CERTIFICATIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (OCT 2025) (DEVIATION FEB 2025)	82

# SECTION B - CONTINUATION OF SF 1449 BLOCKS

## B.1  CONTRACT ADMINISTRATION DATA

1.  Contract Administration:  All contract administration matters will be handled by the following individuals:

a.  CONTRACTOR:

b.  GOVERNMENT:  Contracting Officer 36C247 Jessica Cummings

DEPARTMENT OF VETERANS AFFAIRS

VETERANS HEALTH ADMINISTRATION

Network Contracting Office (NCO) 7

2957 CLAIRMONT ROAD NE, Suite 1200

Atlanta GA 30329

2.  CONTRACTOR REMITTANCE ADDRESS:  All payments by the Government to the contractor will be made in accordance with:

| [X] | 52.232-33, Payment by Electronic Funds Transfer—System For Award Management, or |
| --- | --- |
| [] | 52.232-36, Payment by Third Party |

3.  INVOICES:  Invoices shall be submitted in arrears:

a.  Quarterly	[]

b.  Semi-Annually	[]

c.  Other	[x]  After maintenance, inspection, and testing are completed.

4.  GOVERNMENT INVOICE ADDRESS:  All Invoices from the contractor shall be submitted electronically in accordance with VAAR Clause 852.232-72 Electronic Submission of Payment Requests.

Department of Veterans Affairs

FMS-VA-2(101), Financial Services Center, PO Box 149971,Austin TX 78714-9971

ACKNOWLEDGMENT OF AMENDMENTS:  The offeror acknowledges receipt of amendments to the Solicitation numbered and dated as follows:

| AMENDMENT NO | DATE |
| --- | --- |

## B.2 STATEMENT OF WORK

DEPARTMENT OF VETERANS AFFAIRS

TUSCALOOSA VA MEDICAL CENTER

# STATEMENT OF WORK

FOR

Maintenance, Inspection, and Testing

of the Electrical Power Distribution System

1.	Introduction:

- This Statement of Work (SOW) describes the requirements for the maintenance, inspection, testing, and/or calibration of the Electrical Power Distribution System and all of its components at the Tuscaloosa VA Medical Center.  These work items are referenced as “Maintenance and Testing” in this document, hereafter.

- This SOW describes the requirements for the Qualified Electrical Contract Professionals – known as “Contractors” in this document, hereafter.  Contractors who are contracted by VA Medical Center to perform maintenance and testing of the Electrical Power Distribution System, and all its components shall meet all requirements stated in Section 2 of this SOW.

- This SOW describes the requirements to establish maintenance and testing reports.

- Period Performance:

- Monday through Friday 7am-3:30pm not to include federal holidays.

- The contract will run for 90days beginning from the award date.

Site Visit:

52.237-1 SITE VISIT (APR 1984) Offerors or quoters are urged and expected to inspect the site where services are to be performed and to satisfy themselves regarding all general and local conditions that may affect the cost of contract performance, to the extent that the information is reasonably obtainable. In no event shall failure to inspect the site constitute grounds for a claim after contract award.

Schedule:

- December 29th, 30th & 31st from 7am-3:30pm

- January 2nd and 5th from 7am-3:30pm

Point of Contact:

- Shemeka Braggs, Program Analyst; shemeka.braggs@va.gov 205-554-3619.

(M-F; 8:30am til 5pm).

- Scott Klatt, Electrical Supervisor; scott.klatt@va.gov 205-554-2000 ext. 4111.

(M-F; 7am-3:30pm).

2.	Qualifications of Contractors:

- Contractors shall be experienced Electrical Contractors, having properly trained and licensed permanent staff required to perform the proposed work. Electrical Contracting (i.e. the construction, repair, testing and maintenance of industrial and commercial electrical distribution systems) shall be the primary interest/specialty of the Contractor’s business.

- Contractors shall be certified by the International Electrical Testing Association (NETA) or equivalent certifying organization as Certified Technicians with each having completed the Occupational Safety & Health Administration (OSHA) approved 10-hour construction safety training.

- Contractors shall have technical training and demonstrable track records of working experience in maintenance, inspection, and testing of the Electrical Power Distribution Systems and related components in healthcare, industrial, educational, and commercial facilities for a minimum of five (5) continuous years.  Electrical components on which the Contractors have experience shall include, but not be limited to, switchboards & switchgear (low and medium voltage); low voltage controls; emergency and standby generators; automatic transfer switches, wiring, transformers, meters, and other electrical appurtenances.

- Contractors shall have safety trainings – either on-the-job or class-room type - in electrical safety outlined in the OSHA Standard 29 Code of Federal Regulations (CFR) 1910 Subpart S – Electrical, and the NFPA 70E – Standard for Electrical Safety in the Workplace.  Training certification shall be provided indicating each technician is a Qualified Person as defined by NFPA 70E.  Training certifications shall be submitted to the VA Contracting Officer prior to work.  If no training certifications are available, the contractor’s Employer shall certify that he/she has met this requirement in writing and submit it to the VA Contracting Officer prior to work.

- Contractors shall have ready access to the latest versions of the following references in order to comply with referenced minimum compliance with these codes and/or regulations:

- NFPA 70, National Electrical Code.

- NFPA 70B, Recommended Practice for Electrical Equipment Maintenance.

- NFPA 70E, Standard for Electrical Safety for the Workplace.

- NFPA 110, Standard for Emergency and Standby Power System.

- OSHA Standard 29 CFR 1910, Subparts I & S.

- International Electrical Testing Association, Inc. (NETA) – Maintenance and Testing Specifications.

- Operating /Maintenance manuals and specifications of the electrical equipment to be maintained and tested.  These documents may be obtained from the VHA Medical Center, or the equipment manufacturers.

- VHA Directive 1028, Electrical Power Distribution System

F.	Contractors shall have and provide all necessary tools, equipment, and Personal Protective Equipment (PPE) to perform the work safely, effectively, and timely.  Tools, equipment, and PPE shall comply with the requirements of OSHA Standard 29 CFR 1910, Subpart I, and NFPA 70E. Prior to initiating work, Contractor shall provide documentation that all instruments, test equipment, tools and PPE have current calibration. Dated calibration labels shall be visible on all instruments, test equipment, tools and PPE as appropriate.

3.	Summary of Work:

- The Contractor shall provide a proposed schedule with their bid proposal. The schedule shall be in the form of a progress chart of suitable scale to indicate the work scheduled for completion by any given date during the work period. The proposed schedule shall be reviewed by Tuscaloosa VAMC, Engineering Service; any requirements for adjusting the schedule (e.g. to minimize disruption to the VAMC) shall be incorporated by the Contractor.

- Contractors shall report deficiencies that are deemed critical or catastrophic immediately to the Contracting Officer and Chief, Engineering Service for immediate actions.

- Work items, definitions, and references shall comply with the latest edition of the NETA – Maintenance Testing Specifications (MTS) and with the VHA Directive 1028, Electrical Power Distribution System. Below is a list of types of electrical equipment that shall be maintained and tested:

- Switchgear and Switchboard Assemblies.

- Transformers, Dry Type, Air-Cooled, Low-voltage, Small.

- Transformers, Dry Type, Air-Cooled, Low-voltage, Large.

- Transformers, Liquid-Filled.

- Metal–Enclosed Busways.

- Switches, Air, Low-Voltage.

- Switches, Air, Medium-Voltage, Metal-Enclosed.

- Switches, Oil, Medium-Voltage.

- Switches, Vacuum, Medium-Voltage.

- Switches, SF6, Medium-Voltage.

- Circuit Breakers, Air, Insulated-Case/ Molded-Case.

- Circuit Breakers, Air, Low-Voltage Power.

- Circuit Breakers, Oil, Medium and High-Voltage.

- Circuit Breakers, Vacuum, Medium-Voltage.

- Circuit Breakers, SF6.

- Protective Relays, Mechanical, and Solid State.

- Protective Relays Microprocessor Based.

- Grounding Systems.

- Ground-fault Protection Systems.

- Motor Control, Motor Starters, Low-Voltage.

- Emergency Systems, Engine Generators.

- Emergency Systems, Automatic Transfer Switches.

- Attachments.  Government Furnished.

  - Inventory of Electrical Power Distribution System equipment to be maintained, inspected, and tested under this Scope of Work.

  - One-line and other informational drawings of the Electrical Power Distribution System.  These drawings are not certified as-built drawings.

  - Electrical Power System study information relevant to the scope of this effort, such as coordination study data, short-circuit analysis, arc-flash hazard analysis and available protective device setting information are available from a 2014 study.

- Infra-Red Scanning/Thermographic Survey shall be performed on electrical equipment.

  - Use an infra-red scanning camera to detect hot spots in the Electrical Power Distribution System.  Objective of this work is to detect any loose, broken, or corroded connections in the system.  Problem connections shall be replaced with new connectors, and/or tightened with torque wrench to meet the equipment manufacturers’ specifications.

  - Note that since this work item must be done while the Electrical Power Distribution System is energized, appropriate safety precautions must be taken before, during and after scanning the system.

- System Function Tests. Provide function tests for all equipment listed in this Scope of Work.

- Test conditions shall be coordinated with the technical point of contact.

- 4-Hour Power Outage Test

The Contractor shall be present for and will participate in the VAMC 4-hour test of the Essential Electrical System (EES).  This test shall fulfill the requirements of VHA Directive 1028, Electrical Power Distribution System, NFPA 110 (e.g. Para. 8.4.9.) and The Joint Commission (TJC).  This test will include opening all utility service connections serving the VAMC for a minimum of 4 hours. The contractor shall provide load banks to attain the minimum load of 30% or greater of the generator nameplate rating in accordance with TJC.  During the test period, verify operation of all EES components including the transfer to emergency power and return to normal service. The Contractor shall include in their bid proposal all costs associated with the services of the local utility company for the duration of the test.  The estimated duration of the Contractor’s involvement is between 8 – 12 hours.  The Contractor shall assist the VAMC staff with troubleshooting and correcting malfunctioning electrical equipment discovered during the test.  Contractor shall make any required adjustments and/or re-calibrations to all equipment which has been otherwise maintained, inspected, and tested under this Scope of Work.  Buildings included are 1, 2, 3, 4, 5, 6, 7, 8, 12, 15, 17, 18, 33, 38, 39, 40, 41, 46, 61, 63, 101, 135, 137, 138, 143, 146, 147, and 149.  Generators include 61, 62, 135, 139, 140, 141, 146, 147, 149 and Mobile Generator.

- Deliverables after completion of work:

A.	A complete written report of the work performed shall be provided to the VA within 7 days of completion.  Information shown in the report shall be as follows:

  - Company’s name, addresses, telephone, & FAX numbers.

  - Name and signature of contractors who perform the maintenance and testing.

  - VA Work Contract Number, name and number of VA Contracting Officer.

  - Date and time of work.

  - Copies of contractors’ valid licenses, professional and training certificates.

  - Descriptions and model number of specialized tools and equipment used, such as torque wrench or infra-red scanning camera and calibration certifications.

  - Location, Type, Name, and nameplate information of electrical equipment to be maintained and tested.

  - Descriptions of work items.

  - Test data.

  - Reference materials such as equipment manufacturer’s specifications, coordination study, etc.

  - Remarks on conditions of electrical equipment.  List all deficiencies, if any.

  - Recommended corrective actions, if any.

B.	Submit one (1) hard copy of the complete written report, and one (1) CD-ROM or DVD of the electronic version of the report in Microsoft Word format to the Chief, Engineering Service within seven (7) calendar days of visit.  All reference materials shall be included in the electronic version of the report, either through scanning or other means of electronic text import methods.

END OF STATEMENT OF WORK

## B.3 PRICE/COST SCHEDULE

### ITEM INFORMATION

| ITEM NUMBER | DESCRIPTION OF SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0001 |  | 1.00 | JB | __________________ | __________________ |
|  | Tri-Annual Electrical PM/Testing Scope of Work: All testing to be performed in accordance with the attached Scope of Work, VHA Directive 1028, ANSI/NETA MTS-2023 specifications and manufacturer specifications. 1. William Henderson LLC/SDV Services Inc. will supply personnel, equipment and personal protective equipment (PPE) necessary to comply with OSHA and NFPA 70E requirements to perform above services. 2. VA will provide an individual (s) for escort and access services (as needed). Deliverables: A comprehensive report for onsite services and related findings will be provided approximately 2 weeks following completion of such services. |  |  |  |  |
|  |  |  |  | GRAND TOTAL | __________________ |

# SECTION C - CONTRACT CLAUSES

## C.1  52.212-4  CONTRACT TERMS AND CONDITIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (NOV 2023)

(a) Inspection/Acceptance. The Contractor shall only tender for acceptance those items that conform to the requirements of this contract. The Government reserves the right to inspect or test any supplies or services that have been tendered for acceptance. The Government may require repair or replacement of nonconforming supplies or reperformance of nonconforming services at no increase in contract price. If repair/replacement or reperformance will not correct the defects or is not possible, the Government may seek an equitable price reduction or adequate consideration for acceptance of nonconforming supplies or services.  The Government must exercise its post-acceptance rights—

(1) Within a reasonable time after the defect was discovered or should have been discovered; and

(2) Before any substantial change occurs in the condition of the item, unless the change is due to the defect in the item.

(b) Assignment. The Contractor or its assignee may assign its rights to receive payment due as a result of performance of this contract to a bank, trust company, or other financing institution, including any Federal lending agency in accordance with the Assignment of Claims Act (31 U.S.C. 3727). However, when a third party makes payment (e.g., use of the Governmentwide commercial purchase card), the Contractor may not assign its rights to receive payment under this contract.

(c) Changes. Changes in the terms and conditions of this contract may be made only by written agreement of the parties.

(d) Disputes. This contract is subject to 41 U.S.C. chapter 71, Contract Disputes. Failure of the parties to this contract to reach agreement on any request for equitable adjustment, claim, appeal or action arising under or relating to this contract shall be a dispute to be resolved in accordance with the clause at Federal Acquisition Regulation (FAR) 52.233-1, Disputes, which is incorporated herein by reference. The Contractor shall proceed diligently with performance of this contract, pending final resolution of any dispute arising under the contract.

(e) Definitions. The clause at FAR 52.202-1, Definitions, is incorporated herein by reference.

(f) Excusable delays. The Contractor shall be liable for default unless nonperformance is caused by an occurrence beyond the reasonable control of the Contractor and without its fault or negligence such as, acts of God or the public enemy, acts of the Government in either its sovereign or contractual capacity, fires, floods, epidemics, quarantine restrictions, strikes, unusually severe weather, and delays of common carriers. The Contractor shall notify the Contracting Officer in writing as soon as it is reasonably possible after the commencement of any excusable delay, setting forth the full particulars in connection therewith, shall remedy such occurrence with all reasonable dispatch, and shall promptly give written notice to the Contracting Officer of the cessation of such occurrence.

(g) Invoice.

(1) The Contractor shall submit an original invoice and three copies (or electronic invoice, if authorized) to the address designated in the contract to receive invoices. An invoice must include—

(i) Name and address of the Contractor;

(ii) Invoice date and number;

(iii) Contract number, line item number and, if applicable, the order number;

(iv) Description, quantity, unit of measure, unit price and extended price of the items delivered;

(v) Shipping number and date of shipment, including the bill of lading number and weight of shipment if shipped on Government bill of lading;

(vi) Terms of any discount for prompt payment offered;

(vii) Name and address of official to whom payment is to be sent;

(viii) Name, title, and phone number of person to notify in event of defective invoice; and

(ix) Taxpayer Identification Number (TIN). The Contractor shall include its TIN on the invoice only if required elsewhere in this contract.

(x) Electronic funds transfer (EFT) banking information.

(A) The Contractor shall include EFT banking information on the invoice only if required elsewhere in this contract.

(B) If EFT banking information is not required to be on the invoice, in order for the invoice to be a proper invoice, the Contractor shall have submitted correct EFT banking information in accordance with the applicable solicitation provision, contract clause (e.g., 52.232-33, Payment by Electronic Funds Transfer—System for Award Management, or 52.232-34, Payment by Electronic Funds Transfer—Other Than System for Award Management), or applicable agency procedures.

(C) EFT banking information is not required if the Government waived the requirement to pay by EFT.

(2) Invoices will be handled in accordance with the Prompt Payment Act (31 U.S.C. 3903) and Office of Management and Budget (OMB) prompt payment regulations at 5 CFR part 1315.

(h) Patent indemnity. The Contractor shall indemnify the Government and its officers, employees and agents against liability, including costs, for actual or alleged direct or contributory infringement of, or inducement to infringe, any United States or foreign patent, trademark or copyright, arising out of the performance of this contract, provided the Contractor is reasonably notified of such claims and proceedings.

(i) Payment.—

(1) Items accepted. Payment shall be made for items accepted by the Government that have been delivered to the delivery destinations set forth in this contract.

(2) Prompt payment. The Government will make payment in accordance with the Prompt Payment Act (31 U.S.C. 3903) and prompt payment regulations at 5 CFR part 1315.

(3) Electronic Funds Transfer (EFT). If the Government makes payment by EFT, see 52.212-5(b) for the appropriate EFT clause.

(4) Discount. In connection with any discount offered for early payment, time shall be computed from the date of the invoice. For the purpose of computing the discount earned, payment shall be considered to have been made on the date which appears on the payment check or the specified payment date if an electronic funds transfer payment is made.

(5) Overpayments. If the Contractor becomes aware of a duplicate contract financing or invoice payment or that the Government has otherwise overpaid on a contract financing or invoice payment, the Contractor shall—

(i) Remit the overpayment amount to the payment office cited in the contract along with a description of the overpayment including the—

(A) Circumstances of the overpayment (e.g., duplicate payment, erroneous payment, liquidation errors, date(s) of overpayment);

(B) Affected contract number and delivery order number, if applicable;

(C) Affected line item or subline item, if applicable; and

(D) Contractor point of contact.

(ii) Provide a copy of the remittance and supporting documentation to the Contracting Officer.

(6) Interest.

(i) All amounts that become payable by the Contractor to the Government under this contract shall bear simple interest from the date due until paid unless paid within 30 days of becoming due. The interest rate shall be the interest rate established by the Secretary of the Treasury as provided in 41 U.S.C. 7109, which is applicable to the period in which the amount becomes due, as provided in (i)(6)(v) of this clause, and then at the rate applicable for each six-month period as fixed by the Secretary until the amount is paid.

(ii) The Government may issue a demand for payment to the Contractor upon finding a debt is due under the contract.

(iii) Final decisions. The Contracting Officer will issue a final decision as required by 33.211 if—

(A) The Contracting Officer and the Contractor are unable to reach agreement on the existence or amount of a debt within 30 days;

(B) The Contractor fails to liquidate a debt previously demanded by the Contracting Officer within the timeline specified in the demand for payment unless the amounts were not repaid because the Contractor has requested an installment payment agreement; or

(C) The Contractor requests a deferment of collection on a debt previously demanded by the Contracting Officer (see 32.607-2).

(iv) If a demand for payment was previously issued for the debt, the demand for payment included in the final decision shall identify the same due date as the original demand for payment.

(v) Amounts shall be due at the earliest of the following dates:

(A) The date fixed under this contract.

(B) The date of the first written demand for payment, including any demand for payment resulting from a default termination.

(vi) The interest charge shall be computed for the actual number of calendar days involved beginning on the due date and ending on—

(A) The date on which the designated office receives payment from the Contractor;

(B) The date of issuance of a Government check to the Contractor from which an amount otherwise payable has been withheld as a credit against the contract debt; or

(C) The date on which an amount withheld and applied to the contract debt would otherwise have become payable to the Contractor.

(vii) The interest charge made under this clause may be reduced under the procedures prescribed in FAR 32.608-2 in effect on the date of this contract.

(j) Risk of loss. Unless the contract specifically provides otherwise, risk of loss or damage to the supplies provided under this contract shall remain with the Contractor until, and shall pass to the Government upon:

(1) Delivery of the supplies to a carrier, if transportation is f.o.b. origin; or

(2) Delivery of the supplies to the Government at the destination specified in the contract, if transportation is f.o.b. destination.

(k) Taxes. The contract price includes all applicable Federal, State, and local taxes and duties.

(l) Termination for the Government's convenience. The Government reserves the right to terminate this contract, or any part hereof, for its sole convenience. In the event of such termination, the Contractor shall immediately stop all work hereunder and shall immediately cause any and all of its suppliers and subcontractors to cease work. Subject to the terms of this contract, the Contractor shall be paid a percentage of the contract price reflecting the percentage of the work performed prior to the notice of termination, plus reasonable charges the Contractor can demonstrate to the satisfaction of the Government using its standard record keeping system, have resulted from the termination. The Contractor shall not be required to comply with the cost accounting standards or contract cost principles for this purpose. This paragraph does not give the Government any right to audit the Contractor's records. The Contractor shall not be paid for any work performed or costs incurred which reasonably could have been avoided.

(m) Termination for cause. The Government may terminate this contract, or any part hereof, for cause in the event of any default by the Contractor, or if the Contractor fails to comply with any contract terms and conditions, or fails to provide the Government, upon request, with adequate assurances of future performance. In the event of termination for cause, the Government shall not be liable to the Contractor for any amount for supplies or services not accepted, and the Contractor shall be liable to the Government for any and all rights and remedies provided by law. If it is determined that the Government improperly terminated this contract for default, such termination shall be deemed a termination for convenience.

(n) Title. Unless specified elsewhere in this contract, title to items furnished under this contract shall pass to the Government upon acceptance, regardless of when or where the Government takes physical possession.

(o) Warranty. The Contractor warrants and implies that the items delivered hereunder are merchantable and fit for use for the particular purpose described in this contract.

(p) Limitation of liability. Except as otherwise provided by an express warranty, the Contractor will not be liable to the Government for consequential damages resulting from any defect or deficiencies in accepted items.

(q) Other compliances. The Contractor shall comply with all applicable Federal, State and local laws, executive orders, rules and regulations applicable to its performance under this contract.

(r) Compliance with laws unique to Government contracts. The Contractor agrees to comply with 31 U.S.C. 1352 relating to limitations on the use of appropriated funds to influence certain Federal contracts; 18 U.S.C. 431 relating to officials not to benefit; 40 U.S.C. chapter 37, Contract Work Hours and Safety Standards; 41 U.S.C. chapter 87, Kickbacks; 49 U.S.C. 40118, Fly American; and 41 U.S.C. chapter 21 relating to procurement integrity.

(s) Order of precedence. Any inconsistencies in this solicitation or contract shall be resolved by giving precedence in the following order:

(1) The schedule of supplies/services.

(2) The Assignments, Disputes, Payments, Invoice, Other Compliances, Compliance with Laws Unique to Government Contracts, and Unauthorized Obligations paragraphs of this clause;

(3) The clause at 52.212-5.

(4) Addenda to this solicitation or contract, including any license agreements for computer software.

(5) Solicitation provisions if this is a solicitation.

(6) Other paragraphs of this clause.

(7) The Standard Form 1449.

(8) Other documents, exhibits, and attachments

(9) The specification.

(t) [Reserved]

(u) Unauthorized Obligations.

(1) Except as stated in paragraph (u)(2) of this clause, when any supply or service acquired under this contract is subject to any End User License Agreement (EULA), Terms of Service (TOS), or similar legal instrument or agreement, that includes any clause requiring the Government to indemnify the Contractor or any person or entity for damages, costs, fees, or any other loss or liability that would create an Anti-Deficiency Act violation (31 U.S.C. 1341), the following shall govern:

(i) Any such clause is unenforceable against the Government.

(ii) Neither the Government nor any Government authorized end user shall be deemed to have agreed to such clause by virtue of it appearing in the EULA, TOS, or similar legal instrument or agreement. If the EULA, TOS, or similar legal instrument or agreement is invoked through an “I agree” click box or other comparable mechanism (e.g., “click-wrap” or “browse-wrap” agreements), execution does not bind the Government or any Government authorized end user to such clause.

(iii) Any such clause is deemed to be stricken from the EULA, TOS, or similar legal instrument or agreement.

(2) Paragraph (u)(1) of this clause does not apply to indemnification by the Government that is expressly authorized by statute and specifically authorized under applicable agency regulations and procedures.

(v) Incorporation by reference. The Contractor’s representations and certifications, including those completed electronically via the System for Award Management (SAM), are incorporated by reference into the contract.

(End of Clause)

ADDENDUM to FAR 52.212-4 CONTRACT TERMS AND CONDITIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES

Clauses that are incorporated by reference (by Citation Number, Title, and Date), have the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available.

The following clauses are incorporated into 52.212-4 as an addendum to this contract:

## C.2  52.240-91  SECURITY PROHIBITIONS AND EXCLUSIONS  (NOV 2025) (DEVIATION)

(a) Definitions. As used in this clause—

American Security Drone Act-covered foreign entity means an entity included on a list that the Federal Acquisition Security Council (FASC) develops and maintains and publishes in the System for Award Management (SAM) at https://www.sam.gov (section 1822 of Pub. L. 118-31, 41 U.S.C. 3901 note prec.).

Backhaul means intermediate links between the core network, or backbone network, and the small subnetworks at the edge of the network (e.g., connecting cell phones/towers to the core telephone network). Backhaul can be wireless (e.g., microwave) or wired (e.g., fiber optic, coaxial cable, Ethernet).

Covered application means the social networking service TikTok or any successor application or service developed or provided by ByteDance Limited or an entity owned by ByteDance Limited.

Covered article, as defined in 41 U.S.C. 4713(k), means:

(1) Information technology, as defined in 40 U.S.C. 11101, including cloud computing services of all types;

(2) Telecommunications equipment or telecommunications service, as those terms are defined in section 3 of the Communications Act of 1934 (47 U.S.C. 153);

(3) The processing of information on a Federal or non-Federal information system, subject to the requirements of the Controlled Unclassified Information program (see 32 CFR part 2002); or

(4) Hardware, systems, devices, software, or services that include embedded or incidental information technology.

Covered foreign country means The People’s Republic of China.

Covered telecommunications equipment or services means—

(1) Telecommunications equipment produced by Huawei Technologies Company or ZTE Corporation (or any subsidiary or affiliate of such entities);

(2) For the purpose of public safety, security of Government facilities, physical security surveillance of critical infrastructure, and other national security purposes, video surveillance and telecommunications equipment produced by Hytera Communications Corporation, Hangzhou Hikvision Digital Technology Company, or Dahua Technology Company (or any subsidiary or affiliate of such entities);

(3) Telecommunications or video surveillance services provided by such entities or using such equipment; or

(4) Telecommunications or video surveillance equipment or services produced or provided by an entity that the Secretary of Defense, in consultation with the Director of National Intelligence or the Director of the Federal Bureau of Investigation, reasonably believes to be an entity owned or controlled by, or otherwise connected to, the government of a covered foreign country.

Critical technology means—

(1) Defense articles or defense services included on the United States Munitions List set forth in the International Traffic in Arms Regulations under subchapter M of chapter I of title 22, Code of Federal Regulations;

(2) Items included on the Commerce Control List set forth in Supplement No. 1 to part 774 of the Export Administration Regulations under subchapter C of chapter VII of title 15, Code of Federal Regulations, and controlled—

(i) Pursuant to multilateral regimes, including for reasons relating to national security, chemical and biological weapons proliferation, nuclear nonproliferation, or missile technology; or

(ii) For reasons relating to regional stability or surreptitious listening;

(3) Specially designed and prepared nuclear equipment, parts and components, materials, software, and technology covered by part 810 of title 10, Code of Federal Regulations (relating to assistance to foreign atomic energy activities);

(4) Nuclear facilities, equipment, and material covered by part 110 of title 10, Code of Federal Regulations (relating to export and import of nuclear equipment and material);

(5) Select agents and toxins covered by part 331 of title 7, Code of Federal Regulations, part 121 of title 9 of such Code, or part 73 of title 42 of such Code; or

(6) Emerging and foundational technologies controlled pursuant to section 1758 of the Export Control Reform Act of 2018 (50 U.S.C. 4817).

FASC-prohibited unmanned aircraft system means an unmanned aircraft system manufactured or assembled by an American Security Drone Act—covered foreign entity.

FASCSA order means any of the following orders issued under the Federal Acquisition Supply Chain Security Act (FASCSA) requiring removing covered articles from executive agency information systems or excluding one or more named sources or named covered articles from executive agency procurement actions, as described in 41 CFR 201-1.303(d) and (e):

(1) The Secretary of Homeland Security may issue FASCSA orders that apply to civilian agencies, to the extent not covered by paragraph (2) or (3) of this definition. This type of FASCSA order may be referred to as a Department of Homeland Security (DHS) FASCSA order.

(2) The Secretary of Defense may issue FASCSA orders that apply to the Department of Defense (DoD) and national security systems other than sensitive compartmented information systems. This type of FASCSA order may be referred to as a DoD FASCSA order.

(3) The Director of National Intelligence (DNI) may issue FASCSA orders that apply to the intelligence community and sensitive compartmented information systems, to the extent not covered by paragraph (2) of this definition. This type of FASCSA order may be referred to as a DNI FASCSA order.

Information technology, as defined in 40 U.S.C. 11101(6)—

(1) Means any equipment or interconnected system or subsystem of equipment, used in the automatic acquisition, storage, analysis, evaluation, manipulation, management, movement, control, display, switching, interchange, transmission, or reception of data or information by the executive agency, if the equipment is used by the executive agency directly or is used by a contractor under a contract with the executive agency that requires the use—

(i) Of that equipment; or

(ii) Of that equipment to a significant extent in the performance of a service or the furnishing of a product;

(2) Includes computers, ancillary equipment (including imaging peripherals, input, output, and storage devices necessary for security and surveillance), peripheral equipment designed to be controlled by the central processing unit of a computer, software, firmware and similar procedures, services (including support services), and related resources; but

(3) Does not include any equipment acquired by a Federal contractor incidental to a Federal contract.

Intelligence community, as defined by 50 U.S.C. 3003(4), means the following—

(1) The Office of the Director of National Intelligence;

(2) The Central Intelligence Agency;

(3) The National Security Agency;

(4) The Defense Intelligence Agency;

(5) The National Geospatial-Intelligence Agency;

(6) The National Reconnaissance Office;

(7) Other offices within the Department of Defense for the collection of specialized national intelligence through reconnaissance programs;

(8) The intelligence elements of the Army, the Navy, the Air Force, the Marine Corps, the Coast Guard, the Federal Bureau of Investigation, the Drug Enforcement Administration, and the Department of Energy;

(9) The Bureau of Intelligence and Research of the Department of State;

(10) The Office of Intelligence and Analysis of the Department of the Treasury;

(11) The Office of Intelligence and Analysis of the Department of Homeland Security; or

(12) Such other elements of any department or agency as may be designated by the President, or designated jointly by the Director of National Intelligence and the head of the department or agency concerned, as an element of the intelligence community.

Interconnection arrangement means arrangements governing the physical connection of two or more networks to allow the use of another’s network to hand off traffic where it is ultimately delivered (e.g., connecting a customer of telephone provider A to a customer of telephone company B) or sharing data and other information resources.

Kaspersky Lab-covered article means any hardware, software, or service that—

(1) Is developed or provided by a Kaspersky Lab-covered entity;

(2) Includes any hardware, software, or service developed or provided in whole or in part by a Kaspersky Lab-covered entity; or

(3) Contains components using any hardware or software developed in whole or in part by a Kaspersky Lab-covered entity.

Kaspersky Lab-covered entity means—

(1) Kaspersky Lab;

(2) Any successor entity to Kaspersky Lab, including any change in name, e.g., “Kaspersky”;

(3) Any entity that controls, is controlled by, or is under common control with Kaspersky Lab; or

(4) Any entity of which Kaspersky Lab has a majority ownership.

National security system, as defined in 44 U.S.C. 3552, means any information system (including any telecommunications system) used or operated by an agency or by a contractor of an agency, or other organization on behalf of an agency—

(1) The function, operation, or use of which involves intelligence activities; involves cryptologic activities related to national security; involves command and control of military forces; involves equipment that is an integral part of a weapon or weapons system; or is critical to the direct fulfillment of military or intelligence missions, but does not include a system that is to be used for routine administrative and business applications (including payroll, finance, logistics, and personnel management applications); or

(2) Is protected at all times by procedures established for information that have been specifically authorized under criteria established by an Executive order or an Act of Congress to be kept classified in the interest of national defense or foreign policy.

Roaming means cellular communications services (e.g., voice, video, data) received from a visited network when unable to connect to the facilities of the home network either because signal coverage is too weak or because traffic is too high.

Sensitive compartmented information means classified information concerning or derived from intelligence sources, methods, or analytical processes, which is required to be handled within formal access control systems established by the Director of National Intelligence.

Sensitive compartmented information system means a national security system authorized to process or store sensitive compartmented information.

Source means a non-Federal supplier, or potential supplier, of products or services, at any tier.

Subsidiary means an entity in which more than 50 percent of the entity is owned directly by a parent corporation or through another subsidiary of a parent corporation.

Substantial or essential component means any component necessary for the proper function or performance of a piece of equipment, system, or service.

Unmanned aircraft means an aircraft that is operated without the possibility of direct human intervention from within or on the aircraft (49 U.S.C. 44801(11)).

Unmanned aircraft system means an unmanned aircraft and associated elements (including communication links and the components that control the unmanned aircraft) that are required for the operator to operate safely and efficiently in the national airspace system (49 U.S.C. 44801(12)).

(b) Prohibitions on providing or using specific products or services in performance of contract. Unless a waiver or exception applies, the Contractor is prohibited from providing any products or services to the Government or using in the performance of the contract any of the following:

(1) A covered application on any information technology owned or managed by the Government, or on any information technology used or provided by the Contractor under this contract, including equipment provided by the Contractor’s employees (section 102 of Division R of the Consolidated Appropriations Act, 2023 (Pub. L. 117-328));

(2) A Kaspersky Lab-covered article (Section 1634 of Division A of the National Defense Authorization Act for Fiscal Year 2018 (Pub. L. 115-91));

(3) Covered telecommunications equipment or services used as a substantial or essential component of any system, or as critical technology as part of any system (paragraphs (a)(1)(A) of section 889 of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232)). This does not prohibit contractors from providing—

(i) A service that connects to the facilities of a third-party, such as backhaul, roaming, or interconnection arrangements; or

(ii) Telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.

(c) Prohibition on unmanned aircraft systems manufactured or assembled by American Security Drone Act—covered foreign entities.

(1) Prohibition. The Contractor is prohibited from—

(i) Delivering any FASC-prohibited unmanned aircraft system, which includes unmanned aircraft (i.e., drones) and associated elements (sections 1823 and 1826 of American Security Drone Act of 2023, within the National Defense Authorization Act for Fiscal Year 2024, Pub. L. 118-31, Div. A, Title XVIII, Subtitle B, 41 U.S.C. 3901 note prec.);

(ii) On or after December 22, 2025, operating a FASC-prohibited unmanned aircraft system in the performance of the contract (section 1824 of Pub. L. 118-31); and

(iii) On or after December 22, 2025, using Federal funds to procure or operate a FASC-prohibited unmanned aircraft system (section 1825 of Pub. L. 118-31).

(2) Procedures. The Contractor shall search SAM for the FASC-maintained list of American Security Drone Act—covered foreign entities before proposing, or using in performance of the contract, any unmanned aircraft system. Also, the Contractor shall ensure any effort or expenditure associated with a FASC-prohibited unmanned aircraft system is consistent with a corresponding exemption, exception, or waiver determination expressly stated in the contract.

(3) Exemptions, exceptions, and waivers. The prohibitions in paragraph (c) of this clause do not apply where the agency has determined an exemption, exception, or waiver applies, and the contract indicates that such a determination has been made. See sections 1823 through 1825 and 1832 of Public Law 118-31 for statutory requirements pertaining to exemptions, exceptions, and waivers.

(d) Prohibition on using or providing specific products or services or conducting certain transactions regardless of connection to contract.

(1) Certain telecommunications and video surveillance equipment, systems, or services.

(i) Unless an applicable waiver has been issued by the Government, the Contractor cannot use any equipment, systems, or services that uses covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology as part of any system (paragraph (a)(1)(B) of section 889 of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232)).

(ii) This prohibition applies to using covered telecommunications equipment or services, regardless of whether that use is in performance of work under a Federal contract. This does not prohibit the contractor from using—

(A) A service that connects to the facilities of a third party, such as backhaul, roaming, or interconnection arrangements; or

(B) Telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.

(2) Office of Foreign Assets Control Restrictions.

(i) Except as authorized by the Office of Foreign Assets Control (OFAC) in the Department of the Treasury, the Contractor shall not acquire, for use in the performance of this contract, any supplies or services if any proclamation, Executive order, or statute administered by OFAC, or if OFAC’s implementing regulations at 31 CFR chapter V, would prohibit such a transaction by a person subject to the jurisdiction of the United States.

(ii) Except as authorized by OFAC, most transactions involving Cuba, Iran, and Sudan are prohibited, as are most imports from Burma or North Korea, into the United States or its outlying areas.

(A) For lists of entities and individuals subject to economic sanctions, see OFAC’s List of Specially Designated Nationals and Blocked Persons at https://home.treasury.gov/policy-issues/financial-sanctions/specially-designated-nationals-and-blocked-persons-list-sdn-human-readable-lists.

(B) For more information about these restrictions, as well as updates, see OFAC’s regulations at 31 CFR chapter V and at https://home.treasury.gov/policy-issues/office-of-foreign-assets-control-sanctions-programs-and-information.

(C) To conduct electronic screens of potential parties to regulated transactions, see the consolidated screening list at https://www.trade.gov/consolidated-screening-list, which consolidates multiple export screening lists of the Departments of Commerce, State, and the Treasury.

(3) Sudan prohibition. The Contractor is prohibited from conducting any restricted business operations in Sudan in accordance with Accountability and Divestment Act of 2007 (Pub. L. 110-174).

(4) Iran prohibitions.

(i) Unless an exception applies according to paragraph (d)(4)(iii) or the Government grants a waiver, the contractor shall not engage in certain activities or transactions relating to Iran (section 6(b)(1)(A) of Iran Sanctions Act (50 U.S.C. 1701 note).

(ii) Unless an exception applies according to paragraph (d)(4)(iii) or the Government grants a waiver, contractor shall not export certain sensitive technology to Iran, as determined by the President, and has an active exclusion in SAM (22 U.S.C. 8515).

(iii) The prohibition in paragraphs (d)(4)(i) and (d)(4)(ii) do not apply if the acquisition is subject to trade agreements and the offeror certifies that all the offered products are designated country end products or designated country construction material (see part 25).

(iv) Unless an exception applies or the Government grants a waiver, contractors are prohibited from knowingly engaging in any significant transaction (i.e., over $15,000) with Iran’s Revolutionary Guard Corps or any of its officials, agents, or affiliates, the property and interests in property of which are blocked according to the International Emergency Economic Powers Act (section 6(b)(1)(B) of Iran Sanctions Act (50 U.S.C. 1701 note)).

(e) Governmentwide exclusion and removal orders.

(1) Unless the Government has issued an applicable waiver, contractors shall not provide or use as part of the performance of the contract any covered article, or any products or services produced or provided by a source, if the covered article or the source is prohibited by an applicable FASCSA order as follows:

(i) For solicitations and contracts awarded by a Department of Defense contracting office, DoD FASCSA orders apply.

(ii) For all other solicitations and contracts, DHS FASCSA orders apply.

(2) The Contractor shall search for the phrase “FASCSA order” in the System for Award Management (SAM) at https://www.sam.gov to locate applicable FASCSA orders.

(3) The Government may identify in the solicitation other FASCSA orders that are not in SAM, which are effective and apply to the solicitation and resulting contract.

(4) A FASCSA order issued after the date of solicitation applies to this contract only if added by an amendment to the solicitation or modification to the contract (see FAR 40.204-1(c)).

(f)Reasonable inquiry. The contractor shall conduct a reasonable inquiry to determine if there are any prohibited products or services. The inquiry will look at any information in the entity’s possession but does not need to include an internal or third-party audit.

(g) Removal of prohibited products and services. For Federal Supply Schedules, Governmentwide acquisition contracts, multi-agency contracts or any other procurement instrument intended for use by multiple agencies, upon notification from the Contracting Officer, during the performance of the contract, the Contractor shall promptly make any necessary changes or modifications to remove any product or service produced or provided by a source that this clause prohibits.

(h) General report.

(1) If the Contractor identifies or is notified by any source, (including a subcontractor at any tier), that any product or service provided or used (or to be provided or used) during contract performance does not comply with any prohibition in this clause, then the Contractor shall report the following information, or as much information is known, in writing to the contracting office as identified in paragraph (h)(2) within 72 hours:

(i) Contract number and order number, if applicable;

(ii) The specific prohibition the product or service is not complying with;

(iii) A description of the products or services that the Contractor identifies or has reason to suspect is prohibited (include brand; model number, such as the original equipment manufacturer (OEM) number, manufacturer part number, or wholesaler number; and item description, as applicable);

(iv) The entity that produced the product or service (include entity name, unique entity identifier, Contractor and Government Entity (CAGE) code, facilities responsible for design, fabrication, assembly, packaging, and test of the product, and whether the entity was the OEM or a distributor (provide manufacturer codes and distributor codes used for the product));

(v) Description of the functionality of the product or service and how that functionality impacts the risk to the product or service;

(vi) An explanation of any factors relevant to determining if the product or service should be permitted by an applicable exception, exemption, or waiver (if the contractor would like the Government to consider a waiver, and asks for such a waiver);

(vii) Whether alternative products or services are available that would comply with the prohibition;

(viii) If the product or service is related to item maintenance, include the following information on the item being maintained:

(A) Brand;

(B) Model number, OEM number, manufacturer part number, or wholesaler number; and

(C) Item description, as applicable.

(ix) Any readily available information about mitigation actions implemented or recommended.

(2) If a report must be submitted to a contracting office, the Contractor shall submit the report as follows:

(i) If a Department of Defense contracting office, the Contractor shall report to the website at https://dibnet.dod.mil.

(ii) For all other contracting offices, the Contractor shall report to the Contracting Officer.

(iii) For indefinite delivery contracts, the Contractor shall report to both the contracting office for the indefinite delivery contract and the contracting office for any affected order.

(3) If the report provided does not contain any of the information required by paragraph (h)(1) of this clause, and the contractor later discovers new information that is required by paragraph (h)(1) of this clause, then the contractor shall submit a subsequent report within 72 hours of discovering the new information.

(4) The contractor shall also report the information in paragraph (h)(1) if the contractor wishes to ask for a waiver of the requirements of a new FASCSA order being applied through modification.

(i) New FASCSA orders report.

(1) During contract performance, the Contractor shall review SAM at least once every three months, or as advised by the Contracting Officer, to check for covered articles subject to FASCSA order(s), or for products or services produced by a source subject to FASCSA order(s) not currently identified under paragraph (e) of this clause.

(2) If the Contractor identifies a new FASCSA order(s) that could impact their supply chain, then the Contractor shall conduct a reasonable inquiry to identify whether a covered article or product or service produced or provided by a source subject to the FASCSA order(s) was provided to the Government or used during contract performance. The inquiry will look at any information in the entity’s possession but does not need to include an internal or third-party audit.

(3) The Contractor shall submit a report to the contracting office identified in paragraph (h)(2) of this clause if the Contractor identifies, including through any notification by a subcontractor at any tier, that a covered article or product or service produced or provided by a source was provided to the Government or used during contract performance and is subject to a FASCSA order(s). For indefinite delivery contracts, the Contractor shall report to both the contracting office for the indefinite delivery contract and the contracting office for any affected order. The Contractor shall report the following information within 72 hours for each covered article or each product or service produced or provided by a source, where the covered article or source is subject to a FASCSA order:

(i) Contract number and order number, if applicable;

(ii) Name of the covered article or source subject to a FASCSA order;

(iii) The specific FASCSA order the product or service does not comply with;

(iv) The elements of (h)(1)(iii) through (ix) of this clause.

(j) Subcontracts. The Contractor shall insert the substance of this clause, including this paragraph (j) but excluding subparagraphs (d)(1) and (i)(1), in all subcontracts and other contractual instruments, including subcontracts for acquiring commercial products or commercial services.

(End of Provision)

## C.3  VAAR 852.219-73  VA NOTICE OF TOTAL SET-ASIDE FOR CERTIFIED SERVICE-DISABLED VETERAN-OWNED SMALL BUSINESSES  (JAN 2023) (DEVIATION)

(a) Definition. for the Department of Veterans Affairs, ‘‘Service-disabled Veteran-owned small business concern or SDVOSB’’:

(1) Means a small business concern—

(i) Not less than 51 percent of which is owned by one or more service-disabled Veterans or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more service-disabled Veterans or eligible surviving spouses (see VAAR 802.201, Surviving Spouse definition);

(ii) The management and daily business operations of which are controlled by one or more service-disabled Veterans (or eligible surviving spouses) or, in the case of a service-disabled Veteran with permanent and severe disability, the spouse or permanent caregiver of such Veteran;

(iii) The business meets Federal small business size standards for the applicable North American Industry Classification System (NAICS) code identified in the solicitation document;

(iv) The business has been certified for ownership and control pursuant to 38 U.S.C. 8127, 13 CFR 128, and is listed as certified in the SBA certification database at https://veterans.certify.sba.gov/; and

(v) The business agrees to comply with VAAR subpart 819.70 and Small Business Administration (SBA) regulations regarding small business size, government contracting, and the Veteran Small Business Certification Program at 13 CFR parts 121, 125, and 128.

(2) The term ‘‘Service-disabled Veteran’’ means a Veteran, as defined in 38 U.S.C. 101(2), with a disability that is service-connected, as defined in 38 U.S.C. 101(16).

(3) The term ‘‘small business concern’’ has the meaning given that term under section 3 of the Small Business Act (15 U.S.C. 632).

(4) The term ‘‘small business concern owned and controlled by Veterans with service-connected disabilities’’ has the meaning given the term ‘‘small business concern owned and controlled by service-disabled veterans’’ under section 3(q)(2) of the Small Business Act (15 U.S.C. 632(q)(2)).

(5) The term “SDVOSB participant” or certified SDVOSB means a small business that has been certified in the SBA Veteran Small Business Certification Program and listed in the SBA certification database (see 13 CFR 128.102).

(b) General. In order for a concern to submit an offer and be eligible for the award of an SDVOSB set-aside or sole source contract, the concern must qualify as a small business concern under the size standard corresponding to the NAICS code assigned to the contract and be listed as an SDVOSB participant in the SBA certification database as set forth in 13 CFR 128.

(1) Offers received from entities that are not certified SDVOSBs and listed in the SBA certification database at the time of offer shall not be considered.

(2) Any award resulting from this solicitation shall be made to a certified SDVOSB listed in the SBA certification database who is eligible at the time of submission of offer(s) and at the time of award.

(3) The requirements in this clause apply to any contract, order or subcontract where the firm receives a benefit or preference from its designation as an SDVOSB, including set-asides, sole source awards, and evaluation preferences.

(c) Representation. Pursuant to 38 U.S.C. 8127(e), only certified SDVOSBs listed in the SBA certification database are considered eligible to receive award of a resulting contract. By submitting an offer, the prospective contractor represents that it is an eligible and certified SDVOSB as defined in this clause, 13 CFR 121, 125, and 128, and VAAR subpart 819.70.

(d) Agreement/LOS certification. When awarded a contract action, including orders under multipleaward contracts, an SDVOSB agrees that in the performance of the contract, the SDVOSB shall comply with requirements in VAAR subpart 819.70 and SBA regulations on small business size, and government contracting programs at 13 CFR part 121 and part 125, including the non-manufacturer rule and limitations on subcontracting (LOS) requirements in 13 CFR 121.406(b) and 13 CFR 125.6. For the purpose of limitations on subcontracting, only certified SDVOSBs listed in the SBA certification database (including independent contractors) shall be considered eligible and/or ‘‘similarly situated’’ (i.e., a firm that has the same small business program status as the prime contractor). An otherwise eligible firm further agrees to comply with the required LOS certification requirements in this solicitation (see 852.219–75 or 852.219–76 as applicable). These requirements are summarized as follows:

(1) Services. In the case of a contract for services (except construction), the SDVOSB prime contractor will not pay more than 50% of the amount paid by the government to the prime for contract performance to firms that are not certified SDVOSBs listed in the SBA certification database (excluding direct costs to the extent they are not the principal purpose of the acquisition and the SDVOSB/ VOSB does not provide the service, such as airline travel, cloud computing services, or mass media purchases). When a contract includes both services and supplies, the 50 percent limitation shall apply only to the service portion of the contract.

(2) Supplies/products.

(i) In the case of a contract for supplies or products (other than from a non-manufacturer of such supplies), the SDVOSB prime contractor will not pay more than 50% of the amount paid by the government to the prime for contract performance, excluding the cost of materials, to firms that are not certified SDVOSBs listed in the SBA certification database. When a contract includes both supply and services, the 50 percent limitation shall apply only to the supply portion of the contract.

(ii) In the case of a contract for supplies from a non-manufacturer, the SDVOSB prime contractor will supply the product of a domestic small business manufacturer or processor, unless a waiver as described in 13 CFR 121.406(b)(5) has been granted. Refer to 13 CFR 125.6(a)(2)(ii) for guidance pertaining to multiple item procurements.

(3) General construction. In the case of a contract for general construction, the SDVOSB prime contractor will not pay more than 85% of the amount paid by the government to the prime for contract performance, excluding the cost of materials, to firms that are not certified SDVOSBs listed in the SBA certification database.

(4) Special trade construction contractors. In the case of a contract for special trade contractors, no more than 75% of the amount paid by the government to the prime for contract performance, excluding the cost of materials, may be paid to firms that are not certified SDVOSBs listed in the SBA certification database.

(5) Subcontracting. An SDVOSB subcontractor must meet the NAICS size standard assigned by the prime contractor and be certified and listed in the SBA certification database to count as similarly situated. Any work that a first tier SDVOSB subcontractor further subcontracts will count towards the percent of subcontract amount that cannot be exceeded. For supply or construction contracts, the cost of materials is excluded and not considered to be subcontracted. When a contract includes both services and supplies, the 50 percent limitation shall apply only to the portion of the contract with the preponderance of the expenditure upon which the assigned NAICS is based. For information and more specific requirements, refer to 13 CFR 125.6.

(e) Required limitations on subcontracting compliance measurement period. An SDVOSB shall comply with the limitations on subcontracting as follows:

[] By the end of the base term of the contract or order, and then by the end of each subsequent option period; or

[] By the end of the performance period for each order issued under the contract.

(f) Joint ventures. A joint venture may be considered eligible as an SDVOSB if the joint venture complies with the requirements in 13 CFR 128.402 and the managing joint venture partner makes the representations under paragraph (c) of this clause. A joint venture agrees that, in the performance of the contract, the applicable percentage specified in paragraph (d) of this clause will be performed by the aggregate of the joint venture participants.

(g) Precedence. The VA Veterans First Contracting Program, as defined in VAAR 802.101, subpart 819.70, and this clause, takes precedence over any inconsistencies between the requirements of the SBA Veteran Small Business Certification Program and the VA Veterans First Contracting Program.

(h) Misrepresentation. Pursuant to 38 U.S.C. 8127(g), any business concern, including all its principals, that is determined by VA to have willfully and intentionally misrepresented a company’s SDVOSB status is subject to debarment from contracting with the Department for a period of not less than five years (see VAAR 809.406–2 Causes for Debarment).

(End of Clause)

## C.4  VAAR 852.219-75  VA NOTICE OF LIMITATIONS ON SUBCONTRACTING—CERTIFICATE OF COMPLIANCE FOR SERVICES AND CONSTRUCTION (JAN 2023) (DEVIATION)

(a) Pursuant to 38 U.S.C. 8127(l)(2), the offeror certifies that—

(1) If awarded a contract (see FAR 2.101 definition), it will comply with the limitations on subcontracting requirement as provided in the solicitation and the resultant contract, as follows:

(i) [] Services. In the case of a contract for services (except construction), the contractor will not pay more than 50% of the amount paid by the government to it to firms that are not certified SDVOSBs listed in the SBA certification database as set forth in 852.219–73 or certified VOSBs listed in the SBA certification database as set forth in 852.219–74. Any work that a similarly situated certified SDVOSB/VOSB subcontractor further subcontracts will count towards the 50% subcontract amount that cannot be exceeded. Other direct costs may be excluded to the extent they are not the principal purpose of the acquisition and small business concerns do not provide the service as set forth in 13 CFR 125.6.

(ii) [] General construction. In the case of a contract for general construction, the contractor will not pay more than 85% of the amount paid by the government to it to firms that are not certified SDVOSBs listed in the SBA certification database as set forth in 852.219–73 or certified VOSBs listed in the SBA certification database as set forth in 852.219–74. Any work that a similarly situated certified SDVOSB/VOSB subcontractor further subcontracts will count towards the 85% subcontract amount that cannot be exceeded. Cost of materials are excluded and not considered to be subcontracted.

(iii) [X] Special trade construction contractors. In the case of a contract for special trade contractors, the contractor will not pay more than 75% of the amount paid by the government to it to firms that are not certified SDVOSBs listed in the SBA certification database as set forth in 852.219–73 or certified VOSBs listed in the SBA certification database as set forth in 852.219–74. Any work that a similarly situated certified SDVOSB/VOSB subcontractor further subcontracts will count towards the 75% subcontract amount that cannot be exceeded. Cost of materials are excluded and not considered to be subcontracted.

(2) The offeror acknowledges that this certification concerns a matter within the jurisdiction of an Agency of the United States. The offeror further acknowledges that this certification is subject to Title 18, United States Code, Section 1001, and, as such, a false, fictitious, or fraudulent certification may render the offeror subject to criminal, civil, or administrative penalties, including prosecution.

(3) If VA determines that an SDVOSB/ VOSB awarded a contract pursuant to 38 U.S.C. 8127 did not act in good faith, such SDVOSB/VOSB shall be subject to any or all of the following:

(i) Referral to the VA Suspension and Debarment Committee;

(ii) A fine under section 16(g)(1) of the Small Business Act (15 U.S.C. 645(g)(1)); and

(iii) Prosecution for violating 18 U.S.C. 1001.

(b) The offeror represents and understands that by submission of its offer and award of a contract it may be required to provide copies of documents or records to VA that VA may review to determine whether the offeror complied with the limitations on subcontracting requirement specified in the contract. Contracting officers may, at their discretion, require the contractor to demonstrate its compliance with the limitations on subcontracting at any time during performance and upon completion of a contract if the information regarding such compliance is not already available to the contracting officer. Evidence of compliance includes, but is not limited to, invoices, copies of subcontracts, or a list of the value of tasks performed.

(c) The offeror further agrees to cooperate fully and make available any documents or records as may be required to enable VA to determine compliance with the limitations on subcontracting requirement. The offeror understands that failure to provide documents as requested by VA may result in remedial action as the Government deems appropriate.

(d) Offeror completed certification/fill-in required. The formal certification must be completed, signed and returned with the offeror’s bid, quotation, or proposal. The Government will not consider offers for award from offerors that do not provide the certification, and all such responses will be deemed ineligible for evaluation and award.

Certification

I hereby certify that if awarded the contract, [insert name of offeror] will comply with the limitations on subcontracting specified in this clause and in the resultant contract. I further certify that I am authorized to execute this certification on behalf of [insert name of offeror].

Printed Name of Signee: ___________

Printed Title of Signee: _____________

Signature: ____________

Date: ______________

Company Name and Address: _______________

(End of Clause)

## C.5  VAAR 852.232-72 ELECTRONIC SUBMISSION OF PAYMENT REQUESTS (NOV 2018)

(a) Definitions. As used in this clause—

(1) Contract financing payment has the meaning given in FAR 32.001;

(2) Designated agency office means the office designated by the purchase order, agreement, or contract to first receive and review invoices. This office can be contractually designated as the receiving entity. This office may be different from the office issuing the payment;

(3) Electronic form means an automated system transmitting information electronically according to the accepted electronic data transmission methods and formats identified in paragraph (c) of this clause. Facsimile, email, and scanned documents are not acceptable electronic forms for submission of payment requests;

(4) Invoice payment has the meaning given in FAR 32.001; and

(5) Payment request means any request for contract financing payment or invoice payment submitted by the contractor under this contract.

(b) Electronic payment requests. Except as provided in paragraph (e) of this clause, the contractor shall submit payment requests in electronic form. Purchases paid with a Government-wide commercial purchase card are considered to be an electronic transaction for purposes of this rule, and therefore no additional electronic invoice submission is required.

(c) Data transmission. A contractor must ensure that the data transmission method and format are through one of the following:

(1) VA’s Electronic Invoice Presentment and Payment System at the current website address provided in the contract.

(2) Any system that conforms to the X12 electronic data interchange (EDI) formats established by the Accredited Standards Center (ASC) and chartered by the American National Standards Institute (ANSI).

(d) Invoice requirements. Invoices shall comply with FAR 32.905.

(e) Exceptions. If, based on one of the circumstances in this paragraph (e), the Contracting Officer directs that payment requests be made by mail, the Contractor shall submit payment requests by mail through the United States Postal Service to the designated agency office. Submission of payment requests by mail may be required for—

(1) Awards made to foreign vendors for work performed outside the United States;

(2) Classified contracts or purchases when electronic submission and processing of payment requests could compromise the safeguarding of classified or privacy information;

(3) Contracts awarded by contracting officers in the conduct of emergency operations, such as responses to national emergencies;

(4) Solicitations or contracts in which the designated agency office is a VA entity other than the VA Financial Services Center in Austin, Texas; or

(5) Solicitations or contracts in which the VA designated agency office does not have electronic invoicing capability as described above.

(End of Clause)

## C.6  VAAR 852.242-71  ADMINISTRATIVE CONTRACTING OFFICER (OCT 2020)

The Contracting Officer reserves the right to designate an Administrative Contracting Officer (ACO) for the purpose of performing certain tasks/duties in the administration of the contract. Such designation will be in writing through an ACO Letter of Delegation and will identify the responsibilities and limitations of the ACO. A copy of the ACO Letter of Delegation will be furnished to the Contractor.

(End of Clause)

## C.7  52.252-2  CLAUSES INCORPORATED BY REFERENCE  (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this/these address(es):

https://www.acquisition.gov/browse/index/far

https://www.va.gov/oal/library/vaar/

(End of Clause)

## C.8  52.237-1  SITE VISIT  (APR 1984)

Offerors or quoters are urged and expected to inspect the site where services are to be performed and to satisfy themselves regarding all general and local conditions that may affect the cost of contract performance, to the extent that the information is reasonably obtainable.  In no event shall failure to inspect the site constitute grounds for a claim after contract award.

(End of Provision)

| FAR Number | Title | Date |
| --- | --- | --- |
| 52.203-17 | CONTRACTOR EMPLOYEE WHISTLEBLOWER RIGHTS | NOV 2023 |
| 52.204-13 | SYSTEM FOR AWARD MANAGEMENT MAINTENANCE | OCT 2018 |
| 852.201-70 | CONTRACTING OFFICER'S REPRESENTATIVE | DEC 2022 |
| 852.203-70 | COMMERCIAL ADVERTISING | MAY 2018 |

(End of Addendum to 52.212-4)

## C.9  52.212-5  CONTRACT TERMS AND CONDITIONS REQUIRED TO IMPLEMENT STATUTES OR EXECUTIVE ORDERS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (OCT 2025) (DEVIATION FEB 2025)

(a) The Contractor shall comply with the following Federal Acquisition Regulation (FAR) clauses, which are incorporated in this contract by reference, to implement provisions of law or Executive orders applicable to acquisitions of commercial products and commercial services:

(1) 52.203-19, Prohibition on Requiring Certain Internal Confidentiality Agreements or Statements (JAN 2017) (section 743 of Division E, Title VII, of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235) and its successor provisions in subsequent appropriations acts (and as extended in continuing resolutions)).

(2) 52.204–23, Prohibition on Contracting for Hardware, Software, and Services Developed or Provided by Kaspersky Lab Covered Entities (DEC 2023) (Section 1634 of Pub. L. 115–91).

(3) 52.204–25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment. (NOV 2021) (Section 889(a)(1)(A) of Pub. L. 115–232).

(4) 52.209-10, Prohibition on Contracting with Inverted Domestic Corporations (NOV 2015).

(5) 52.232–40, Providing Accelerated Payments to Small Business Subcontractors (MAR 2023) (31 U.S.C. 3903 and 10 U.S.C. 3801).

(6) 52.233-3, Protest After Award (AUG 1996) (31 U.S.C. 3553).

(7) 52.233-4, Applicable Law for Breach of Contract Claim (OCT 2004) (Public Laws 108-77 and 108-78 (19 U.S.C. 3805 note)).

(b) The Contractor shall comply with the FAR clauses in this paragraph (b) that the Contracting Officer has indicated as being incorporated in this contract by reference to implement provisions of law or Executive orders applicable to acquisitions of commercial products and commercial services:

[]  (1) 52.203–6, Restrictions on Subcontractor Sales to the Government (JUN 2020), with Alternate I (NOV 2021) (41 U.S.C. 4704 and 10 U.S.C. 4655).

[]  (2) 52.203–13, Contractor Code of Business Ethics and Conduct (NOV 2021) (41 U.S.C. 3509).

[]  (3) 52.203–15, Whistleblower Protections under the American Recovery and Reinvestment Act of 2009 (JUN 2010) (Section 1553 of Pub. L. 111-5). (Applies to contracts funded by the American Recovery and Reinvestment Act of 2009.)

[]  (4) 52.203–17, Contractor Employee Whistleblower Rights (NOV 2023) (41 U.S.C. 4712); this clause does not apply to contracts of DoD, NASA, the Coast Guard, or applicable elements of the intelligence community—see FAR 3.900(a).

[X]  (5) 52.204–10, Reporting Executive Compensation and First-Tier Subcontract Awards (JUN 2020) (Pub. L. 109–282) (31 U.S.C. 6101 note).

[]  (6) [Reserved]

[]  (7) 52.204–14, Service Contract Reporting Requirements (OCT 2016) (Pub. L. 111–117, section 743 of Div. C).

[]  (8) 52.204–15, Service Contract Reporting Requirements for Indefinite-Delivery Contracts (OCT 2016) (Pub. L. 111–117, section 743 of Div. C).

[]  (9) 52.204–27, Prohibition on a ByteDance Covered Application (JUN 2023) (Section 102 of Division R of Pub. L. 117–328).

[]  (10) 52.204–28, Federal Acquisition Supply Chain Security Act Orders—Federal Supply Schedules, Governmentwide Acquisition Contracts, and Multi-Agency Contracts. (DEC 2023) (Pub. L. 115–390, title II).

[]  (11)(i) 52.204–30, Federal Acquisition Supply Chain Security Act Orders— Prohibition. (DEC 2023) (Pub. L. 115–390, title II).

[]  (ii) Alternate I (DEC 2023) of 52.204–30.

[X]  (12) 52.209–6, Protecting the Government’s Interest When Subcontracting with Contractors Debarred, Suspended, Proposed for Debarment, or Voluntarily Excluded. (JAN 2025) (31 U.S.C. 6101 note).

[]  (13) 52.209-9, Updates of Publicly Available Information Regarding Responsibility Matters (OCT 2018) (41 U.S.C. 2313).

[]  (14) [Reserved]

[]  (15) 52.219–3, Notice of HUBZone Set-Aside or Sole-Source Award (OCT 2022) (15 U.S.C. 657a).

[]  (16) 52.219–4, Notice of Price Evaluation Preference for HUBZone Small Business Concerns (OCT 2022) (if the offeror elects to waive the preference, it shall so indicate in its offer) (15 U.S.C. 657a).

[]  (17) [Reserved]

[]  (18)(i) 52.219-6, Notice of Total Small Business Set-Aside (NOV 2020) (15 U.S.C. 644).

[]  (ii) Alternate I (MAR 2020) of 52.219-6.

[]  (19)(i) 52.219-7, Notice of Partial Small Business Set-Aside (NOV 2020) (15 U.S.C. 644).

[]  (ii) Alternate I (MAR 2020) of 52.219-7.

[]  (20) 52.219-8, Utilization of Small Business Concerns (JAN 2025) (15 U.S.C. 637(d)(2) and (3)).

[]  (21)(i) 52.219–9, Small Business Subcontracting Plan (JAN 2025) (15 U.S.C. 637(d)(4)).

[]  (ii) Alternate I (NOV 2016) of 52.219-9.

[]  (iii) Alternate II (NOV 2016) of 52.219-9.

[]  (iv) Alternate III (JAN 2025) of 52.219–9.

[]  (v) Alternate IV (JAN 2025) of 52.219–9.

[]  (22)(i) 52.219-13, Notice of Set-Aside of Orders (MAR 2020) (15 U.S.C. 644(r)).

[]  (ii) Alternate I (MAR 2020) of 52.219-13.

[]  (23) 52.219–14, Limitations on Subcontracting (OCT 2022) (15 U.S.C. 657s).

[]  (24) 52.219-16, Liquidated Damages—Subcontracting Plan (SEP 2021) (15 U.S.C. 637(d)(4)(F)(i)).

[X]  (25) 52.219–27, Notice of Set-Aside for, or Sole-Source Award to, Service-Disabled Veteran-Owned Small Business (SDVOSB) Concerns Eligible Under the SDVOSB Program (FEB 2024) (15 U.S.C. 657f).

[X]  (26) (i) 52.219-28, Postaward Small Business Program Rerepresentation (JAN 2025) (15 U.S.C. 632(a)(2)).

[]  (ii) Alternate I (MAR 2020) of 52.219–28.

[]  (27) 52.219–29, Notice of Set-Aside for, or Sole-Source Award to, Economically Disadvantaged Women-Owned Small Business Concerns (OCT 2022) (15 U.S.C. 637(m)).

[]  (28) 52.219–30, Notice of Set-Aside for, or Sole-Source Award to, Women-Owned Small Business Concerns Eligible Under the Women-Owned Small Business Program (OCT 2022) (15 U.S.C. 637(m)).

[]  (29) 52.219-32, Orders Issued Directly Under Small Business Reserves (MAR 2020) (15 U.S.C. 644(r)).

[]  (30) 52.219–33, Nonmanufacturer Rule (SEP 2021) (15 U.S.C. 637(a)(17)).

[X]  (31) 52.222-3, Convict Labor (JUN 2003) (E.O. 11755).

[]  (32) 52.222–19, Child Labor—Cooperation with Authorities and Remedies (JAN 2025) (E.O. 13126).

[]  (33) [Reserved]

[]  (34) [Reserved]

[]  (35)(i) 52.222–35, Equal Opportunity for Veterans (JUN 2020) (38 U.S.C. 4212).

[]  (ii) Alternate I (JUL 2014) of 52.222-35.

[X]  (36)(i) 52.222–36, Equal Opportunity for Workers with Disabilities (JUN 2020) (29 U.S.C. 793).

[]  (ii) Alternate I (JUL 2014) of 52.222-36.

[]  (37) 52.222–37, Employment Reports on Veterans (JUN 2020) (38 U.S.C. 4212).

[]  (38) 52.222-40, Notification of Employee Rights Under the National Labor Relations Act (DEC 2010) (E.O. 13496).

[X]  (39)(i) 52.222-50, Combating Trafficking in Persons (OCT 2025) (22 U.S.C. chapter 78 and E.O. 13627).

[]  (ii) Alternate I (MAR 2015) of 52.222-50 (22 U.S.C. chapter 78 and E.O. 13627).

[]  (40) 52.222-54, Employment Eligibility Verification (JAN 2025). (E.O. 12989). (Not applicable to the acquisition of commercially available off-the-shelf items or certain other types of commercial products or commercial services as prescribed in FAR 22.1803.)

[]  (41)(i) 52.223-9, Estimate of Percentage of Recovered Material Content for EPA-Designated Items (MAY 2008) (42 U.S.C.6962(c)(3)(A)(ii)). (Not applicable to the acquisition of commercially available off-the-shelf items.)

[]  (ii) Alternate I (MAY 2008) of 52.223-9 (42 U.S.C. 6962(i)(2)(C)). (Not applicable to the acquisition of commercially available off-the-shelf items.)

[]  (42) 52.223-11, Ozone-Depleting Substances and High Global Warming Potential Hydrofluorocarbons (MAY 2024) (42 U.S.C. 7671, et seq.).

[]  (43) 52.223-12, Maintenance, Service, Repair, or Disposal of Refrigeration Equipment and Air Conditioners (MAY 2024) (42 U.S.C. 7671, et seq.).

[]  (44) 52.223-20, Aerosols. (MAY 2024) (42 U.S.C. 7671, et seq.).

[]  (45) 52.223-21, Foams (MAY 2024). (42 U.S.C. 7671, et seq.).

[]  (46) 52.223-23, Sustainable Products and Services (MAY 2024) (DEVIATION FEB 2025) (7 U.S.C. 8102, 42 U.S.C. 6962, 42 U.S.C. 8259b, and 42 U.S.C. 7671I).

[]  (47)(i) 52.224-3, Privacy Training (JAN 2017) (5 U.S.C. 552a).

[]  (ii) Alternate I (JAN 2017) of 52.224-3.

[]  (48)(i) 52.225-1, Buy American—Supplies (OCT 2022) (41 U.S.C. chapter 83).

[]  (ii) Alternate I (OCT 2022) of 52.225-1.

[]  (49)(i) 52.225-3, Buy American—Free Trade Agreements—Israeli Trade Act (NOV 2023) (19 U.S.C. 3301 note, 19 U.S.C. 2112 note, 19 U.S.C. 3805 note, 19 U.S.C. 4001 note, 19 U.S.C. chapter 29 (sections 4501-4732), Public Law 103-182, 108-77, 108-78, 108-286, 108-302, 109-53, 109-169, 109-283, 110-138, 112-41, 112-42, and 112-43.

[]  (ii) Alternate I [Reserved].

[]  (iii) Alternate II (JAN 2025) of 52.225-3.

[]  (iv) Alternate III (FEB 2024) of 52.225-3.

[]  (v) Alternate IV (OCT 2022) of 52.225-3.

[]  (50) 52.225–5, Trade Agreements (NOV 2023) (19 U.S.C. 2501, et seq., 19 U.S.C. 3301 note

[]  (51) 52.225-13, Restrictions on Certain Foreign Purchases (FEB 2021) (E.O.'s, proclamations, and statutes administered by the Office of Foreign Assets Control of the Department of the Treasury).

[]  (52) 52.225–26, Contractors Performing Private Security Functions Outside the United States (OCT 2016) (Section 862, as amended, of the National Defense Authorization Act for Fiscal Year 2008; 10 U.S.C. Subtitle A, Part V, Subpart G Note).

[]  (53) 52.226-4, Notice of Disaster or Emergency Area Set-Aside (NOV 2007) (42 U.S.C. 5150).

[]  (54) 52.226-5, Restrictions on Subcontracting Outside Disaster or Emergency Area (NOV 2007) (42 U.S.C. 5150).

[X]  (55) 52.226-8, Encouraging Contractor Policies to Ban Text Messaging While Driving (MAY 2024) (E.O. 13513)

[X]  (56) 52.229–12, Tax on Certain Foreign Procurements (FEB 2021).

[]  (57) 52.232-29, Terms for Financing of Purchases of Commercial Products and Commercial Services (NOV 2021) (41 U.S.C. 4505, 10 U.S.C. 3805).

[]  (58) 52.232-30, Installment Payments for Commercial Products and Commercial Services (NOV 2021) (41 U.S.C. 4505, 10 U.S.C. 3805).

[X]  (59) 52.232-33, Payment by Electronic Funds Transfer—System for Award Management (OCT 2018) (31 U.S.C. 3332).

[]  (60) 52.232-34, Payment by Electronic Funds Transfer—Other than System for Award Management (JUL 2013) (31 U.S.C. 3332).

[]  (61) 52.232-36, Payment by Third Party (MAY 2014) (31 U.S.C. 3332).

[]  (62) 52.239-1, Privacy or Security Safeguards (AUG 1996) (5 U.S.C. 552a).

[]  (63) 52.240–1, Prohibition on Unmanned Aircraft Systems Manufactured or Assembled by American Security Drone Act—Covered Foreign Entities (NOV 2024) (Sections 1821–1826, Pub. L. 118–31, 41 U.S.C. 3901 note prec.).

[]  (64) 52.242-5, Payments to Small Business Subcontractors (JAN 2017)(15 U.S.C. 637(d)(13)).

[]  (65)(i) 52.247-64, Preference for Privately Owned U.S.-Flag Commercial Vessels (NOV 2021) (46 U.S.C. 55305 and 10 U.S.C. 2631).

[]  (ii) Alternate I (APR 2003) of 52.247-64.

[]  (iii) Alternate II (NOV 2021) of 52.247-64.

(c) The Contractor shall comply with the FAR clauses in this paragraph (c), applicable to commercial services, that the Contracting Officer has indicated as being incorporated in this contract by reference to implement provisions of law or Executive orders applicable to acquisitions of commercial products and commercial services:

[X]  (1) 52.222-41, Service Contract Labor Standards (AUG 2018) (41 U.S.C. chapter 67).

[X]  (2) 52.222-42, Statement of Equivalent Rates for Federal Hires (MAY 2014) (29 U.S.C. 206 and 41 U.S.C. chapter 67).

| Employee Class | Monetary Wage-Fringe Benefits |
| --- | --- |

[]  (3) 52.222-43, Fair Labor Standards Act and Service Contract Labor Standards—Price Adjustment (Multiple Year and Option Contracts) (AUG 2018) (29 U.S.C. 206 and 41 U.S.C. chapter 67).

[]  (4) 52.222-44, Fair Labor Standards Act and Service Contract Labor Standards—Price Adjustment (MAY 2014) (29 U.S.C 206 and 41 U.S.C. chapter 67).

[]  (5) 52.222-51, Exemption from Application of the Service Contract Labor Standards to Contracts for Maintenance, Calibration, or Repair of Certain Equipment—Requirements (MAY 2014) (41 U.S.C. chapter 67).

[]  (6) 52.222-53, Exemption from Application of the Service Contract Labor Standards to Contracts for Certain Services—Requirements (MAY 2014) (41 U.S.C. chapter 67).

[X]  (7) 52.222-55, Minimum Wages for Contractor Workers Under Executive Order 14026 (JAN 2022).

[X]  (8) 52.222-62, Paid Sick Leave Under Executive Order 13706 (JAN 2022) (E.O. 13706).

[]  (9) 52.226-6, Promoting Excess Food Donation to Nonprofit Organizations (JUN 2020) (42 U.S.C. 1792).

[]  (10) 52.247-69, Reporting Requirement for U.S.-Flag Air Carriers Regarding Training to Prevent Human Trafficking (JAN 2025) (49 U.S.C. 40118(g)).

(d) Comptroller General Examination of Record. The Contractor shall comply with the provisions of this paragraph (d) if this contract was awarded using other than sealed bid, is in excess of the simplified acquisition threshold, as defined in FAR 2.101, on the date of award of this contract, and does not contain the clause at 52.215-2, Audit and Records—Negotiation.

(1) The Comptroller General of the United States, or an authorized representative of the Comptroller General, shall have access to and right to examine any of the Contractor's directly pertinent records involving transactions related to this contract.

(2) The Contractor shall make available at its offices at all reasonable times the records, materials, and other evidence for examination, audit, or reproduction, until 3 years after final payment under this contract or for any shorter period specified in FAR Subpart 4.7, Contractor Records Retention, of the other clauses of this contract. If this contract is completely or partially terminated, the records relating to the work terminated shall be made available for 3 years after any resulting final termination settlement. Records relating to appeals under the disputes clause or to litigation or the settlement of claims arising under or relating to this contract shall be made available until such appeals, litigation, or claims are finally resolved.

(3) As used in this clause, records include books, documents, accounting procedures and practices, and other data, regardless of type and regardless of form. This does not require the Contractor to create or maintain any record that the Contractor does not maintain in the ordinary course of business or pursuant to a provision of law.

(e)(1) Notwithstanding the requirements of the clauses in paragraphs (a), (b), (c), and (d) of this clause, the Contractor is not required to flow down any FAR clause, other than those in this paragraph (e)(1) in a subcontract for commercial products or commercial services. Unless otherwise indicated below, the extent of the flow down shall be as required by the clause—

(i) 52.203–13, Contractor Code of Business Ethics and Conduct (NOV 2021) (41 U.S.C. 3509).

(ii) 52.203–17, Contractor Employee Whistleblower Rights (NOV 2023) (41 U.S.C. 4712).

(iii) 52.203-19, Prohibition on Requiring Certain Internal Confidentiality Agreements or Statements (JAN 2017) (section 743 of Division E, Title VII, of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235) and its successor provisions in subsequent appropriations acts (and as extended in continuing resolutions)).

(iv) 52.204–23, Prohibition on Contracting for Hardware, Software, and Services Developed or Provided by Kaspersky Lab Covered Entities (DEC 2023) (Section 1634 of Pub. L. 115–91).

(v) 52.204–25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment. (NOV 2021) (Section 889(a)(1)(A) of Pub. L. 115–232).

(vi) 52.204–27, Prohibition on a ByteDance Covered Application (JUN 2023) (Section 102 of Division R of Pub. L. 117–328).

(vii) (A) 52.204–30, Federal Acquisition Supply Chain Security Act Orders— Prohibition. (DEC 2023) (Pub. L. 115–390, title II).

(B) Alternate I (DEC 2023) of 52.204–30.

(viii) 52.219–8, Utilization of Small Business Concerns (JAN 2025) (15 U.S.C. 637(d)(2) and (3)), in all subcontracts that offer further subcontracting opportunities. If the subcontract (except subcontracts to small business concerns) exceeds the applicable threshold specified in FAR 19.702(a) on the date of subcontract award, the subcontractor must include 52.219–8 in lower tier subcontracts that offer subcontracting opportunities.

(ix) [Reserved]

(x) [Reserved]

(xi) 52.222–35, Equal Opportunity for Veterans (JUN 2020) (38 U.S.C. 4212).

(xii) 52.222–36, Equal Opportunity for Workers with Disabilities (JUN 2020) (29 U.S.C. 793).

(xiii) 52.222–37, Employment Reports on Veterans (JUN 2020) (38 U.S.C. 4212).

(xiv) 52.222-40, Notification of Employee Rights Under the National Labor Relations Act (DEC 2010) (E.O. 13496). Flow down required in accordance with paragraph (f) of FAR clause 52.222-40.

(xv) 52.222-41, Service Contract Labor Standards (AUG 2018) (41 U.S.C. chapter 67).

(xvi)(A) 52.222-50, Combating Trafficking in Persons (OCT 2025) (22 U.S.C. chapter 78 and E.O. 13627).

(B) Alternate I (MAR 2015) of 52.222-50 (22 U.S.C. chapter 78 and E.O. 13627).

(xvii) 52.222-51, Exemption from Application of the Service Contract Labor Standards to Contracts for Maintenance, Calibration, or Repair of Certain Equipment—Requirements (MAY 2014) (41 U.S.C. chapter 67).

(xviii) 52.222-53, Exemption from Application of the Service Contract Labor Standards to Contracts for Certain Services—Requirements (MAY 2014) (41 U.S.C. chapter 67).

(xix) 52.222-54, Employment Eligibility Verification (JAN 2025) (E.O. 12989).

(xx) 52.222-55, Minimum Wages for Contractor Workers Under Executive Order 14026 (JAN 2022).

(xxi) 52.222-62 Paid Sick Leave Under Executive Order 13706 (JAN 2022) (E.O. 13706).

(xxii)(A) 52.224-3, Privacy Training (JAN 2017) (5 U.S.C. 552a).

(B) Alternate I (JAN 2017) of 52.224-3.

(xxiii) 52.225–26, Contractors Performing Private Security Functions Outside the United States (OCT 2016) (Section 862, as amended, of the National Defense Authorization Act for Fiscal Year 2008; 10 U.S.C. Subtitle A, Part V, Subpart G Note).

(xxiv) 52.226–6, Promoting Excess Food Donation to Nonprofit Organizations (JUN 2020) (42 U.S.C. 1792). Flow down required in accordance with paragraph (e) of FAR clause 52.226-6.

(xxv) 52.232–40, Providing Accelerated Payments to Small Business Subcontractors (MAR 2023) (31 U.S.C. 3903 and 10 U.S.C. 3801). Flow down required in accordance with paragraph (c) of 52.232–40.

(xxvi) 52.240–1, Prohibition on Unmanned Aircraft Systems Manufactured or Assembled by American Security Drone Act—Covered Foreign Entities (NOV 2024) (Sections 1821–1826, Pub. L. 118–31, 41 U.S.C.3901 note prec.).

(xxvii) 52.247-64, Preference for Privately Owned U.S.-Flag Commercial Vessels (NOV 2021) (46 U.S.C. 55305 and 10 U.S.C. 2631). Flow down required in accordance with paragraph (d) of FAR clause 52.247-64.

(2) While not required, the Contractor may include in its subcontracts for commercial products and commercial services a minimal number of additional clauses necessary to satisfy its contractual obligations.

(End of Clause)

# SECTION D - CONTRACT DOCUMENTS, EXHIBITS, OR ATTACHMENTS

# SECTION D - D.1 WAGE DETERMINATION

Descriptions for the occupations for this requirement and determining the appropriate wage

determinations are the responsibility of the contractor, and offeror(s) is/are encouraged to

coordinate with Department of Labor to determine the appropriate job classifications for this

requirement. The Agency assumes no responsibility or liability for a contractor’s

determination of the appropriate classifications.

"REGISTER OF WAGE DETERMINATIONS UNDER  |        U.S. DEPARTMENT OF LABOR

THE SERVICE CONTRACT ACT        |  EMPLOYMENT STANDARDS ADMINISTRATION

By direction of the Secretary of Labor |         WAGE AND HOUR DIVISION

|         WASHINGTON D.C.  20210

|

|

|

| Wage Determination No.: 2015-4609

Daniel W. Simms          Division of   |           Revision No.: 26

Director            Wage Determinations|  Date Of Last Revision: 07/08/2025

_______________________________________|____________________________________________

Note: Contracts subject to the Service Contract Act are generally required to

pay at least the applicable minimum wage rate required under Executive Order

14026 or Executive Order 13658.

_____________________________________________________________________________________

|If the contract is entered into on or  |Executive Order 14026 generally applies to  |

|after January 30, 2022, or the         |the contract.                               |

|contract is renewed or extended (e.g., |The contractor must pay all covered workers |

|an option is exercised) on or after    |at least $17.75 per hour (or the applicable |

|January 30, 2022:                      |wage rate listed on this wage determination,|

|                                       |if it is higher) for all hours spent        |

|                                       |performing on the contract in 2025.         |

________________________________________|____________________________________________

|If the contract was awarded on or      |Executive Order 13658 generally applies to  |

|between January 1, 2015 and January 29,|the contract.                               |

|2022, and the contract is not renewed  |The contractor must pay all covered workers |

|or extended on or after January 30,    |at least $13.30 per hour (or the applicable |

|2022:                                  |wage rate listed on this wage determination,|

|                                       |if it is higher) for all hours spent        |

|                                       |performing on the contract in 2025.         |

_____________________________________________________________________________________

The applicable Executive Order minimum wage rate will be adjusted annually. Additional

information on contractor requirements and worker protections under the Executive Orders

is available at www.dol.gov/whd/govcontracts.

____________________________________________________________________________________

State: Alabama

Area: Alabama Counties of Hale, Pickens, Tuscaloosa

____________________________________________________________________________________

**Fringe Benefits Required Follow the Occupational Listing**

OCCUPATION CODE - TITLE                                  FOOTNOTE               RATE

01000 - Administrative Support And Clerical Occupations

01011 - Accounting Clerk I                                                16.03***

01012 - Accounting Clerk II                                                  20.01

01013 - Accounting Clerk III                                                 20.98

01020 - Administrative Assistant                                             31.82

01035 - Court Reporter                                                       20.19

01041 - Customer Service Representative I                                 14.36***

01042 - Customer Service Representative II                                15.67***

01043 - Customer Service Representative III                               17.59***

01051 - Data Entry Operator I                                             15.61***

01052 - Data Entry Operator II                                            17.04***

01060 - Dispatcher, Motor Vehicle                                            22.22

01070 - Document Preparation Clerk                                        16.07***

01090 - Duplicating Machine Operator                                      16.07***

01111 - General Clerk I                                                   15.16***

01112 - General Clerk II                                                  16.54***

01113 - General Clerk III                                                    18.57

01120 - Housing Referral Assistant                                           22.57

01141 - Messenger Courier                                                 12.57***

01191 - Order Clerk I                                                     15.08***

01192 - Order Clerk II                                                    16.46***

01261 - Personnel Assistant (Employment) I                                   18.89

01262 - Personnel Assistant (Employment) II                                  21.13

01263 - Personnel Assistant (Employment) III                                 24.58

01270 - Production Control Clerk                                             32.99

01290 - Rental Clerk                                                      14.94***

01300 - Scheduler, Maintenance                                               18.10

01311 - Secretary I                                                          18.10

01312 - Secretary II                                                         20.19

01313 - Secretary III                                                        22.57

01320 - Service Order Dispatcher                                             19.86

01410 - Supply Technician                                                    31.82

01420 - Survey Worker                                                        17.92

01460 - Switchboard Operator/Receptionist                                 14.57***

01531 - Travel Clerk I                                                    15.32***

01532 - Travel Clerk II                                                   16.18***

01533 - Travel Clerk III                                                     18.38

01611 - Word Processor I                                                  16.59***

01612 - Word Processor II                                                    18.62

01613 - Word Processor III                                                   20.19

05000 - Automotive Service Occupations

05005 - Automobile Body Repairer, Fiberglass                                 25.39

05010 - Automotive  Electrician                                              20.57

05040 - Automotive Glass Installer                                           19.23

05070 - Automotive Worker                                                    19.23

05110 - Mobile Equipment Servicer                                         16.51***

05130 - Motor Equipment Metal Mechanic                                       21.96

05160 - Motor Equipment Metal Worker                                         19.23

05190 - Motor Vehicle Mechanic                                               21.96

05220 - Motor Vehicle Mechanic Helper                                     15.38***

05250 - Motor Vehicle Upholstery Worker                                      17.88

05280 - Motor Vehicle Wrecker                                                19.23

05310 - Painter, Automotive                                                  20.57

05340 - Radiator Repair Specialist                                           19.23

05370 - Tire Repairer                                                     14.81***

05400 - Transmission Repair Specialist                                       21.96

07000 - Food Preparation And Service Occupations

07010 - Baker                                                             16.48***

07041 - Cook I                                                            14.40***

07042 - Cook II                                                           16.78***

07070 - Dishwasher                                                        12.43***

07130 - Food Service Worker                                               13.05***

07210 - Meat Cutter                                                       16.76***

07260 - Waiter/Waitress                                                   10.90***

09000 - Furniture Maintenance And Repair Occupations

09010 - Electrostatic Spray Painter                                          20.16

09040 - Furniture Handler                                                 12.19***

09080 - Furniture Refinisher                                                 20.16

09090 - Furniture Refinisher Helper                                       14.84***

09110 - Furniture Repairer, Minor                                         17.52***

09130 - Upholsterer                                                          20.16

11000 - General Services And Support Occupations

11030 - Cleaner, Vehicles                                                 14.87***

11060 - Elevator Operator                                                 15.01***

11090 - Gardener                                                             22.55

11122 - Housekeeping Aide                                                 15.01***

11150 - Janitor                                                           15.01***

11210 - Laborer, Grounds Maintenance                                      16.93***

11240 - Maid or Houseman                                                  13.04***

11260 - Pruner                                                            15.13***

11270 - Tractor Operator                                                     20.65

11330 - Trail Maintenance Worker                                          16.93***

11360 - Window Cleaner                                                    16.80***

12000 - Health Occupations

12010 - Ambulance Driver                                                  17.13***

12011 - Breath Alcohol Technician                                            21.18

12012 - Certified Occupational Therapist Assistant                           29.06

12015 - Certified Physical Therapist Assistant                               31.49

12020 - Dental Assistant                                                  17.73***

12025 - Dental Hygienist                                                     28.90

12030 - EKG Technician                                                       30.80

12035 - Electroneurodiagnostic Technologist                                  30.80

12040 - Emergency Medical Technician                                      17.13***

12071 - Licensed Practical Nurse I                                           18.94

12072 - Licensed Practical Nurse II                                          21.18

12073 - Licensed Practical Nurse III                                         23.61

12100 - Medical Assistant                                                 16.87***

12130 - Medical Laboratory Technician                                        22.62

12160 - Medical Record Clerk                                              17.57***

12190 - Medical Record Technician                                            19.66

12195 - Medical Transcriptionist                                             18.94

12210 - Nuclear Medicine Technologist                                        46.55

12221 - Nursing Assistant I                                               13.64***

12222 - Nursing Assistant II                                              15.35***

12223 - Nursing Assistant III                                             16.75***

12224 - Nursing Assistant IV                                                 18.80

12235 - Optical Dispenser                                                 17.16***

12236 - Optical Technician                                                   18.94

12250 - Pharmacy Technician                                                  18.10

12280 - Phlebotomist                                                      17.06***

12305 - Radiologic Technologist                                              25.76

12311 - Registered Nurse I                                                   27.04

12312 - Registered Nurse II                                                  33.07

12313 - Registered Nurse II, Specialist                                      33.07

12314 - Registered Nurse III                                                 40.01

12315 - Registered Nurse III, Anesthetist                                    40.01

12316 - Registered Nurse IV                                                  47.97

12317 - Scheduler (Drug and Alcohol Testing)                                 26.24

12320 - Substance Abuse Treatment Counselor                                  24.99

13000 - Information And Arts Occupations

13011 - Exhibits Specialist I                                                22.07

13012 - Exhibits Specialist II                                               27.35

13013 - Exhibits Specialist III                                              33.46

13041 - Illustrator I                                                        22.07

13042 - Illustrator II                                                       27.35

13043 - Illustrator III                                                      33.46

13047 - Librarian                                                            30.29

13050 - Library Aide/Clerk                                                17.59***

13054 - Library Information Technology Systems                               27.35

Administrator

13058 - Library Technician                                                   22.06

13061 - Media Specialist I                                                   19.74

13062 - Media Specialist II                                                  22.07

13063 - Media Specialist III                                                 24.62

13071 - Photographer I                                                       19.74

13072 - Photographer II                                                      22.07

13073 - Photographer III                                                     27.35

13074 - Photographer IV                                                      33.46

13075 - Photographer V                                                       40.48

13090 - Technical Order Library Clerk                                        22.07

13110 - Video Teleconference Technician                                      19.74

14000 - Information Technology Occupations

14041 - Computer Operator I                                                  18.84

14042 - Computer Operator II                                                 21.07

14043 - Computer Operator III                                                23.49

14044 - Computer Operator IV                                                 26.10

14045 - Computer Operator V                                                  28.90

14071 - Computer Programmer I                          (see 1)               24.68

14072 - Computer Programmer II                         (see 1)

14073 - Computer Programmer III                        (see 1)

14074 - Computer Programmer IV                         (see 1)

14101 - Computer Systems Analyst I                     (see 1)

14102 - Computer Systems Analyst II                    (see 1)

14103 - Computer Systems Analyst III                   (see 1)

14150 - Peripheral Equipment Operator                                        18.84

14160 - Personal Computer Support Technician                                 26.10

14170 - System Support Specialist                                            28.90

15000 - Instructional Occupations

15010 - Aircrew Training Devices Instructor (Non-Rated)                      32.38

15020 - Aircrew Training Devices Instructor (Rated)                          39.18

15030 - Air Crew Training Devices Instructor (Pilot)                         46.97

15050 - Computer Based Training Specialist / Instructor                      32.38

15060 - Educational Technologist                                             38.98

15070 - Flight Instructor (Pilot)                                            46.97

15080 - Graphic Artist                                                       23.51

15085 - Maintenance Test Pilot, Fixed, Jet/Prop                              46.97

15086 - Maintenance Test Pilot, Rotary Wing                                  46.97

15088 - Non-Maintenance Test/Co-Pilot                                        46.97

15090 - Technical Instructor                                                 24.45

15095 - Technical Instructor/Course Developer                                29.90

15110 - Test Proctor                                                         19.74

15120 - Tutor                                                                19.74

16000 - Laundry, Dry-Cleaning, Pressing And Related Occupations

16010 - Assembler                                                         10.52***

16030 - Counter Attendant                                                 10.52***

16040 - Dry Cleaner                                                       12.09***

16070 - Finisher, Flatwork, Machine                                       10.52***

16090 - Presser, Hand                                                     10.52***

16110 - Presser, Machine, Drycleaning                                     10.52***

16130 - Presser, Machine, Shirts                                          10.52***

16160 - Presser, Machine, Wearing Apparel, Laundry                        10.52***

16190 - Sewing Machine Operator                                           12.62***

16220 - Tailor                                                            13.21***

16250 - Washer, Machine                                                   10.98***

19000 - Machine Tool Operation And Repair Occupations

19010 - Machine-Tool Operator (Tool Room)                                    26.41

19040 - Tool And Die Maker                                                   33.60

21000 - Materials Handling And Packing Occupations

21020 - Forklift Operator                                                    21.91

21030 - Material Coordinator                                                 32.99

21040 - Material Expediter                                                   32.99

21050 - Material Handling Laborer                                         16.99***

21071 - Order Filler                                                      15.10***

21080 - Production Line Worker (Food Processing)                             21.91

21110 - Shipping Packer                                                      22.35

21130 - Shipping/Receiving Clerk                                             22.35

21140 - Store Worker I                                                    13.02***

21150 - Stock Clerk                                                          18.35

21210 - Tools And Parts Attendant                                            21.91

21410 - Warehouse Specialist                                                 21.91

23000 - Mechanics And Maintenance And Repair Occupations

23010 - Aerospace Structural Welder                                          29.20

23019 - Aircraft Logs and Records Technician                                 22.35

23021 - Aircraft Mechanic I                                                  27.45

23022 - Aircraft Mechanic II                                                 29.20

23023 - Aircraft Mechanic III                                                30.96

23040 - Aircraft Mechanic Helper                                             18.90

23050 - Aircraft, Painter                                                    25.72

23060 - Aircraft Servicer                                                    22.35

23070 - Aircraft Survival Flight Equipment Technician                        25.72

23080 - Aircraft Worker                                                      24.04

23091 - Aircrew Life Support Equipment (ALSE) Mechanic                       24.04

I

23092 - Aircrew Life Support Equipment (ALSE) Mechanic                       27.45

II

23110 - Appliance Mechanic                                                   26.41

23120 - Bicycle Repairer                                                     21.19

23125 - Cable Splicer                                                        40.29

23130 - Carpenter, Maintenance                                               23.38

23140 - Carpet Layer                                                         24.69

23160 - Electrician, Maintenance                                             28.50

23181 - Electronics Technician Maintenance I                                 28.72

23182 - Electronics Technician Maintenance II                                30.72

23183 - Electronics Technician Maintenance III                               32.79

23260 - Fabric Worker                                                        22.95

23290 - Fire Alarm System Mechanic                                           24.34

23310 - Fire Extinguisher Repairer                                           21.19

23311 - Fuel Distribution System Mechanic                                    28.18

23312 - Fuel Distribution System Operator                                    21.19

23370 - General Maintenance Worker                                           18.98

23380 - Ground Support Equipment Mechanic                                    27.45

23381 - Ground Support Equipment Servicer                                    22.35

23382 - Ground Support Equipment Worker                                      24.04

23391 - Gunsmith I                                                           21.19

23392 - Gunsmith II                                                          24.69

23393 - Gunsmith III                                                         28.18

23410 - Heating, Ventilation And Air-Conditioning                            24.63

Mechanic

23411 - Heating, Ventilation And Air Contidioning                            26.20

Mechanic (Research Facility)

23430 - Heavy Equipment Mechanic                                             30.53

23440 - Heavy Equipment Operator                                             23.51

23460 - Instrument Mechanic                                                  28.18

23465 - Laboratory/Shelter Mechanic                                          26.41

23470 - Laborer                                                           16.99***

23510 - Locksmith                                                            26.41

23530 - Machinery Maintenance Mechanic                                       30.55

23550 - Machinist, Maintenance                                               23.74

23580 - Maintenance Trades Helper                                         16.70***

23591 - Metrology Technician I                                               28.18

23592 - Metrology Technician II                                              29.98

23593 - Metrology Technician III                                             31.79

23640 - Millwright                                                           30.77

23710 - Office Appliance Repairer                                            24.46

23760 - Painter, Maintenance                                                 22.15

23790 - Pipefitter, Maintenance                                              28.56

23810 - Plumber, Maintenance                                                 26.76

23820 - Pneudraulic Systems Mechanic                                         28.18

23850 - Rigger                                                               28.18

23870 - Scale Mechanic                                                       24.69

23890 - Sheet-Metal Worker, Maintenance                                      22.62

23910 - Small Engine Mechanic                                                24.69

23931 - Telecommunications Mechanic I                                        28.74

23932 - Telecommunications Mechanic II                                       32.39

23950 - Telephone Lineman                                                    27.90

23960 - Welder, Combination, Maintenance                                     23.80

23965 - Well Driller                                                         28.18

23970 - Woodcraft Worker                                                     28.18

23980 - Woodworker                                                           21.19

24000 - Personal Needs Occupations

24550 - Case Manager                                                      16.09***

24570 - Child Care Attendant                                              11.79***

24580 - Child Care Center Clerk                                           15.58***

24610 - Chore Aide                                                        12.63***

24620 - Family Readiness And Support Services                             16.09***

Coordinator

24630 - Homemaker                                                            19.50

25000 - Plant And System Operations Occupations

25010 - Boiler Tender                                                        26.16

25040 - Sewage Plant Operator                                                24.15

25070 - Stationary Engineer                                                  26.16

25190 - Ventilation Equipment Tender                                         18.03

25210 - Water Treatment Plant Operator                                       24.15

27000 - Protective Service Occupations

27004 - Alarm Monitor                                                        23.21

27007 - Baggage Inspector                                                 16.83***

27008 - Corrections Officer                                                  24.67

27010 - Court Security Officer                                               27.30

27030 - Detection Dog Handler                                                18.83

27040 - Detention Officer                                                    24.67

27070 - Firefighter                                                          32.16

27101 - Guard I                                                           16.83***

27102 - Guard II                                                             18.83

27131 - Police Officer I                                                     26.72

27132 - Police Officer II                                                    29.70

28000 - Recreation Occupations

28041 - Carnival Equipment Operator                                       14.25***

28042 - Carnival Equipment Repairer                                       15.55***

28043 - Carnival Worker                                                   10.44***

28210 - Gate Attendant/Gate Tender                                           19.94

28310 - Lifeguard                                                         14.62***

28350 - Park Attendant (Aide)                                                22.92

28510 - Recreation Aide/Health Facility Attendant                         16.29***

28515 - Recreation Specialist                                                24.33

28630 - Sports Official                                                      18.26

28690 - Swimming Pool Operator                                               19.91

29000 - Stevedoring/Longshoremen Occupational Services

29010 - Blocker And Bracer                                                   26.53

29020 - Hatch Tender                                                         26.53

29030 - Line Handler                                                         26.53

29041 - Stevedore I                                                          24.66

29042 - Stevedore II                                                         28.38

30000 - Technical Occupations

30010 - Air Traffic Control Specialist, Center (HFO)   (see 2)               46.54

30011 - Air Traffic Control Specialist, Station (HFO)  (see 2)               32.09

30012 - Air Traffic Control Specialist, Terminal (HFO) (see 2)               35.34

30021 - Archeological Technician I                                           20.26

30022 - Archeological Technician II                                          22.66

30023 - Archeological Technician III                                         28.09

30030 - Cartographic Technician                                              28.09

30040 - Civil Engineering Technician                                         24.77

30051 - Cryogenic Technician I                                               31.10

30052 - Cryogenic Technician II                                              34.34

30061 - Drafter/CAD Operator I                                               20.26

30062 - Drafter/CAD Operator II                                              22.66

30063 - Drafter/CAD Operator III                                             25.27

30064 - Drafter/CAD Operator IV                                              31.10

30081 - Engineering Technician I                                             18.07

30082 - Engineering Technician II                                            20.29

30083 - Engineering Technician III                                           22.69

30084 - Engineering Technician IV                                            28.11

30085 - Engineering Technician V                                             34.38

30086 - Engineering Technician VI                                            41.59

30090 - Environmental Technician                                             28.09

30095 - Evidence Control Specialist                                          28.09

30210 - Laboratory Technician                                                27.50

30221 - Latent Fingerprint Technician I                                      31.10

30222 - Latent Fingerprint Technician II                                     34.34

30240 - Mathematical Technician                                              28.09

30361 - Paralegal/Legal Assistant I                                          21.73

30362 - Paralegal/Legal Assistant II                                         26.91

30363 - Paralegal/Legal Assistant III                                        32.91

30364 - Paralegal/Legal Assistant IV                                         39.82

30375 - Petroleum Supply Specialist                                          34.34

30390 - Photo-Optics Technician                                              28.09

30395 - Radiation Control Technician                                         34.34

30461 - Technical Writer I                                                   28.09

30462 - Technical Writer II                                                  34.34

30463 - Technical Writer III                                                 41.56

30491 - Unexploded Ordnance (UXO) Technician I                               29.58

30492 - Unexploded Ordnance (UXO) Technician II                              35.79

30493 - Unexploded Ordnance (UXO) Technician III                             42.89

30494 - Unexploded (UXO) Safety Escort                                       29.58

30495 - Unexploded (UXO) Sweep Personnel                                     29.58

30501 - Weather Forecaster I                                                 31.10

30502 - Weather Forecaster II                                                37.83

30620 - Weather Observer, Combined Upper Air Or        (see 2)               25.27

Surface Programs

30621 - Weather Observer, Senior                       (see 2)               28.09

31000 - Transportation/Mobile Equipment Operation Occupations

31010 - Airplane Pilot                                                       35.79

31020 - Bus Aide                                                          12.49***

31030 - Bus Driver                                                           18.02

31043 - Driver Courier                                                    17.28***

31260 - Parking and Lot Attendant                                         12.66***

31290 - Shuttle Bus Driver                                                14.76***

31310 - Taxi Driver                                                       11.99***

31361 - Truckdriver, Light                                                   18.86

31362 - Truckdriver, Medium                                                  20.43

31363 - Truckdriver, Heavy                                                   24.30

31364 - Truckdriver, Tractor-Trailer                                         24.30

99000 - Miscellaneous Occupations

99020 - Cabin Safety Specialist                                           17.45***

99030 - Cashier                                                           13.20***

99050 - Desk Clerk                                                        13.63***

99095 - Embalmer                                                             29.58

99130 - Flight Follower                                                      29.58

99251 - Laboratory Animal Caretaker I                                        19.27

99252 - Laboratory Animal Caretaker II                                       21.14

99260 - Marketing Analyst                                                    25.62

99310 - Mortician                                                            29.58

99410 - Pest Controller                                                      22.75

99510 - Photofinishing Worker                                             15.54***

99710 - Recycling Laborer                                                    21.64

99711 - Recycling Specialist                                                 26.38

99730 - Refuse Collector                                                     19.33

99810 - Sales Clerk                                                       14.02***

99820 - School Crossing Guard                                             14.79***

99830 - Survey Party Chief                                                   28.53

99831 - Surveying Aide                                                    17.33***

99832 - Surveying Technician                                                 23.78

99840 - Vending Machine Attendant                                            20.19

99841 - Vending Machine Repairer                                             25.68

99842 - Vending Machine Repairer Helper                                      20.19

***Workers in this classification may be entitled to a higher minimum wage under

Executive Order 14026 ($17.75 per hour) or 13658 ($13.30 per hour). Please see the

Note at the top of the wage determination for more information. Please also note

that the minimum wage requirements of Executive Order 14026 and 13658 are not

currently being enforced as to contracts or contract-like instruments entered into

with the federal government in connection with seasonal recreational services or

seasonal recreational equipment rental for the general public on federal lands. The

minimum wage requirements of Executive Order 14026 also are not currently being

enforced as to any contract or subcontract to which the states of Texas, Louisiana,

or Mississippi, including their agencies, are a party.

____________________________________________________________________________________

Note: Executive Order (EO) 13706, Establishing Paid Sick Leave for Federal

Contractors, applies to all contracts subject to the Service Contract Act for which

the contract is awarded (and any solicitation was issued) on or after January 1,

2017.  If this contract is covered by the EO, the contractor must provide employees

with 1 hour of paid sick leave for every 30 hours they work, up to 56 hours of paid

sick leave each year. Employees must be permitted to use paid sick leave for their

own illness, injury or other health-related needs, including preventive care; to

assist a family member (or person who is like family to the employee) who is ill,

injured, or has other health-related needs, including preventive care; or for

reasons resulting from, or to assist a family member (or person who is like family

to the employee) who is the victim of, domestic violence, sexual assault, or

stalking.  Additional information on contractor requirements and worker protections

under the EO is available at www.dol.gov/whd/govcontracts.

ALL OCCUPATIONS LISTED ABOVE RECEIVE THE FOLLOWING BENEFITS:

HEALTH & WELFARE: $5.55 per hour, up to 40 hours per week, or $222.00 per week or

$962.00 per month

HEALTH & WELFARE EO 13706: $5.09 per hour, up to 40 hours per week, or $203.60 per

week, or $882.27 per month*

*This rate is to be used only when compensating employees for performance on an SCA-

covered contract also covered by EO 13706, Establishing Paid Sick Leave for Federal

Contractors.  A contractor may not receive credit toward its SCA obligations for any

paid sick leave provided pursuant to EO 13706.

VACATION: 2 weeks paid vacation after 1 year of service with a contractor or

successor; 3 weeks after 8 years, and 4 weeks after 20 years.  Length of service

includes the whole span of continuous service with the present contractor or

successor, wherever employed, and with the predecessor contractors in the

performance of similar work at the same Federal facility.  (Reg. 29 CFR 4.173)

HOLIDAYS: A minimum of eleven paid holidays per year:  New Year's Day, Martin

Luther King Jr.'s Birthday, Washington's Birthday, Memorial Day, Juneteenth

National Independence Day, Independence Day, Labor Day, Columbus Day, Veterans'

Day, Thanksgiving Day, and Christmas Day. (A contractor may substitute for any of

the named holidays another day off with pay in accordance with a plan communicated

to the employees involved.)  (See 29 CFR 4.174)

THE OCCUPATIONS WHICH HAVE NUMBERED FOOTNOTES IN PARENTHESES RECEIVE THE FOLLOWING:

1)  COMPUTER EMPLOYEES:  This wage determination does not apply to any individual

employed in a bona fide executive, administrative, or professional capacity, as

defined in 29 C.F.R. Part 541.  (See 41 C.F.R. 6701(3)).  Because most Computer

Systems Analysts and Computer Programmers who are paid at least $27.63 per hour (or

at least $684 per week if paid on a salary or fee basis) likely qualify as exempt

computer professionals under 29 U.S.C. 213(a)(1) and 29 U.S.C. 213(a)(17), this wage

determination may not include wage rates for all occupations within those job

families.  In such instances, a conformance will be necessary if there are nonexempt

employees in these job families working on the contract.

Job titles vary widely and change quickly in the computer industry, and are not

determinative of whether an employee is an exempt computer professional.  To be

exempt, computer employees who satisfy the compensation requirements must also have

a primary duty that consists of:

(1) The application of systems analysis techniques and procedures, including

consulting with users, to determine hardware, software or system functional

specifications;

(2) The design, development, documentation, analysis, creation, testing or

modification of computer systems or programs, including prototypes, based on and

related to user or system design specifications;

(3) The design, documentation, testing, creation or modification of computer

programs related to machine operating systems; or

(4) A combination of the aforementioned duties, the performance of which

requires the same level of skills.  (29 C.F.R. 541.400).

Any computer employee who meets the applicable compensation requirements and the

above duties test qualifies as an exempt computer professional under both section

13(a)(1) and section 13(a)(17) of the Fair Labor Standards Act. (Field Assistance

Bulletin No. 2006-3 (Dec. 14, 2006)).  Accordingly, this wage determination will not

apply to any exempt computer employee regardless of which of these two exemptions is

utilized.

2)  AIR TRAFFIC CONTROLLERS AND WEATHER OBSERVERS - NIGHT PAY & SUNDAY PAY:  If you

work at night as part of a regular tour of duty, you will earn a night differential

and receive an additional 10% of basic pay for any hours worked between 6pm and 6am.

If you are a full-time employed (40 hours a week) and Sunday is part of your

regularly scheduled workweek, you are paid at your rate of basic pay plus a Sunday

premium of 25% of your basic rate for each hour of Sunday work which is not overtime

(i.e. occasional work on Sunday outside the normal tour of duty is considered

overtime work).

** HAZARDOUS PAY DIFFERENTIAL **

An 8 percent differential is applicable to employees employed in a position that

represents a high degree of hazard when working with or in close proximity to

ordnance, explosives, and incendiary materials.  This includes work such as

screening, blending, dying, mixing, and pressing of sensitive ordnance, explosives,

and pyrotechnic compositions such as lead azide, black powder and photoflash powder.

All dry-house activities involving propellants or explosives.  Demilitarization,

modification, renovation, demolition, and maintenance operations on sensitive

ordnance, explosives and incendiary materials.  All operations involving re-grading

and cleaning of artillery ranges.

A 4 percent differential is applicable to employees employed in a position that

represents a low degree of hazard when working with, or in close proximity to

ordnance, (or employees possibly adjacent to) explosives and incendiary materials

which involves potential injury such as laceration of hands, face, or arms of the

employee engaged in the operation, irritation of the skin, minor burns and the like;

minimal damage to immediate or adjacent work area or equipment being used.  All

operations involving, unloading, storage, and hauling of ordnance, explosive, and

incendiary ordnance material other than small arms ammunition.  These differentials

are only applicable to work that has been specifically designated by the agency for

ordnance, explosives, and incendiary material differential pay.

** UNIFORM ALLOWANCE **

If employees are required to wear uniforms in the performance of this contract

(either by the terms of the Government contract, by the employer, by the state or

local law, etc.), the cost of furnishing such uniforms and maintaining (by

laundering or dry cleaning) such uniforms is an expense that may not be borne by an

employee where such cost reduces the hourly rate below that required by the wage

determination. The Department of Labor will accept payment in accordance with the

following standards as compliance:

The contractor or subcontractor is required to furnish all employees with an

adequate number of uniforms without cost or to reimburse employees for the actual

cost of the uniforms.  In addition, where uniform cleaning and maintenance is made

the responsibility of the employee, all contractors and subcontractors subject to

this wage determination shall (in the absence of a bona fide collective bargaining

agreement providing for a different amount, or the furnishing of contrary

affirmative proof as to the actual cost), reimburse all employees for such cleaning

and maintenance at a rate of $3.35 per week (or $.67 cents per day).  However, in

those instances where the uniforms furnished are made of ""wash and wear""

materials, may be routinely washed and dried with other personal garments, and do

not require any special treatment such as dry cleaning, daily washing, or commercial

laundering in order to meet the cleanliness or appearance standards set by the terms

of the Government contract, by the contractor, by law, or by the nature of the work,

there is no requirement that employees be reimbursed for uniform maintenance costs.

** SERVICE CONTRACT ACT DIRECTORY OF OCCUPATIONS **

The duties of employees under job titles listed are those described in the

""Service Contract Act Directory of Occupations"", Fifth Edition (Revision 1),

dated September 2015, unless otherwise indicated.

** REQUEST FOR AUTHORIZATION OF ADDITIONAL CLASSIFICATION AND WAGE RATE, Standard

Form 1444 (SF-1444) **

Conformance Process:

The contracting officer shall require that any class of service employee which is

not listed herein and which is to be employed under the contract (i.e., the work to

be performed is not performed by any classification listed in the wage

determination), be classified by the contractor so as to provide a reasonable

relationship (i.e., appropriate level of skill comparison) between such unlisted

classifications and the classifications listed in the wage determination (See 29 CFR

4.6(b)(2)(i)).  Such conforming procedures shall be initiated by the contractor

prior to the performance of contract work by such unlisted class(es) of employees

(See 29 CFR 4.6(b)(2)(ii)).  The Wage and Hour Division shall make a final

determination of conformed classification, wage rate, and/or fringe benefits which

shall be paid to all employees performing in the classification from the first day

of work on which contract work is performed by them in the classification.  Failure

to pay such unlisted employees the compensation agreed upon by the interested

parties and/or fully determined by the Wage and Hour Division retroactive to the

date such class of employees commenced contract work shall be a violation of the Act

and this contract.  (See 29 CFR 4.6(b)(2)(v)). When multiple wage determinations are

included in a contract, a separate SF-1444 should be prepared for each wage

determination to which a class(es) is to be conformed.

The process for preparing a conformance request is as follows:

1) When preparing the bid, the contractor identifies the need for a conformed

occupation(s) and computes a proposed rate(s).

2) After contract award, the contractor prepares a written report listing in order

the proposed classification title(s), a Federal grade equivalency (FGE) for each

proposed classification(s), job description(s), and rationale for proposed wage

rate(s), including information regarding the agreement or disagreement of the

authorized representative of the employees involved, or where there is no authorized

representative, the employees themselves. This report should be submitted to the

contracting officer no later than 30 days after such unlisted class(es) of employees

performs any contract work.

3) The contracting officer reviews the proposed action and promptly submits a report

of the action, together with the agency's recommendations and pertinent

information including the position of the contractor and the employees, to the U.S.

Department of Labor, Wage and Hour Division, for review (See 29 CFR 4.6(b)(2)(ii)).

4) Within 30 days of receipt, the Wage and Hour Division approves, modifies, or

disapproves the action via transmittal to the agency contracting officer, or

notifies the contracting officer that additional time will be required to process

the request.

5) The contracting officer transmits the Wage and Hour Division's decision to the

contractor.

6) Each affected employee shall be furnished by the contractor with a written copy

of such determination or it shall be posted as a part of the wage determination (See

29 CFR 4.6(b)(2)(iii)).

Information required by the Regulations must be submitted on SF-1444 or bond paper.

When preparing a conformance request, the ""Service Contract Act Directory of

Occupations"" should be used to compare job definitions to ensure that duties

requested are not performed by a classification already listed in the wage

determination. Remember, it is not the job title, but the required tasks that

determine whether a class is included in an established wage determination.

Conformances may not be used to artificially split, combine, or subdivide

classifications listed in the wage determination (See 29 CFR 4.152(c)(1))."

# SECTION E - SOLICITATION PROVISIONS

## E.1  52.212-1  INSTRUCTIONS TO OFFERORS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (SEP 2023)

(a) North American Industry Classification System (NAICS) code and small business size standard. The NAICS code(s) and small business size standard(s) for this acquisition appear elsewhere in the solicitation. However, the small business size standard for a concern that submits an offer, other than on a construction or service acquisition, but proposes to furnish an end item that it did not itself manufacture, process, or produce is 500 employees, or 150 employees for information technology value-added resellers under NAICS code 541519, if the acquisition—

(1) Is set aside for small business and has a value above the simplified acquisition threshold;

(2) Uses the HUBZone price evaluation preference regardless of dollar value, unless the offeror waives the price evaluation preference; or

(3) Is an 8(a), HUBZone, service-disabled veteran-owned, economically disadvantaged women-owned, or women-owned small business set-aside or sole-source award regardless of dollar value.

(b) Submission of offers. Submit signed and dated offers to the office specified in this solicitation at or before the exact time specified in this solicitation. Offers may be submitted on the SF 1449, letterhead stationery, or as otherwise specified in the solicitation. As a minimum, offers must show—

(1) The solicitation number;

(2) The time specified in the solicitation for receipt of offers;

(3) The name, address, and telephone number of the offeror;

(4) A technical description of the items being offered in sufficient detail to evaluate compliance with the requirements in the solicitation. This may include product literature, or other documents, if necessary;

(5) Terms of any express warranty;

(6) Price and any discount terms;

(7) "Remit to" address, if different than mailing address;

(8) A completed copy of the representations and certifications at Federal Acquisition Regulation (FAR) 52.212-3 (see FAR 52.212-3(b) for those representations and certifications that the offeror shall complete electronically);

(9) Acknowledgment of Solicitation Amendments;

(10) Past performance information, when included as an evaluation factor, to include recent and relevant contracts for the same or similar items and other references (including contract numbers, points of contact with telephone numbers and other relevant information); and

(11) If the offer is not submitted on the SF 1449, include a statement specifying the extent of agreement with all terms, conditions, and provisions included in the solicitation. Offers that fail to furnish required representations or information, or reject the terms and conditions of the solicitation may be excluded from consideration.

(c) Period for acceptance of offers. The offeror agrees to hold the prices in its offer firm for 30 calendar days from the date specified for receipt of offers, unless another time period is specified in an addendum to the solicitation.

(d) Product samples. When required by the solicitation, product samples shall be submitted at or prior to the time specified for receipt of offers. Unless otherwise specified in this solicitation, these samples shall be submitted at no expense to the Government, and returned at the sender's request and expense, unless they are destroyed during preaward testing.

(e) Multiple offers. Offerors are encouraged to submit multiple offers presenting alternative terms and conditions, including alternative line items (provided that the alternative line items are consistent with FAR subpart 4.10), or alternative commercial products or commercial services for satisfying the requirements of this solicitation. Each offer submitted will be evaluated separately.

(f) Late submissions, modifications, revisions, and withdrawals of offers.

(1) Offerors are responsible for submitting offers, and any modifications, revisions, or withdrawals, so as to reach the Government office designated in the solicitation by the time specified in the solicitation. If no time is specified in the solicitation, the time for receipt is 4:30 p.m., local time, for the designated Government office on the date that offers or revisions are due.

(2)(i) Any offer, modification, revision, or withdrawal of an offer received at the Government office designated in the solicitation after the exact time specified for receipt of offers is "late" and will not be considered unless it is received before award is made, the Contracting Officer determines that accepting the late offer would not unduly delay the acquisition; and—

(A) If it was transmitted through an electronic commerce method authorized by the solicitation, it was received at the initial point of entry to the Government infrastructure not later than 5:00 p.m. one working day prior to the date specified for receipt of offers; or

(B) There is acceptable evidence to establish that it was received at the Government installation designated for receipt of offers and was under the Government's control prior to the time set for receipt of offers; or

(C) If this solicitation is a request for proposals, it was the only proposal received.

(ii) However, a late modification of an otherwise successful offer, that makes its terms more favorable to the Government, will be considered at any time it is received and may be accepted.

(3) Acceptable evidence to establish the time of receipt at the Government installation includes the time/date stamp of that installation on the offer wrapper, other documentary evidence of receipt maintained by the installation, or oral testimony or statements of Government personnel.

(4) If an emergency or unanticipated event interrupts normal Government processes so that offers cannot be received at the Government office designated for receipt of offers by the exact time specified in the solicitation, and urgent Government requirements preclude amendment of the solicitation or other notice of an extension of the closing date, the time specified for receipt of offers will be deemed to be extended to the same time of day specified in the solicitation on the first work day on which normal Government processes resume.

(5) Offers may be withdrawn by written notice received at any time before the exact time set for receipt of offers. Oral offers in response to oral solicitations may be withdrawn orally. If the solicitation authorizes facsimile offers, offers may be withdrawn via facsimile received at any time before the exact time set for receipt of offers, subject to the conditions specified in the solicitation concerning facsimile offers. An offer may be withdrawn in person by an offeror or its authorized representative if, before the exact time set for receipt of offers, the identity of the person requesting withdrawal is established and the person signs a receipt for the offer.

(g) Contract award (not applicable to Invitation for Bids). The Government intends to evaluate offers and award a contract without discussions with offerors. Therefore, the offeror's initial offer should contain the offeror's best terms from a price and technical standpoint. However, the Government reserves the right to conduct discussions if later determined by the Contracting Officer to be necessary. The Government may reject any or all offers if such action is in the public interest; accept other than the lowest offer; and waive informalities and minor irregularities in offers received.

(h) Multiple awards. The Government may accept any item or group of items of an offer, unless the offeror qualifies the offer by specific limitations. Unless otherwise provided in the Schedule, offers may not be submitted for quantities less than those specified. The Government reserves the right to make an award on any item for a quantity less than the quantity offered, at the unit prices offered, unless the offeror specifies otherwise in the offer.

(i) Availability of requirements documents cited in the solicitation.

(1)(i) The GSA Index of Federal Specifications, Standards and Commercial Item Descriptions, FPMR Part 101-29, and copies of specifications, standards, and product descriptions can be downloaded from the ASSIST website at https://assist.dla.mil.

(ii) If the General Services Administration, Department of Agriculture, or Department of Veterans Affairs issued this solicitation, a copy of specifications, standards, and commercial item descriptions cited in this solicitation may be obtained from the address in paragraph (i)(1)(i) of this provision.

(2) Most unclassified Defense specifications and standards may be downloaded from the ASSIST website at https://assist.dla.mil.

(3) Defense documents not available from the ASSIST website may be requested from the Defense Standardization Program Office by-

(i) Using the ASSIST feedback module (https://assist.dla.mil/feedback); or

(ii) Contacting the Defense Standardization Program Office by telephone at 571-767-6688 or email at assisthelp@dla.mil.

(4) Nongovernment (voluntary) standards must be obtained from the organization responsible for their preparation, publication, or maintenance.

(j) Unique entity identifier. (Applies to all offers that exceed the micro-purchase threshold, and offers at or below the micro-purchase threshold if the solicitation requires the Contractor to be registered in the System for Award Management (SAM).) The Offeror shall enter, in the block with its name and address on the cover page of its offer, the annotation ‘‘Unique Entity Identifier’’ followed by the unique entity identifier that identifies the Offeror’s name and address. The Offeror also shall enter its Electronic Funds Transfer (EFT) indicator, if applicable. The EFT indicator is a four-character suffix to the unique entity identifier. The suffix is assigned at the discretion of the Offeror to establish additional SAM records for identifying alternative EFT accounts (see FAR subpart 32.11) for the same entity. If the Offeror does not have a unique entity identifier, it should contact the entity designated at www.sam.gov for unique entity identifier establishment directly to obtain one. The Offeror should indicate that it is an offeror for a Government contract when contacting the entity designated at www.sam.gov for establishing the unique entity identifier.

(k) [Reserved]

(l) Debriefing. If a post-award debriefing is given to requesting offerors, the Government shall disclose the following information, if applicable:

(1) The agency's evaluation of the significant weak or deficient factors in the debriefed offeror's offer.

(2) The overall evaluated cost or price and technical rating of the successful and the debriefed offeror and past performance information on the debriefed offeror.

(3) The overall ranking of all offerors, when any ranking was developed by the agency during source selection.

(4) A summary of the rationale for award;

(5) For acquisitions of commercial products, the make and model of the product to be delivered by the successful offeror.

(6) Reasonable responses to relevant questions posed by the debriefed offeror as to whether source-selection procedures set forth in the solicitation, applicable regulations, and other applicable authorities were followed by the agency.

(End of Provision)

ADDENDUM to FAR 52.212-1 INSTRUCTIONS TO OFFERORS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES

Provisions that are incorporated by reference (by Citation Number, Title, and Date), have the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available.

The following provisions are incorporated into 52.212-1 as an addendum to this solicitation:

a) Submission Requirements

Offerors shall submit the following documentation with their quote. Failure to submit the documentation identified below may render the quote non-responsive and ineligible for award.

- SDVOSB Verification
Proof of current Service-Disabled Veteran-Owned Small Business (SDVOSB) verification in the VA Veteran Small Business Certification (VetCert) database. Verification must be active at the time of quote submission and at the time of award.

- Licenses and Certifications
Copies of all applicable state and local licenses, certifications, and training required to perform electrical inspection, testing, and maintenance services in accordance with the Statement of Work (SOW), including any required OSHA, NFPA, or NETA certifications.

- Technical Capability Statement
A brief statement demonstrating the Offeror’s ability to perform the Triennial Electrical Inspection, Testing, and Maintenance Services in accordance with the SOW, including experience with similar electrical power distribution systems.

- Warranty and Support (if applicable)
Documentation describing any warranties or guarantees associated with the services performed, if applicable, in accordance with the SOW.

(b) Quote Submission

Quotes shall be submitted electronically via email in PDF format to:

Jessica Cummings

Contract Specialist, NCO 7

Email: Jessica.Cummings3@va.gov

(c) Due Date

Quotes are due no later than January 15, 2025, at 12:00 PM Eastern Time.

Late quotes will not be considered.

(d) Format

Offerors shall clearly label the email subject line as follows:

“RFQ – Triennial Electrical Contract – [Company Name]”

Failure to submit the documentation identified in paragraphs (a)(1)–(a)(4) may render the quote non-responsive and non-acceptable.

## E.2  52.216-1 TYPE OF CONTRACT (DEVIATION) (NOV 2025)

The Government contemplates award of a Firm-Fixed-Price contract resulting from this solicitation.

(End of Provision)

## E.3  52.240-90  SECURITY PROHIBITIONS AND EXCLUSIONS REPRESENTATIONS AND CERTIFICATIONS (NOV 2025) (DEVIATION)

(a) Definitions. As used in this provision—

Backhaul, covered article, covered telecommunications equipment or services, critical technology, FASCSA order, Intelligence community, interconnection arrangements, national security system, roaming, sensitive compartmented information, sensitive compartmented information system, source, and substantial or essential component have the meanings provided in the clause 52.240-91, Security Prohibitions and Exclusions.

Business operations means engaging in commerce in any form, including by acquiring, developing, maintaining, owning, selling, possessing, leasing, or operating equipment, facilities, personnel, products, services, personal property, real property, or any other apparatus of business or commerce.

Marginalized populations of Sudan means—

(1) Adversely affected groups in regions authorized to receive assistance under section 8(c) of the Darfur Peace and Accountability Act (Pub. L. 109-344) (50 U.S.C. 1701 note); and

(2) Marginalized areas in Northern Sudan described in section 4(9) of such Act.

Restricted business operations means business operations in Sudan that include power production activities, mineral extraction activities, oil-related activities, or the production of military equipment, as those terms are defined in the Sudan Accountability and Divestment Act of 2007 (Pub. L. 110-174). Restricted business operations do not include business operations that the person (as that term is defined in Section 2 of the Sudan Accountability and Divestment Act of 2007) conducting the business can demonstrate—

(1) Are conducted under contract directly and exclusively with the regional government of southern Sudan;

(2) Are conducted under specific authorization from the Office of Foreign Assets Control in the Department of the Treasury, or are expressly exempted under Federal law from the requirement to be conducted under such authorization;

(3) Consist of providing goods or services to marginalized populations of Sudan;

(4) Consist of providing goods or services to an internationally recognized peacekeeping force or humanitarian organization;

(5) Consist of providing goods or services that are used only to promote health or education; or

(6) Have been voluntarily suspended.

Sensitive technology—

(1) Means hardware, software, telecommunications equipment, or any other technology that is to be used specifically—

(i) To restrict the free flow of unbiased information in Iran; or

(ii) To disrupt, monitor, or otherwise restrict speech of the people of Iran; and

(2) Does not include information or informational materials the export of which the President does not have the authority to regulate or prohibit pursuant to section 203(b)(3) of the International Emergency Economic Powers Act (50 U.S.C. 1702(b)(3)).

(b) Procedures.

(1) Covered telecommunications and video surveillance. The Offeror shall review the list of excluded parties in the System for Award Management (SAM) at https://www.sam.gov for entities excluded from receiving federal awards for “covered telecommunications equipment or services.”

(2) FASCSA Orders.

(i) The Offeror shall search in SAM for the phrase “FASCSA order” for any covered article, or any products or services produced or provided by a source, if there is an applicable FASCSA order described in paragraph (e) of FAR 52.240-91, Security Prohibitions and Exclusions.

(ii) The Offeror shall review the solicitation for any FASCSA orders that are not in SAM but are effective and apply to the solicitation and resultant contract (see FAR 40.204-1(c)(2)).

(iii) FASCSA orders issued after the date of solicitation do not apply unless added by an amendment to the solicitation.

(c) Covered telecommunications equipment or services representations. By submission of its offer, the Offeror represents that, after conducting a reasonable inquiry (that looks at any information in the Offeror’s possession but does not need to include an internal or third-party audit)—

(1) It will not provide covered telecommunications equipment or services to the Government in the performance of any contract, subcontract or other contractual instrument resulting from this solicitation, except as waived by the solicitation, or as disclosed in paragraph (g); and

(2) It does not use covered telecommunications equipment or services, or use any equipment, system, or service that uses covered telecommunications equipment or services, except as waived by the solicitation, or as disclosed in paragraph (g).

(d) FASCSA Representation. By submission of this offer, the offeror represents that it has conducted a reasonable inquiry, and that the offeror does not propose to provide or use in response to this solicitation any covered article, or any products or services produced or provided by a source, if the covered article or the source is prohibited by an applicable FASCSA order in effect on the date the solicitation was issued, except as waived by the solicitation, or as disclosed in paragraph (g). A reasonable inquiry will look at any information in the offeror’s possession but does not need to include an internal or third-party audit.

(e) Sudan certification. By submission of its offer, the offeror certifies, after conducting a reasonable inquiry (that looks at any information in the offeror’s possession but does not need to include an internal or third-party audit), that the offeror does not conduct any restricted business operations in Sudan.

(f) Iran Representation and Certifications.

(1) Except as provided in paragraph (f)(2) of this provision or if a waiver has been granted in accordance with FAR 40.203-3, the offeror, after conducting a reasonable inquiry (that looks at any information in the offeror’s possession but does not need to include an internal or third-party audit), by submission of its offer—

(i) Represents, to the best of its knowledge and belief, that the offeror does not export any sensitive technology to the government of Iran or any entities or individuals owned or controlled by, or acting on behalf or at the direction of, the government of Iran;

(ii) Certifies that the offeror, or any person (as defined at section 15 of the Iran Sanctions Act of 1996, Pub. L. 104-172, 50 U.S.C. 1701 note) owned or controlled by the offeror, does not engage in any activities for which sanctions may be imposed under section 5 of the Act. These sanctioned activities are in the areas of development of the petroleum resources of Iran, production of refined petroleum products in Iran, sale and provision of refined petroleum products to Iran, and contributing to Iran’s ability to acquire or develop certain weapons or technologies; and

(iii) Certifies that the offeror, and any person owned or controlled by the offeror, does not knowingly engage in any transaction that exceeds $15,000 with Iran’s Revolutionary Guard Corps or any of its officials, agents, or affiliates, the property and interests in property of which are blocked pursuant to the International Emergency Economic Powers Act (50 U.S.C. 1701 et seq.) (see OFAC’s Specially Designated Nationals and Blocked Persons List at https://www.treasury.gov/resource-center/sanctions/SDN-List/Pages/default.aspx)

(2) Exception for trade agreements. The representation and certification requirements of paragraph (f)(1) of this provision do not apply if—

(i) This solicitation includes a trade agreements notice or certification (e.g., 52.225-6, Trade Agreements Certificate); and

(ii) The offeror has certified that all the offered products to be supplied are designated country end products or designated country construction material.

(iii) The offeror shall email questions concerning sensitive technology to the Department of State at CISADA106@state.gov.

(g) Disclosure.

(1) If the Offeror is not able to represent compliance with the prohibitions in paragraphs (c) or (d), then the Offeror shall disclose within 72 hours to the contracting office identified in paragraph (g)(2) the following information for each product or service not compliant:

(i) Contract number and order number, if applicable;

(ii) Identification of whether this disclosure relates to paragraph (c) on covered telecommunication equipment or services, or to paragraph (d) on FASCSA orders;

(iii) A description of the products or services that the Contractor identifies or has reason to suspect is prohibited (include brand; model number, such as the original equipment manufacturer (OEM) number, manufacturer part number, or wholesaler number; and item description, as applicable);

(iv) The entity that produced the product or service (include entity name, unique entity identifier, Contractor and Government Entity (CAGE) code, facilities responsible for design, fabrication, assembly, packaging, and test of the product, and whether the entity was the OEM or a distributor (provide manufacturer codes and distributor codes used for the product));

(v) Description of the functionality of the product or service and how that functionality impacts the risk to the product or service;

(vi) An explanation of any factors relevant to determining if the product or service should be permitted by an applicable exception, exemption, or waiver (if the offeror would like the Government to consider a waiver);

(vii) Whether alternative products or services are available that would be compliant with the prohibition;

(viii) If the product or service is related to item maintenance, include the following information on the item being maintained:

(A) Brand;

(B) Model number, OEM number, manufacturer part number, or wholesaler number; and

(C) Item description, as applicable.

(ix) Any readily available information about mitigation actions undertaken or recommended.

(2) If a disclosure is required to be submitted to a contracting office, the offeror shall submit the disclosure as follows:

(i) If a Department of Defense contracting office, the offeror shall submit the disclosure to the website at https://dibnet.dod.mil.

(ii) For all other contracting offices, the Offeror shall submit the disclosure to the Contracting Officer.

(3) If the disclosure provided does not contain any of the information required by paragraph (1), and the Offeror later discovers new information that is required by paragraph (1), then the Offeror shall submit a subsequent disclosure within 72 hours of discovering the new information.

(h) Executive agency review of disclosures. The Contracting Officer will review disclosures provided in paragraph (g) to determine if any applicable waiver may be sought. The Contracting Officer may choose not to pursue a waiver and may instead make an award to an Offeror that does not require a waiver.

(End of Provision)

## E.4  52.252-1  SOLICITATION PROVISIONS INCORPORATED BY REFERENCE  (FEB 1998)

This solicitation incorporates one or more solicitation provisions by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. The offeror is cautioned that the listed provisions may include blocks that must be completed by the offeror and submitted with its quotation or offer. In lieu of submitting the full text of those provisions, the offeror may identify the provision by paragraph identifier and provide the appropriate information with its quotation or offer. Also, the full text of a solicitation provision may be accessed electronically at this/these address(es):

https://www.acquisition.gov/browse/index/far

https://www.va.gov/oal/library/vaar/

(End of Provision)

| FAR Number | Title | Date |
| --- | --- | --- |
| 52.204-7 | SYSTEM FOR AWARD MANAGEMENT | NOV 2024 |
| 52.229-11 | TAX ON CERTAIN FOREIGN PROCUREMENTS—NOTICE AND REPRESENTATION | JUN 2020 |
| 852.239-75 | INFORMATION AND COMMUNICATION TECHNOLOGY ACCESSIBILITY NOTICE | FEB 2023 |

(End of Addendum to 52.212-1)

## E.5  52.212-2  EVALUATION—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (NOV 2021)

(a) The Government will award a contract resulting from this solicitation to the responsible offeror whose offer conforming to the solicitation will be most advantageous to the Government, price and other factors considered. The following factors shall be used to evaluate offers:

Award will be made on a Lowest Price Technically Acceptable (LPTA) basis.

The following evaluation factors apply:

1. Technical Acceptability
The quotation will be evaluated to determine whether the offeror’s proposed approach meets or exceeds all requirements of the Performance Work Statement (PWS). Failure to meet any material requirement will render the quotation technically unacceptable.

2. Past Performance
The Government will evaluate the offeror’s past performance to assess the likelihood of successful performance. Offerors shall submit at least two (2) relevant past performance references for similar work performed within the last three (3) years. Past performance will be evaluated on an acceptable/unacceptable basis.

3. Price
Price will be evaluated for fairness and reasonableness in accordance with FAR 13.106-3(a). Award will be made to the lowest-priced quotation that is determined technically acceptable with acceptable past performance.

Order of Evaluation:
1) Technical Acceptability
2) Past Performance
3) Price

Technical and past performance, when combined, are equal to price.

(b) A written notice of award or acceptance of an offer, mailed or otherwise furnished to the successful offeror within the time for acceptance specified in the offer, shall result in a binding contract without further action by either party. Before the offer's specified expiration time, the Government may accept an offer (or part of an offer), whether or not there are negotiations after its receipt, unless a written notice of withdrawal is received before award.

(End of Provision)

## E.6  52.212-3  OFFEROR REPRESENTATIONS AND CERTIFICATIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (OCT 2025) (DEVIATION FEB 2025)

The Offeror shall complete only paragraph (b) of this provision if the Offeror has completed the annual representations and certification electronically in the System for Award Management (SAM) accessed through https://www.sam.gov. If the Offeror has not completed the annual representations and certifications electronically, the Offeror shall complete only paragraphs (c) through (v) of this provision.

(a) Definitions.  As used in this provision—

Covered telecommunications equipment or services has the meaning provided in the clause 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment.

Economically disadvantaged women-owned small business (EDWOSB) concern means a small business concern that is at least 51 percent directly and unconditionally owned by, and the management and daily business operations of which are controlled by, one or more women who are citizens of the United States and who are economically disadvantaged in accordance with 13 CFR 127, and the concern is identified by SBA or an approved third-party certifier in accordance with 13 CFR 127.300. It automatically qualifies as a women-owned small business eligible under the WOSB Program.

Forced or indentured child labor means all work or service—

(1) Exacted from any person under the age of 18 under the menace of any penalty for its nonperformance and for which the worker does not offer himself voluntarily; or

(2) Performed by any person under the age of 18 pursuant to a contract the enforcement of which can be accomplished by process or penalties.

Highest-level owner means the entity that owns or controls an immediate owner of the offeror, or that owns or controls one or more entities that control an immediate owner of the offeror. No entity owns or exercises control of the highest level owner.

Immediate owner means an entity, other than the offeror, that has direct control of the offeror. Indicators of control include, but are not limited to, one or more of the following: Ownership or interlocking management, identity of interests among family members, shared facilities and equipment, and the common use of employees.

Inverted domestic corporation means a foreign incorporated entity that meets the definition of an inverted domestic corporation under 6 U.S.C. 395(b), applied in accordance with the rules and definitions of 6 U.S.C. 395(c).

Manufactured end product means any end product in product and service codes (PSCs) 1000-9999, except—

(1) PSC 5510, Lumber and Related Basic Wood Materials;

(2) Product or Service Group (PSG) 87, Agricultural Supplies;

(3) PSG 88, Live Animals;

(4) PSG 89, Subsistence;

(5) PSC 9410, Crude Grades of Plant Materials;

(6) PSC 9430, Miscellaneous Crude Animal Products, Inedible;

(7) PSC 9440, Miscellaneous Crude Agricultural and Forestry Products;

(8) PSC 9610, Ores;

(9) PSC 9620, Minerals, Natural and Synthetic; and

(10) PSC 9630, Additive Metal Materials.

Place of manufacture means the place where an end product is assembled out of components, or otherwise made or processed from raw materials into the finished product that is to be provided to the Government. If a product is disassembled and reassembled, the place of reassembly is not the place of manufacture.

Predecessor means an entity that is replaced by a successor and includes any predecessors of the predecessor.

Reasonable inquiry has the meaning provided in the clause 52.204–25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment.

Restricted business operations means business operations in Sudan that include power production activities, mineral extraction activities, oil-related activities, or the production of military equipment, as those terms are defined in the Sudan Accountability and Divestment Act of 2007 (Pub. L. 110-174). Restricted business operations do not include business operations that the person (as that term is defined in Section 2 of the Sudan Accountability and Divestment Act of 2007) conducting the business can demonstrate—

(1) Are conducted under contract directly and exclusively with the regional government of southern Sudan;

(2) Are conducted pursuant to specific authorization from the Office of Foreign Assets Control in the Department of the Treasury, or are expressly exempted under Federal law from the requirement to be conducted under such authorization;

(3) Consist of providing goods or services to marginalized populations of Sudan;

(4) Consist of providing goods or services to an internationally recognized peacekeeping force or humanitarian organization;

(5) Consist of providing goods or services that are used only to promote health or education; or

(6) Have been voluntarily suspended.

Sensitive technology—

(1) Means hardware, software, telecommunications equipment, or any other technology that is to be used specifically—

(i) To restrict the free flow of unbiased information in Iran; or

(ii) To disrupt, monitor, or otherwise restrict speech of the people of Iran; and

(2) Does not include information or informational materials the export of which the President does not have the authority to regulate or prohibit pursuant to section 203(b)(3) of the International Emergency Economic Powers Act (50 U.S.C. 1702(b)(3)).

Service-disabled veteran-owned small business (SDVOSB) concern means a small business concern—

(1)(i) Not less than 51 percent of which is owned and controlled by one or more service-disabled veterans or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more service-disabled veterans; and

(ii) The management and daily business operations of which are controlled by one or more service-disabled veterans or, in the case of a service-disabled veteran with permanent and severe disability, the spouse or permanent caregiver of such veteran; or

(2) A small business concern eligible under the SDVOSB Program in accordance with 13 CFR part 128 (see subpart 19.14).

(3) Service-disabled veteran, as used in this definition, means a veteran as defined in 38 U.S.C. 101(2), with a disability that is service-connected, as defined in 38 U.S.C. 101(16), and who is registered in the Beneficiary Identification and Records Locator Subsystem, or successor system that is maintained by the Department of Veterans Affairs’ Veterans Benefits Administration, as a service-disabled veteran.

Service-disabled veteran-owned small business (SDVOSB) concern eligible under the SDVOSB Program means an SDVOSB concern that—

(1) Effective January 1, 2024, is designated in the System for Award Management (SAM) as certified by the Small Business Administration (SBA) in accordance with 13 CFR 128.300; or

(2) Has represented that it is an SDVOSB concern in SAM and submitted a complete application for certification to SBA on or before December 31, 2023.

Service-disabled veteran-owned small business (SDVOSB) Program means a program that authorizes contracting officers to limit competition, including award on a sole-source basis, to SDVOSB concerns eligible under the SDVOSB Program.

Small business concern—

(1) Means a concern, including its affiliates, that is independently owned and operated, not dominant in its field of operation, and qualified as a small business under the criteria in 13 CFR part 121 and size standards in this solicitation.

(2) Affiliates, as used in this definition, means business concerns, one of whom directly or indirectly controls or has the power to control the others, or a third party or parties control or have the power to control the others. In determining whether affiliation exists, consideration is given to all appropriate factors including common ownership, common management, and contractual relationships. SBA determines affiliation based on the factors set forth at 13 CFR 121.103.

Small disadvantaged business concern, consistent with 13 CFR 124.1001, means a small business concern under the size standard applicable to the acquisition, that—

(1) Is at least 51 percent unconditionally and directly owned (as defined at 13 CFR 124.105) by—

(i) One or more socially disadvantaged (as defined at 13 CFR 124.103) and economically disadvantaged (as defined at 13 CFR 124.104) individuals who are citizens of the United States; and

(ii) Each individual claiming economic disadvantage has a net worth not exceeding the threshold at 13 CFR 124.104(c)(2) after taking into account the applicable exclusions set forth at 13 CFR 124.104(c)(2); and

(2) The management and daily business operations of which are controlled (as defined at 13 CFR 124.106) by individuals, who meet the criteria in paragraphs (1)(i) and (ii) of this definition.

Subsidiary means an entity in which more than 50 percent of the entity is owned—

(1) Directly by a parent corporation; or

(2) Through another subsidiary of a parent corporation.

Successor means an entity that has replaced a predecessor by acquiring the assets and carrying out the affairs of the predecessor under a new name (often through acquisition or merger). The term “successor” does not include new offices/divisions of the same company or a company that only changes its name. The extent of the responsibility of the successor for the liabilities of the predecessor may vary, depending on State law and specific circumstances.

Veteran-owned small business concern means a small business concern—

(1) Not less than 51 percent of which is owned and controlled by one or more veterans (as defined at 38 U.S.C. 101(2)) or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more veterans; and

(2) The management and daily business operations of which are controlled by one or more veterans.

Women-owned business concern means a concern which is at least 51 percent owned by one or more women; or in the case of any publicly owned business, at least 51 percent of its stock is owned by one or more women; and whose management and daily business operations are controlled by one or more women.

Women-owned small business concern means a small business concern—

(1) That is at least 51 percent owned by one or more women; or, in the case of any publicly owned business, at least 51 percent of the stock of which is owned by one or more women; and

(2) Whose management and daily business operations are controlled by one or more women.

Women-owned small business (WOSB) concern eligible under the WOSB Program (in accordance with 13 CFR part 127), means a small business concern that is at least 51 percent directly and unconditionally owned by, and the management and daily business operations of which are controlled by, one or more women who are citizens of the United States, and the concern is certified by SBA or an approved third-party certifier in accordance with 13 CFR 127.300.

(b)(1) Annual Representations and Certifications. Any changes provided by the Offeror in paragraph (b)(2) of this provision do not automatically change the representations and certifications in SAM.

(2) The offeror has completed the annual representations and certifications electronically in SAM accessed through http://www.sam.gov. After reviewing SAM information, the Offeror verifies by submission of this offer that the representations and certifications currently posted electronically at FAR 52.212–3, Offeror Representations and Certifications—Commercial Products and Commercial Services, have been entered or updated in the last 12 months, are current, accurate, complete, and applicable to this solicitation (including the business size standard(s) applicable to the NAICS code(s) referenced for this solicitation), at the time this offer is submitted and are incorporated in this offer by reference (see FAR 4.1201), except for paragraphs .

(c) Offerors must complete the following representations when the resulting contract is for supplies to be delivered or services to be performed in the United States or its outlying areas, or when the contracting officer has applied part 19 in accordance with 19.000(b)(1)(ii). Check all that apply.

(1) Small business concern. The offeror represents as part of its offer that—

(i) It [  ] is, [  ] is not a small business concern; or

(ii) It [  ] is, [  ] is not a small business joint venture that complies with the requirements of 13 CFR 121.103(h) and 13 CFR 125.8(a) and (b). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: __________________.]

(2) Veteran-owned small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents as part of its offer that it [  ] is, [  ] is not a veteran-owned small business concern.

(3) SDVOSB concern. [Complete only if the offeror represented itself as a veteran-owned small business concern in paragraph (c)(2) of this provision.] The offeror represents that it [ ] is, [ ] is not an SDVOSB concern.

(4) SDVOSB concern joint venture eligible under the SDVOSB Program. The offeror represents that it [ ] is, [ ] is not an SDVOSB joint venture eligible under the SDVOSB Program that complies with the requirements of 13 CFR 128.402. [Complete only if the offeror represented itself as an SDVOSB concern in paragraph (c)(3) of this provision.] [The offeror shall enter the name and unique entity identifier of each party to the joint venture:__.]

(5) Small disadvantaged business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents that it [  ] is, [  ] is not a small disadvantaged business concern as defined in 13 CFR 124.1001.

(6) Women-owned small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents that it [  ] is, [  ] is not a women-owned small business concern.

(7) WOSB join venture eligible under the WOSB Program. [Complete only if the offeror represented itself as a women-owned small business concern in paragraph (c)(5) of this provision.] The offeror represents that it [ ] is, [ ] is not a joint venture that complies with the requirements of 13 CFR 127.506(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: __________________.]

(8) Economically disadvantaged women-owned small business (EDWOSB) joint venture. The offeror represents that it [ ] is, [ ] is not a joint venture that complies with the requirements of 13 CFR part 127.506(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: __________________.]

Note to Paragraphs (c)(9) and (10): Complete paragraphs (c)(9) and (10) only if this solicitation is expected to exceed the simplified acquisition threshold.

(9) Women-owned business concern (other than small business concern). [Complete only if the offeror is a women-owned business concern and did not represent itself as a small business concern in paragraph (c)(1) of this provision.]  The offeror represents that it [  ] is a women-owned business concern.

(10) Tie bid priority for labor surplus area concerns.  If this is an invitation for bid, small business offerors may identify the labor surplus areas in which costs to be incurred on account of manufacturing or production (by offeror or first-tier subcontractors) amount to more than 50 percent of the contract price:

___________________________________________

(11) HUBZone small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents, as part of its offer, that—

(i) It [ ] is, [ ] is not a HUBZone small business concern listed, on the date of this representation, as having been certified by SBA as a HUBZone small business concern in the Dynamic Small Business Search and SAM, and will attempt to maintain an employment rate of HUBZone residents of 35 percent of its employees during performance of a HUBZone contract (see 13 CFR 126.200(e)(1)); and

(ii) It [ ] is, [ ] is not a HUBZone joint venture that complies with the requirements of 13 CFR Part 126.616(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: __________________.] Each HUBZone small business concern participating in the HUBZone joint venture shall provide representation of its HUBZone status.

(d)  [Reserved]

(e) Certification Regarding Payments to Influence Federal Transactions (31 U.S.C. 1352). (Applies only if the contract is expected to exceed $200,000.) By submission of its offer, the offeror certifies to the best of its knowledge and belief that no Federal appropriated funds have been paid or will be paid to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress or an employee of a Member of Congress on his or her behalf in connection with the award of any resultant contract. If any registrants under the Lobbying Disclosure Act of 1995 have made a lobbying contact on behalf of the offeror with respect to this contract, the offeror shall complete and submit, with its offer, OMB Standard Form LLL, Disclosure of Lobbying Activities, to provide the name of the registrants. The offeror need not report regularly employed officers or employees of the offeror to whom payments of reasonable compensation were made.

(f) Buy American Certificate.  (Applies only if the clause at Federal Acquisition Regulation (FAR) 52.225-1, Buy American—Supplies, is included in this solicitation.)

(1)(i) The Offeror certifies that each end product, except those listed in paragraph (f)(2) of this provision, is a domestic end product and that each domestic end product listed in paragraph (f)(3) of this provision contains a critical component.

(ii) The Offeror shall list as foreign end products those end products manufactured in the United States that do not qualify as domestic end products. For those foreign end products that do not consist wholly or predominantly of iron or steel or a combination of both, the Offeror shall also indicate whether these foreign end products exceed 55 percent domestic content, except for those that are COTS items. If the percentage of the domestic content is unknown, select ‘‘no’’.

(iii) The Offeror shall separately list the line item numbers of domestic end products that contain a critical component (see FAR 25.105).

(iv) The terms ‘‘commercially available off-the-shelf (COTS) item,’’ ‘‘critical component,’’ ‘‘domestic end product,’’ ‘‘end product,’’ ‘‘foreign end product,’’ and ‘‘United States’’ are defined in the clause of this solicitation entitled ‘‘Buy American—Supplies.’’

(2) Foreign End Products:

| Line item No. | Country of origin | Exceeds 55% domestic content (yes/no) |
| --- | --- | --- |

[List as necessary]

(3) Domestic end products containing a critical component: Line Item No. ___________

[List as necessary]

(4) The Government will evaluate offers in accordance with the policies and procedures of FAR part 25.

(g)(1) Buy American—Free Trade Agreements—Israeli Trade Act Certificate. (Applies only if the clause at FAR 52.225-3, Buy American—Free Trade Agreements—Israeli Trade Act, is included in this solicitation.)

(i)(A) The Offeror certifies that each end product, except those listed in paragraph (g)(1)(ii) or (iii) of this provision, is a domestic end product and that each domestic end product listed in paragraph (g)(1)(iv) of this provision contains a critical component.

(B) The terms ‘‘Bahraini, Moroccan, Omani, Panamanian, or Peruvian end product,’’ ‘‘commercially available off-the-shelf (COTS) item,’’ ‘‘critical component,’’ ‘‘domestic end product,’’ ‘‘end product,’’ ‘‘foreign end product,’’ ‘‘Free Trade Agreement country,’’ ‘‘Free Trade Agreement country end product,’’ ‘‘Israeli end product,’’ and ‘‘United States’’ are defined in the clause of this solicitation entitled ‘‘Buy American—Free Trade Agreements—Israeli Trade Act.’’

(ii) The Offeror certifies that the following supplies are Free Trade Agreement country end products (other than Bahraini, Moroccan, Omani, Panamanian, or Peruvian end products) or Israeli end products as defined in the clause of this solicitation entitled ‘‘Buy American—Free Trade Agreements—Israeli Trade Act.’’

Free Trade Agreement Country End Products (Other than Bahraini, Moroccan, Omani, Panamanian, or Peruvian End Products) or Israeli End Products:

| Line item No. | Country of origin |
| --- | --- |

[List as necessary]

(iii) The Offeror shall list those supplies that are foreign end products (other than those listed in paragraph (g)(1)(ii) of this provision) as defined in the clause of this solicitation entitled ‘‘Buy American—Free Trade Agreements—Israeli Trade Act.’’ The Offeror shall list as other foreign end products those end products manufactured in the United States that do not qualify as domestic end products. For those foreign end products that do not consist wholly or predominantly of iron or steel or a combination of both, the Offeror shall also indicate whether these foreign end products exceed 55 percent domestic content, except for those that are COTS items. If the percentage of the domestic content is unknown, select ‘‘no’’.

Other Foreign End Products:

| Line item No. | Country of origin | Exceeds 55% domestic content (yes/no) |
| --- | --- | --- |

[List as necessary]

(iv) The Offeror shall list the line item numbers of domestic end products that contain a critical component (see FAR 25.105). Line Item No. ___________

[List as necessary]

(v) The Government will evaluate offers in accordance with the policies and procedures of FAR part 25.

(2) Buy American—Free Trade Agreements—Israeli Trade Act Certificate, Alternate II. If Alternate II to the clause at FAR 52.225-3 is included in this solicitation, substitute the following paragraph (g)(1)(ii) for paragraph (g)(1)(ii) of the basic provision:

(g)(1)(ii) The offeror certifies that the following supplies are Israeli end products as defined in the clause of this solicitation entitled “Buy American—Free Trade Agreements—Israeli Trade Act”:

Israeli End Products:

| Line item No. | Country of origin |
| --- | --- |

[List as necessary]

(3) Buy American—Free Trade Agreements—Israeli Trade Act Certificate, Alternate III. If Alternate III to the clause at 52.225–3 is included in this solicitation, substitute the following paragraphs (g)(1)(i)(B) and (g)(1)(ii) for paragraphs (g)(1)(i)(B) and (g)(1)(ii) of the basic provision:

(g)(1)(i)(B) The terms ‘‘Korean end product’’, ‘‘commercially available off-the shelf (COTS) item,’’ ‘‘critical component,’’ ‘‘domestic end product,’’ ‘‘end product,’’ ‘‘foreign end product,’’ ‘‘Free Trade Agreement country,’’ ‘‘Free Trade Agreement country end product,’’ ‘‘Israeli end product,’’ and ‘‘United States’’ are defined in the clause of this solicitation entitled ‘‘Buy American— Free Trade Agreements—Israeli Trade Act.’’

(g)(1)(ii) The Offeror certifies that the following supplies are Korean end products or Israeli end products as defined in the clause of this solicitation entitled ‘‘Buy American—Free Trade Agreements—Israeli Trade Act’’:

Korean End Products or Israeli End Products:

| Line item No. | Country of origin |
| --- | --- |

[List as necessary]

(4) Trade Agreements Certificate. (Applies only if the clause at FAR 52.225-5, Trade Agreements, is included in this solicitation.)

(i) The offeror certifies that each end product, except those listed in paragraph (g)(4)(ii) of this provision, is a U.S.-made or designated country end product, as defined in the clause of this solicitation entitled “Trade Agreements”.

(ii) The offeror shall list as other end products those end products that are not U.S.-made or designated country end products.

Other End Products:

| Line item No. | Country of origin |
| --- | --- |

[List as necessary]

(iii) The Government will evaluate offers in accordance with the policies and procedures of FAR Part 25.  For line items covered by the WTO GPA, the Government will evaluate offers of U.S.-made or designated country end products without regard to the restrictions of the Buy American statute. The Government will consider for award only offers of U.S.-made or designated country end products unless the Contracting Officer determines that there are no offers for such products or that the offers for such products are insufficient to fulfill the requirements of the solicitation.

(h) Certification Regarding Responsibility Matters (Executive Order 12689). (Applies only if the contract value is expected to exceed the simplified acquisition threshold.) The offeror certifies, to the best of its knowledge and belief, that the offeror and/or any of its principals—

(1) [  ] Are, [  ] are not presently debarred, suspended, proposed for debarment, or declared ineligible for the award of contracts by any Federal agency;

(2) [  ] Have, [  ] have not, within a three-year period preceding this offer, been convicted of or had a civil judgment rendered against them for: commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a Federal, state or local government contract or subcontract; violation of Federal or state antitrust statutes relating to the submission of offers; or Commission of embezzlement, theft, forgery, bribery, falsification or destruction of records, making false statements, tax evasion, violating Federal criminal tax laws, or receiving stolen property;

(3) [  ] Are, [  ] are not presently indicted for, or otherwise criminally or civilly charged by a Government entity with, commission of any of these offenses enumerated in paragraph (h)(2) of this clause; and

(4) [  ] Have, [  ] have not, within a three-year period preceding this offer, been notified of any delinquent Federal taxes in an amount that exceeds the threshold at 9.104–5(a)(2) for which the liability remains unsatisfied.

(i) Taxes are considered delinquent if both of the following criteria apply:

(A) The tax liability is finally determined. The liability is finally determined if it has been assessed. A liability is not finally determined if there is a pending administrative or judicial challenge. In the case of a judicial challenge to the liability, the liability is not finally determined until all judicial appeal rights have been exhausted.

(B) The taxpayer is delinquent in making payment. A taxpayer is delinquent if the taxpayer has failed to pay the tax liability when full payment was due and required. A taxpayer is not delinquent in cases where enforced collection action is precluded.

(ii) Examples.

(A) The taxpayer has received a statutory notice of deficiency, under I.R.C. Sec.  6212, which entitles the taxpayer to seek Tax Court review of a proposed tax deficiency. This is not a delinquent tax because it is not a final tax liability. Should the taxpayer seek Tax Court review, this will not be a final tax liability until the taxpayer has exercised all judicial appeal rights.

(B) The IRS has filed a notice of Federal tax lien with respect to an assessed tax liability, and the taxpayer has been issued a notice under I.R.C. Sec.  6320 entitling the taxpayer to request a hearing with the IRS Office of Appeals contesting the lien filing, and to further appeal to the Tax Court if the IRS determines to sustain the lien filing. In the course of the hearing, the taxpayer is entitled to contest the underlying tax liability because the taxpayer has had no prior opportunity to contest the liability. This is not a delinquent tax because it is not a final tax liability. Should the taxpayer seek tax court review, this will not be a final tax liability until the taxpayer has exercised all judicial appeal rights.

(C) The taxpayer has entered into an installment agreement pursuant to I.R.C. Sec.  6159. The taxpayer is making timely payments and is in full compliance with the agreement terms. The taxpayer is not delinquent because the taxpayer is not currently required to make full payment.

(D) The taxpayer has filed for bankruptcy protection. The taxpayer is not delinquent because enforced collection action is stayed under 11 U.S.C. 362 (the Bankruptcy Code).

(i) Certification Regarding Knowledge of Child Labor for Listed End Products (Executive Order 13126).

(1) Listed end products.

| Listed end product | Listed countries of origin |
| --- | --- |

(2) Certification. [If the Contracting Officer has identified end products and countries of origin in paragraph (i)(1) of this provision, then the offeror must certify to either (i)(2)(i) or (i)(2)(ii) by checking the appropriate block.]

[ ] (i) The offeror will not supply any end product listed in paragraph (i)(1) of this provision that was mined, produced, or manufactured in the corresponding country as listed for that product.

[ ] (ii) The offeror may supply an end product listed in paragraph (i)(1) of this provision that was mined, produced, or manufactured in the corresponding country as listed for that product. The offeror certifies that it has made a good faith effort to determine whether forced or indentured child labor was used to mine, produce, or manufacture any such end product furnished under this contract. On the basis of those efforts, the offeror certifies that it is not aware of any such use of child labor.

(j) Place of manufacture. (Does not apply unless the solicitation is predominantly for the acquisition of manufactured end products.) For statistical purposes only, the offeror shall indicate whether the place of manufacture of the end products it expects to provide in response to this solicitation is predominantly—

(1) __ In the United States (Check this box if the total anticipated price of offered end products manufactured in the United States exceeds the total anticipated price of offered end products manufactured outside the United States); or

(2) __ Outside the United States.

(k) Certificates regarding exemptions from the application of the Service Contract Labor Standards. (Certification by the offeror as to its compliance with respect to the contract also constitutes its certification as to compliance by its subcontractor if it subcontracts out the exempt services.) [The contracting officer is to check a box to indicate if paragraph (k)(1) or (k)(2) applies.]

[] (1) Maintenance, calibration, or repair of certain equipment as described in FAR 22.1003-4(c)(1). The offeror [  ] does [  ] does not certify that—

(i) The items of equipment to be serviced under this contract are used regularly for other than Governmental purposes and are sold or traded by the offeror (or subcontractor in the case of an exempt subcontract) in substantial quantities to the general public in the course of normal business operations;

(ii) The services will be furnished at prices which are, or are based on, established catalog or market prices (see FAR 22.1003- 4(c)(2)(ii)) for the maintenance, calibration, or repair of such equipment; and

(iii) The compensation (wage and fringe benefits) plan for all service employees performing work under the contract will be the same as that used for these employees and equivalent employees servicing the same equipment of commercial customers.

[] (2) Certain services as described in FAR 22.1003- 4(d)(1). The offeror [  ] does [  ] does not certify that—

(i) The services under the contract are offered and sold regularly to non-Governmental customers, and are provided by the offeror (or subcontractor in the case of an exempt subcontract) to the general public in substantial quantities in the course of normal business operations;

(ii) The contract services will be furnished at prices that are, or are based on, established catalog or market prices (see FAR 22.1003-4(d)(2)(iii));

(iii) Each service employee who will perform the services under the contract will spend only a small portion of his or her time (a monthly average of less than 20 percent of the available hours on an annualized basis, or less than 20 percent of available hours during the contract period if the contract period is less than a month) servicing the Government contract; and

(iv) The compensation (wage and fringe benefits) plan for all service employees performing work under the contract is the same as that used for these employees and equivalent employees servicing commercial customers.

(3) If paragraph (k)(1) or (k)(2) of this clause applies—

(i) If the offeror does not certify to the conditions in paragraph (k)(1) or (k)(2) and the Contracting Officer did not attach a Service Contract Labor Standards wage determination to the solicitation, the offeror shall notify the Contracting Officer as soon as possible; and

(ii) The Contracting Officer may not make an award to the offeror if the offeror fails to execute the certification in paragraph (k)(1) or (k)(2) of this clause or to contact the Contracting Officer as required in paragraph (k)(3)(i) of this clause.

(l) Taxpayer Identification Number (TIN) (26 U.S.C. 6109, 31 U.S.C. 7701).  (Not applicable if the offeror is required to provide this information to SAM to be eligible for award.)

(1) All offerors must submit the information required in paragraphs (l)(3) through (l)(5) of this provision to comply with debt collection requirements of 31 U.S.C. 7701(c) and 3325(d), reporting requirements of 26 U.S.C. 6041, 6041A, and 6050M, and implementing regulations issued by the Internal Revenue Service (IRS).

(2) The TIN may be used by the Government to collect and report on any delinquent amounts arising out of the offeror's relationship with the Government (31 U.S.C. 7701(c)(3)).  If the resulting contract is subject to the payment reporting requirements described in FAR 4.904, the TIN provided hereunder may be matched with IRS records to verify the accuracy of the offeror's TIN.

(3) Taxpayer Identification Number (TIN).

[  ] TIN:  _____________________.

[  ] TIN has been applied for.

[  ] TIN is not required because:

[  ] Offeror is a nonresident alien, foreign corporation, or foreign partnership that does not have income effectively connected with the conduct of a trade or business in the United States and does not have an office or place of business or a fiscal paying agent in the United States;

[  ] Offeror is an agency or instrumentality of a foreign government;

[  ] Offeror is an agency or instrumentality of the Federal Government.

(4) Type of organization.

[  ] Sole proprietorship;

[  ] Partnership;

[  ] Corporate entity (not tax-exempt);

[  ] Corporate entity (tax-exempt);

[  ] Government entity (Federal, State, or local);

[  ] Foreign government;

[  ] International organization per 26 CFR 1.6049-4;

[  ] Other _________________________.

(5) Common parent.

[  ] Offeror is not owned or controlled by a common parent;

[  ] Name and TIN of common parent:

Name _____________________.

TIN _____________________.

(m) Restricted business operations in Sudan. By submission of its offer, the offeror certifies that the offeror does not conduct any restricted business operations in Sudan.

(n) Prohibition on Contracting with Inverted Domestic Corporations.

(1) Government agencies are not permitted to use appropriated (or otherwise made available) funds for contracts with either an inverted domestic corporation, or a subsidiary of an inverted domestic corporation, unless the exception at 9.108-2(b) applies or the requirement is waived in accordance with the procedures at 9.108-4.

(2) Representation. The Offeror represents that—

(i) It [ ] is, [ ] is not an inverted domestic corporation; and

(ii) It [ ] is, [ ] is not a subsidiary of an inverted domestic corporation.

(o) Prohibition on contracting with entities engaging in certain activities or transactions relating to Iran.

(1) The offeror shall email questions concerning sensitive technology to the Department of State at CISADA106@state.gov.

(2) Representation and certifications. Unless a waiver is granted or an exception applies as provided in paragraph (o)(3) of this provision, by submission of its offer, the offeror—

(i) Represents, to the best of its knowledge and belief, that the offeror does not export any sensitive technology to the government of Iran or any entities or individuals owned or controlled by, or acting on behalf or at the direction of, the government of Iran;

(ii) Certifies that the offeror, or any person owned or controlled by the offeror, does not engage in any activities for which sanctions may be imposed under section 5 of the Iran Sanctions Act; and

(iii) Certifies that the offeror, and any person owned or controlled by the offeror, does not knowingly engage in any transaction that exceeds the threshold at FAR 25.703–2(a)(2) with Iran’s Revolutionary Guard Corps or any of its officials, agents, or affiliates, the property and interests in property of which are blocked pursuant to the International Emergency Economic Powers Act (50 U.S.C. 1701 et seq.) (see OFAC’s Specially Designated Nationals and Blocked Persons List at https://www.treasury.gov/resource-center/sanctions/SDN-List/Pages/default.aspx).

(3) The representation and certification requirements of paragraph (o)(2) of this provision do not apply if—

(i) This solicitation includes a trade agreements certification (e.g., 52.212–3(g) or a comparable agency provision); and

(ii) The offeror has certified that all the offered products to be supplied are designated country end products.

(p) Ownership or Control of Offeror. (Applies in all solicitations when there is a requirement to be registered in SAM or a requirement to have a unique entity identifier in the solicitation).

(1) The Offeror represents that it [ ] has or [ ] does not have an immediate owner. If the Offeror has more than one immediate owner (such as a joint venture), then the Offeror shall respond to paragraph (2) and if applicable, paragraph (3) of this provision for each participant in the joint venture.

(2) If the Offeror indicates “has” in paragraph (p)(1) of this provision, enter the following information:

Immediate owner CAGE code: ____.

Immediate owner legal name: ____.

(Do not use a “doing business as” name)

Is the immediate owner owned or controlled by another entity: [ ] Yes or [ ] No.

(3) If the Offeror indicates “yes” in paragraph (p)(2) of this provision, indicating that the immediate owner is owned or controlled by another entity, then enter the following information:

Highest-level owner CAGE code: ____.

Highest-level owner legal name: ____.

(Do not use a “doing business as” name)

(q) Representation by Corporations Regarding Delinquent Tax Liability or a Felony Conviction under any Federal Law.

(1) As required by sections 744 and 745 of Division E of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235), and similar provisions, if contained in subsequent appropriations acts, The Government will not enter into a contract with any corporation that—

(i) Has any unpaid Federal tax liability that has been assessed, for which all judicial and administrative remedies have been exhausted or have lapsed, and that is not being paid in a timely manner pursuant to an agreement with the authority responsible for collecting the tax liability, where the awarding agency is aware of the unpaid tax liability, unless an agency has considered suspension or debarment of the corporation and made a determination that suspension or debarment is not necessary to protect the interests of the Government; or

(ii) Was convicted of a felony criminal violation under any Federal law within the preceding 24 months, where the awarding agency is aware of the conviction, unless an agency has considered suspension or debarment of the corporation and made a determination that this action is not necessary to protect the interests of the Government.

(2) The Offeror represents that—

(i) It is [ ] is not [ ] a corporation that has any unpaid Federal tax liability that has been assessed, for which all judicial and administrative remedies have been exhausted or have lapsed, and that is not being paid in a timely manner pursuant to an agreement with the authority responsible for collecting the tax liability; and

(ii) It is [ ] is not [ ] a corporation that was convicted of a felony criminal violation under a Federal law within the preceding 24 months.

(r) Predecessor of Offeror. (Applies in all solicitations that include the provision at 52.204-16, Commercial and Government Entity Code Reporting.)

(1) The Offeror represents that it [ ] is or [ ] is not a successor to a predecessor that held a Federal contract or grant within the last three years.

(2) If the Offeror has indicated “is” in paragraph (r)(1) of this provision, enter the following information for all predecessors that held a Federal contract or grant within the last three years (if more than one predecessor, list in reverse chronological order):

Predecessor CAGE code: ____ (or mark “Unknown”).

Predecessor legal name: ____.

(Do not use a “doing business as” name).

(s) [Reserved]

(t) [Reserved]

(u)(1) In accordance with section 743 of Division E, Title VII, of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235) and its successor provisions in subsequent appropriations acts (and as extended in continuing resolutions), Government agencies are not permitted to use appropriated (or otherwise made available) funds for contracts with an entity that requires employees or subcontractors of such entity seeking to report waste, fraud, or abuse to sign internal confidentiality agreements or statements prohibiting or otherwise restricting such employees or subcontractors from lawfully reporting such waste, fraud, or abuse to a designated investigative or law enforcement representative of a Federal department or agency authorized to receive such information.

(2) The prohibition in paragraph (u)(1) of this provision does not contravene requirements applicable to Standard Form 312 (Classified Information Nondisclosure Agreement), Form 4414 (Sensitive Compartmented Information Nondisclosure Agreement), or any other form issued by a Federal department or agency governing the nondisclosure of classified information.

(3) Representation. By submission of its offer, the Offeror represents that it will not require its employees or subcontractors to sign or comply with internal confidentiality agreements or statements prohibiting or otherwise restricting such employees or subcontractors from lawfully reporting waste, fraud, or abuse related to the performance of a Government contract to a designated investigative or law enforcement representative of a Federal department or agency authorized to receive such information (e.g., agency Office of the Inspector General).

(v) Covered Telecommunications Equipment or Services—Representation. Section 889(a)(1)(A) and section 889(a)(1)(B) of Public Law 115-232.

(1) The Offeror shall review the list of excluded parties in the System for Award Management (SAM) (https://www.sam.gov) for entities excluded from receiving federal awards for “covered telecommunications equipment or services”.

(2) The Offeror represents that—

(i) It [ ] does, [ ] does not provide covered telecommunications equipment or services as a part of its offered products or services to the Government in the performance of any contract, subcontract, or other contractual instrument.

(ii) After conducting a reasonable inquiry for purposes of this representation, that it [ ] does, [ ] does not use covered telecommunications equipment or services, or any equipment, system, or service that uses covered telecommunications equipment or services.

(End of Provision)