5. PROJECT NUMBER (if applicable)

CODE

7. ADMINISTERED BY

2. AMENDMENT/MODIFICATION NUMBER

CODE

6. ISSUED BY

8. NAME AND ADDRESS OF CONTRACTOR

4. REQUISITION/PURCHASE REQ. NUMBER

3. EFFECTIVE DATE

9A. AMENDMENT OF SOLICITATION NUMBER

9B. DATED

PAGE        OF     PAGES

10A. MODIFICATION OF CONTRACT/ORDER NUMBER

10B. DATED

BPA NO.

1. CONTRACT ID CODE

FACILITY CODE

CODE

Offers must acknowledge receipt of this amendment prior to the hour and date specified in the solicitation or as amended, by one of the following methods:

The above numbered solicitation is amended as set forth in Item 14.  The hour and date specified for receipt of Offers

E. IMPORTANT:

is extended,

(a) By completing Items 8 and 15, and returning __________ copies of the amendment; (b) By acknowledging receipt of this amendment on each copy of the

offer submitted; or (c) By separate letter or electronic communication which includes a reference to the solicitation and amendment numbers.  FAILURE OF YOUR

ACKNOWLEDGMENT TO BE RECEIVED AT THE PLACE DESIGNATED FOR THE RECEIPT OF OFFERS PRIOR TO THE HOUR AND DATE SPECIFIED MAY

is not extended.

12. ACCOUNTING AND APPROPRIATION DATA

(REV. 11/2016)

is required to sign this document and return ___________ copies to the issuing office.

is not,

A. THIS CHANGE ORDER IS ISSUED PURSUANT TO:    (Specify authority)   THE CHANGES SET FORTH IN ITEM 14 ARE MADE IN THE CONTRACT ORDER NO. IN ITEM 10A.

15C. DATE SIGNED

B. THE ABOVE NUMBERED CONTRACT/ORDER IS MODIFIED TO REFLECT THE ADMINISTRATIVE CHANGES

SET FORTH IN ITEM 14, PURSUANT TO THE AUTHORITY OF FAR 43.103(b).

RESULT IN REJECTION OF YOUR OFFER.  If by virtue of this amendment you desire to change an offer already submitted, such change may be made by letter

or electronic communication, provided each letter or electronic communication makes reference to the solicitation and this amendment, and is received prior to

the opening hour and date specified.

C. THIS SUPPLEMENTAL AGREEMENT IS ENTERED INTO PURSUANT TO AUTHORITY OF:

D. OTHER

Contractor

16C. DATE SIGNED

14. DESCRIPTION OF AMENDMENT/MODIFICATION

16B. UNITED STATES OF AMERICA

Except as provided herein, all terms and conditions of the document referenced in Item 9A or 10A, as heretofore changed, remains unchanged and in full force and effect.

15A. NAME AND TITLE OF SIGNER

16A. NAME AND TITLE OF CONTRACTING OFFICER

15B. CONTRACTOR/OFFEROR

STANDARD FORM 30

PREVIOUS EDITION NOT USABLE

Prescribed by GSA - FAR (48 CFR) 53.243

(Type or print)

(Type or print)

(Organized by UCF section headings, including solicitation/contract subject matter where feasible.)

(Number, street, county, State and ZIP Code)

(If other than Item 6)

(Specify type of modification and authority)

(such as changes in paying office, appropriation date, etc.)

(If required)

(SEE ITEM 11)

(SEE ITEM 13)

(X)

CHECK

ONE

13. THIS ITEM APPLIES ONLY TO MODIFICATIONS OF CONTRACTS/ORDERS,

IT MODIFIES THE CONTRACT/ORDER NO. AS DESCRIBED IN ITEM 14.

11. THIS ITEM ONLY APPLIES TO AMENDMENTS OF SOLICITATIONS

AMENDMENT OF SOLICITATION/MODIFICATION OF CONTRACT

(Signature of person authorized to sign)

(Signature of Contracting Officer)

1

5

0001

01-22-2026

36C250

Department of Veterans Affairs

Network Contracting Office 10

24 Frank Lloyd Wright Drive

Lobby M, Suite M2200

Ann Arbor, MI 48105

Y

Department of Veterans Affairs

Network Contracting Office 10

24 Frank Lloyd Wright Drive

Lobby M, Suite M2200

Ann Arbor, MI 48105

To all Offerors/Bidders

36C25026Q0160

01-15-2026

X

X

X

X

One(1)

The purpose of this solicitation amendment is to provide answers to questions submitted by industry regarding this

procurement.

KRISTINA L. PEART

Contracting Officer

# Questions and Answers Regarding 36C25026Q0160

- QUESTION: Will a site visit be offered?

ANSWER: The Government has determined a site visit would not provide any value for industry, as this contract only requires the contractor to pick up waste from the loading dock. Therefore, a site visit will not be offered.

- QUESTION: Is this a brand new contract or is there currently an incumbent performing these services? If so, please provide the current contract number?

ANSWER: Similar services have been provided to this facility via Government credit card orders in the past, however this is a brand new contract.

- QUESTION: Can the VA provide all the historical data on the waste disposal of each CLIN 0001 (broken down by Isotope and weights) and CLIN 0002 for the last 24 months?

ANSWER: Historical data has been attached to this solicitation amendment.

- QUESTION: CLIN 0002 sounds like they are describing Chemotherapy items, is this actual product that registers on a survey or is this trace products?

ANSWER: This is Y-90 TheraSphere waste that includes the catheter, towels, tweezers, etc. that is inside of a ½ gallon plastic container. It also may consist of plastic wrap and paper from Lu-177 or I-131 patient treatment rooms and restrooms that are contained in 4-20 gallon trash bags. It may be unused vials of any of Y-090 or Lu-177 as well. This is waste that may have a carrier added (long-lived contaminants) that cannot be decayed in storage. There is no chemotherapy waste involved.

- QUESTION: In regards to section 2.g of the SOW “Any patient treatment waste byproduct material with Atomic Numbers 1-83, 88 and 89 in any form that includes unused radioactive unit dose vials (aqueous liquid) or patient radioactive waste (Biological/Sharps) not to exceed 50 pounds.” Are the sharps contained in a yellow sharps container?

ANSWER: The sharps are contained in a red biohazard sharps container. The containers are usually 2 gallons or less in size.

- QUESTION: What size containers is the facility currently utilizing for CLIN 0002?

ANSWER: The facility typically uses 2 gallon or less containers.

- QUESTION: Does the facility have a current inventory of sealed sources onsite by isotope?

ANSWER: Yes, this is included as a chart within the SOW that lists all the current sources.

- QUESTION: How is the facility currently managing the sealed sources while waiting for disposal?

ANSWER: Sealed sources have been sent out via a waste broker in the past. There are currently several in storage waiting for the award of this new contract.

- QUESTION: Does the facility require the contractor to provide an initial round of containers to be placed for accumulation and segregation of isotopes for future disposal?

ANSWER: The facility has storage containers that will remain onsite. Containers must be provided by the vendor at the time of removal.

- QUESTION: Where is the contractor required to pick up the waste materials (i.e. one central location or multiple sites)?

ANSWER: All containers will be picked up at the loading/receiving dock located at the Richard L. Roudebush Veterans Affairs Medical Center (VAMC).

- QUESTION: What are the sizes of containers historically utilized for CLIN 0002?

ANSWER: The facility historically has used 2 gallon or less containers for CLIN 0002.

- QUESTION: What are the exact number of sealed sources that the facility is planning on shipping? We will need this information unless the VA wants a flat rate for a shipment of up to all sealed sources, since not all sources have the same cost.

ANSWER: The exact number of sealed sources will vary from year to year, but it will usually consist of 4 Ge-68 PET rod sources, 2 Ge-68 PET phantoms, 1 Co-57 flood source, and 2 Co-57 point sources annually. Every other year there is typically 2 Gd-153 rod sources. All these sources are for gamma camera and PET QC. Model numbers can be found within the SOW. There may occasionally be very small rod sources for well counter QC, such as Cs-137, Ba-133 and Na-22 sources that are in the nCi or uCi ranges. There may be small disc sources that require removal and disposal as well. The discs and small well-counter rods are not common and should not require annual removal.

- QUESTION: If the contractor quotes up to 200 pounds per year and the facility does not ship that, is the facility expecting a reduction in cost?

ANSWER: No, the solicitation is requesting offerors to quote a price per job for CLIN 0001 (not price per pound).

- QUESTION: If the facility ships more than 200 pounds per year, will there be a unilateral modification to overage amounts?

ANSWER: No, a unilateral modification would not be issued. If the facility required the removal and disposal of more than 200 pounds of sealed sources, any potential increase would be handled via a bilateral modification on this contract or via a separate contract vehicle.

- QUESTION: We understand waste volumes and types fluctuate year to year, but is there some sort of waste inventory we can base our proposal on?

ANSWER: Historical data has been attached to this solicitation amendment.

- QUESTION: Will the RFQ include estimated annual quantities, waste forms (liquid vs solid), container types, and typical isotopes? Or should offerors rely on historical usage assumptions?

ANSWER: Historical usage (attached to this solicitation amendment) should be used for estimation purposes; however actual waste will vary slightly from year to year. The attached historical data includes a document with current RAM sources that are ready to ship, as well as all current sources that could potentially need removal in the future. The attached historical data also lists all the different RAM items, including patient RAM waste over the past three (3) years.

- QUESTION: Does the VA anticipate evaluating pricing on a per-pickup, per-container, per-pound, or hybrid basis? Will a standardized pricing schedule be provided with the RFQ?

ANSWER: The Government will evaluate pricing on a per job basis, as indicated within the CLIN descriptions on the solicitation.

- QUESTION: Will NRC/DOT/EPA/State licensing and disposal facility documentation be required with the quote submission or verified prior to award?

ANSWER: Yes, please refer to the licensing requirements listed within the SOW. Additionally, please refer to the list of licenses and training credentials required to be submitted with the quote found within provision 52.212-2 Evaluation- Commercial Products and Commercial Services (pages 50-51 of the solicitation).

- QUESTION: Will the scope include emergency or unscheduled removals? If so, should these services be priced separately?

ANSWER: No, there will not be any emergency or unscheduled waste removals as part of this contract.

See attached document: Attachment 01 Historical Data 2024-2025 Radioactive Waste Broker Disposal.

See attached document: Attachment 02 Current Sources and Shipments over the past 3 years.

Radioactive Waste Removal and Disposal Services