5. PROJECT NUMBER (if applicable)

CODE

7. ADMINISTERED BY

2. AMENDMENT/MODIFICATION NUMBER

CODE

6. ISSUED BY

8. NAME AND ADDRESS OF CONTRACTOR

4. REQUISITION/PURCHASE REQ. NUMBER

3. EFFECTIVE DATE

9A. AMENDMENT OF SOLICITATION NUMBER

9B. DATED

PAGE        OF     PAGES

10A. MODIFICATION OF CONTRACT/ORDER NUMBER

10B. DATED

BPA NO.

1. CONTRACT ID CODE

FACILITY CODE

CODE

Offers must acknowledge receipt of this amendment prior to the hour and date specified in the solicitation or as amended, by one of the following methods:

The above numbered solicitation is amended as set forth in Item 14.  The hour and date specified for receipt of Offers

E. IMPORTANT:

is extended,

(a) By completing Items 8 and 15, and returning __________ copies of the amendment; (b) By acknowledging receipt of this amendment on each copy of the

offer submitted; or (c) By separate letter or electronic communication which includes a reference to the solicitation and amendment numbers.  FAILURE OF YOUR

ACKNOWLEDGMENT TO BE RECEIVED AT THE PLACE DESIGNATED FOR THE RECEIPT OF OFFERS PRIOR TO THE HOUR AND DATE SPECIFIED MAY

is not extended.

12. ACCOUNTING AND APPROPRIATION DATA

(REV. 11/2016)

is required to sign this document and return ___________ copies to the issuing office.

is not,

A. THIS CHANGE ORDER IS ISSUED PURSUANT TO:    (Specify authority)   THE CHANGES SET FORTH IN ITEM 14 ARE MADE IN THE CONTRACT ORDER NO. IN ITEM 10A.

15C. DATE SIGNED

B. THE ABOVE NUMBERED CONTRACT/ORDER IS MODIFIED TO REFLECT THE ADMINISTRATIVE CHANGES

SET FORTH IN ITEM 14, PURSUANT TO THE AUTHORITY OF FAR 43.103(b).

RESULT IN REJECTION OF YOUR OFFER.  If by virtue of this amendment you desire to change an offer already submitted, such change may be made by letter

or electronic communication, provided each letter or electronic communication makes reference to the solicitation and this amendment, and is received prior to

the opening hour and date specified.

C. THIS SUPPLEMENTAL AGREEMENT IS ENTERED INTO PURSUANT TO AUTHORITY OF:

D. OTHER

Contractor

16C. DATE SIGNED

14. DESCRIPTION OF AMENDMENT/MODIFICATION

16B. UNITED STATES OF AMERICA

Except as provided herein, all terms and conditions of the document referenced in Item 9A or 10A, as heretofore changed, remains unchanged and in full force and effect.

15A. NAME AND TITLE OF SIGNER

16A. NAME AND TITLE OF CONTRACTING OFFICER

15B. CONTRACTOR/OFFEROR

STANDARD FORM 30

PREVIOUS EDITION NOT USABLE

Prescribed by GSA - FAR (48 CFR) 53.243

(Type or print)

(Type or print)

(Organized by UCF section headings, including solicitation/contract subject matter where feasible.)

(Number, street, county, State and ZIP Code)

(If other than Item 6)

(Specify type of modification and authority)

(such as changes in paying office, appropriation date, etc.)

(If required)

(SEE ITEM 11)

(SEE ITEM 13)

(X)

CHECK

ONE

13. THIS ITEM APPLIES ONLY TO MODIFICATIONS OF CONTRACTS/ORDERS,

IT MODIFIES THE CONTRACT/ORDER NO. AS DESCRIBED IN ITEM 14.

11. THIS ITEM ONLY APPLIES TO AMENDMENTS OF SOLICITATIONS

AMENDMENT OF SOLICITATION/MODIFICATION OF CONTRACT

(Signature of person authorized to sign)

(Signature of Contracting Officer)

0005

549-22-800

Department of Veterans Affairs

Central Texas Veterans HCS

1901 Veterans Memorial Dr. Building #171

Temple TX 76504

Department of Veterans Affairs

Central Texas Veterans HCS

1901 Veterans Memorial Dr.  Building 171

Temple TX 76504

To all Offerors/Bidders

36C25726R0048

X

X

X

THE PURPOSE OF THIS AMENDMENT IS TO ADD A REVISED STATEMENT OF WORK.

THE REVISED STATEMENT OF WORK IAW THE ARCHITECTURAL SECTION 4.3 REMOVES THE REQUIREMENT FOR THE WINDOWS TO BE

BLAST RESISTANT.

RHONDA RICHARDSON

CONTRACTING OFFICER

VA North Texas Health Care System

Replace Windows Building 2J (Construction)

REVISED STATEMENT OF WORK

- GENERAL INFORMATION

  - Title of Project: Replace Windows Building 2J PN: 549 -22-800 and located at 4500 S. Lancaster Rd. Dallas, TX 75216 (Dallas VA Medical Center)

  - The contractor shall provide all resources necessary to accomplish the deliverables described in this scope of work (SOW), except as may otherwise be specified.

  - All work shall be accomplished in accordance with the requirements of current building codes, government codes, regulations, procedures, contract drawings and specifications, and the technical requirements of this Scope of Work. Contractor shall comply with VA Construction Standards. https://www.cfm.va.gov/til/

- Background

  - The scope of the Project includes replacement of all exterior windows in building 2J. Window replacement shall include all operable, non-operable, skylights, atriums, and any other type of windows in the building, including but not limited to storefront and glass replacement at all building levels. All window replacements shall be building-code-compliant and comply with the most current energy efficiency standards, meet blast, and physical security requirements as specified in the SOW. Project shall include required details for a waterproof/watertight installation.

  - Building 2J is a 5-story building constructed in 1995. The existing structure is conventionally reinforced cast-in-place concrete pan-girder construction with the interstitial structural steel framing with lightweight insulating concrete deck hanging from the concrete construction, and the foundation system is a straight shaft drilled piers supporting the column loads.

  - The replace windows building 2J project includes completely preparing site for construction operations, including demolition and removal of existing materials, and furnish all necessary labor, materials, and equipment for the construction of the replace windows building 2J. Contractors shall work Monday through Friday except on federal holidays unless approved by the COR.  After hours construction may need to occur to reduce the impact on administrative staff and patients.  All after hours work shall be coordinated at least 14 days prior and shall be approved by the VA.  Any associated costs for after-hours work shall be incidental to the contract. Staff must have access to the building through the main entrance and emergency service doors for the duration of the project. Contractor shall visit the site prior to bid to get fully acquainted with existing site conditions and scope of work. Prior to beginning work the contractor shall construct but not limited to temporary construction walls and or containments to minimize the impact on the occupied space that surrounds the project’s area.

  - Contractor is responsible for moving/storing the furniture and equipment and shall coordinate with the VA the move of all equipment and or furniture. Upon completion of daily work, the contractor shall clean up dust and debris from the space.

  - Proper safety and infection control measures shall always be observed during construction. The contractor must develop and submit a comprehensive safety plan for approval by the VA. This safety plan should include details about the safety procedures, protocols, and measures that will be implemented to ensure the safety of all personnel, contractors, and visitors on site. It should address potential hazards, risk assessment, emergency procedures, and compliance with all relevant safety regulations and standards. Once submitted, the VA will review the safety plan for adequacy and compliance before granting approval

  - All infection control and safety requirements shall be complied with such as general cleaning, minimizing dust penetrations, secure tools and/or sharp items and adhere to OSHA construction regulations.

  - Coordination will be necessary with the VA Contracting Officer’s Representative (COR) to minimize utility disruptions to patient care.

  - All improvements/renovations shall be made with minimal interruption to Building 2J. Contractor shall field verify all materials to insure size and type prior to installation.

  - Contractor is to restore any damage to wall, inside frame, including - but not limited to - caulking and paint of wooden interior frame to its original condition

  - Equipment damaged during construction shall be repaired and/or replaced at no additional cost to the VA

  - The contractor must coordinate with the VA and submit a phasing plan in submittal package. A phasing plan is included in the construction documents. The baseline phasing plan included in the construction documents must be optimized if necessary to minimize the impact on patient care and project duration.

  - Contractors shall conduct preliminary inspection control of worksite, identify ANY preexisting damage, and notify VA personnel before performing work in the designated area.

  - Contractors shall follow VANTXHCS’ infection control standards, construction safety guidelines, and patient safety requirements.

- Scope of Structural Work

  - This project involves the replacement of all exterior windows in Building 2J. Window replacement includes all operable, non-operable, skylights, curtain wall, and any other window type in the building at all levels. All window replacements will be building code compliant and comply with the most current energy efficiency standards. Please refer to drawings and specifications for more details.

  - The existing skylight framing consists of conventional structural steel framing supported by the building’s concrete roof framing. The existing framing directly supporting the skylights has been found to be inadequate for current wind pressures. Additional bracing will be installed around the primary skylight framing as reflected in the construction documents.

  - The existing porta-cochere framing consists of conventional structural steel framing supported by wide flange columns. The existing wind pressures were found to be within the permissible limits to preclude any requirement of strengthening.

  - The existing atrium curtain wall is supported by tube steel spanning from the foundation to the roof level. The existing framing supporting the curtain wall is adequate and will not require any strengthening.

  - Building 3T MRI is not included in scope, Storefront door assemblies are not included in scope, Porte-cochere skylights are included in scope and evaluated for resistance to current wind pressures. Porte-cochere skylights are not required to be blast resistant but are required to have laminated glass, Skylights over the building are included in scope and evaluated for resistance to current wind pressures. Roof skylights are not required to be blast resistant but are required to have laminated glass, all punched openings are included in scope. Punched windows are not required to be blast resistant but are required to have laminated glass. All ribbon window openings are included in scope. Ribbon windows are not required to be blast resistant but are required to have laminated glass. All windows at stairwells are included in scope. Stairwell windows are not required to be blast resistant but are required to have laminated glass, The atrium curtain wall is included in scope and evaluated for resistance to current wind pressures. The curtain wall is not required to be blast resistant but is required to have laminated glass.

  - General Building Design Loads, all building minimum design loads are to be following and compliant with IBC 2021, ASCE 7- 16, VA PG-18-10, H-18-8, PSRDM and all other applicable codes having jurisdiction. Wind loads, Basic Wind Speed (V): 116 mph, Assume Enclosed Building, Exposure Category: C, Pressure Coefficients: Enclosed, +/- 0.18.

  - Materials, the following contains a summary of the anticipated structural material and their specified properties and are applicable as needed: Structural Steel: ASTM A992 (Fy = 50 ksi) for Wide Flange shapes, ASTM A500, Grade B (Fy = 46 ksi) for HSS (tube) sections, ASTM A36 (Fy = 36 ksi) for plates, angles, and all other rolled shapes.

  - Scope Specific Design Guidance, based on guidance provided by VA Office of Healthcare Engineering, PSRDM Section 6.3.1 applies to new construction projects only. Therefore, the additional structural requirements in 6.3.1 would not apply to this project. However, and per PSRDM Table 2-1, PSRDM Sections .3.1.1, and 6.3.1.2 will still apply.

  - Glass, all new exterior glazing, including door glazing, must be laminated glass. For insulated glazing units (IGUs) laminated glass is required only for the inner lite. Glass performance is to be evaluated using a probability of failure of 500 breaks per 1000.

  - Glazing, unless demonstrated by analysis that a dry glazed system is adequate, the glass must be restrained within the mullions/frames with a minimum 1/2” bite and a minimum 3/8” wide continuous bead of structural silicone adhesive attaching the inner lite of glass to the frame to allow it to develop its post-damage capacity.

  - Pharmacy Windows, Per PSRDM Section 5.12.3, ground floor windows must have forced entry resistant construction of .75” #9 10-gauge stainless steel woven security mesh that is securely anchored to the window frame and have intrusion detection alarm that annunciates in the Security Control Center.

- Architectural

4.1 All existing windows are to be replaced with new windows of the same size. Mullion spacing is to match as close as possible to the existing building. Curtain wall replacement is not to have any frit pattern on the glazing. All new glass doors are to be reviewed for hardware requirements. Please refer to drawings and specifications for more details.

4.2 All new windows are to have the same color and finish as the existing Building 2 windows. Window Frames will be anodized dark bronze. The glazing color will be a green tint.

4.3 All glazing to be laminated. Additional requirements are needed at the Pharmacy area windows. Those will have to have .75” #9 10-gauge stainless steel woven security mesh that is securely anchored to the window frame or approved equal security window films.

4.4 Interior work will include repairing any finishes that are damaged or need to be removed to replace the windows. This includes, but is not limited to paint, gypsum board, plastic laminate windowsills, stone or granite windowsills, and wall coverings. Window shades and coverings are excluded.

## Codes, Standards and References

The contractor (to include Subcontractors) must abide by all applicable regulations, publications, manuals, and local policies and procedures. Although some publication dates are given, the construction shall be by current references and standards including but not limited to the following:

  - VA planning, design and construction criteria.

    - PG-18-1, VA Master Specifications

    - PG-18-3, Design and Construction Procedures

    - PG-18-10, Design Manuals (by discipline)

    - PG-18-12, Design Guides (graphical, by function)

    - H-18-8, Seismic Design Requirements

    - PSRDM, Physical Security & Resiliency Design Manual, Rev. 07-01-2022

  - International Code Council (ICC)

    - 2021 International Building Code (IBC 2021)

    - 2021 International Existing Building Code (IEBC 2021)

  - American Society of Civil Engineers (ASCE)

    - ASCE 7-16, Minimum Design Loads and Associated Criteria for Buildings and

  - American Institute of Steel Construction (AISC)

    - AISC 325-17, Steel Construction Manual (15th Edition)

    - AISC 360-16, Specification for Structural Steel Buildings

  - American Concrete Institute (ACI)

    - ACI 318-19, Building Code Requirements for Structural Concrete

  - Unified Facilities Criteria (UFC)

    - UFC 4-010-01, DoD Minimum Anti-Terrorism Standards for Buildings, 12, December 2018, Change 1, 19 August 2020

  - All building minimum design loads are to be following and compliant with IBC 2021, ASCE 7- 16, VA PG-18-10, H-18-8, PSRDM and all other applicable codes having jurisdiction.

    - All window replacement windows replacement shall comply with all applicable VA specifications

https://www.cfm.va.gov/TIL/index.asp

- Performance Period:

  - The contractor shall complete the work required under this SOW in 548 calendar days or less from date of award, unless otherwise directed by the Contracting Officer (CO). If the contractor proposes an earlier completion date, and the Government accepts the contractor’s proposal, the contractor’s proposed completion date shall prevail. Work at the Government site shall not take place on Federal holidays or weekends unless directed by the CO. Night hours can start no earlier than 4:30 PM and must minimize disruption to staff and patients adjacent to the construction boundaries.

  - Warranties. The Contractor shall provide one (1) year performance agreement labor and material in addition to the manufacturer’s warranty. The construction warranty period shall begin on the date of project acceptance and shall continue for the full product warranty period.

B.  CONTRACT AWARD MEETING

The contractor shall commence performance on the tasks in this SOW until the CO has conducted a pre-construction meeting or has advised the contractor that a kickoff meeting is waived.

C.  SPECIAL REQUIREMENTS

1.   For every task, the contractor shall identify in writing all necessary subtasks (if any), associated costs by task, and along with associated sub-milestone dates.  The contractor's subtask structure shall be reflected in the technical proposal and detailed work plan.

2. All written deliverables shall be phrased in the layperson’s language.  Statistical and other technical terminology shall not be used without providing a glossary of terms.

3. All window replacements shall adhere to the window specifications and drawings provided.

4. The contractor shall field verify the project scope to determine the quantity of windows to be replaced.

5. The contractor is responsible for disposing/recycling demolished materials

6. The environmental & asbestos reports will be available upon request. Building 2J is a 5-story building constructed in 1995.

7. The government will provide the ICRA/PCRA requirements. The contractor shall provide the ICRA/PCRA/life safety measures for VA approval.

8. The freight elevator is available, but its use will need to be discussed to minimize the impact on VA operations.

9. Available building 2J drawings will be provided upon request.

D.  SPECIFIC MANDATORY TASKS AND ASSOCIATED DELIVERABLES

Description of Tasks and Associated Deliverables: The contractor shall provide the specific deliverable described below within the performance period stated in this SOW.

Task One: The contractor shall provide a detailed work plan and briefing for the VA project team, which presents the contractor's plan for completing the task order.  The contractor's plan shall be responsive with this SOW and describe, in further detail, the approach to be used for each aspect of the task order as defined here. Shop drawings fully describing components to be installed shall be submitted for review and acceptance.

Deliverable One: A detailed work plan and briefing. Shop drawings fully describe all components and work products.

Task Two: Replace Windows Building 2J

Deliverable Two: A completed project based on the plans and specifications.

Task Three: Provide two hard copies of each As-built drawing.  In red ink record all items that are different or do not match the project plan set.

Deliverable Three: Two copies of As-built drawings.

The contractor is expected to attend weekly project update meetings as scheduled by the COR. It is the contractor’s responsibility to prepare an agenda and distribute minutes for each meeting and come prepared to discuss the current disposition of the project to include:

•	Safety

•	Schedule- planned vs actual progress

•	Outstanding requests made to the government

•	Status of project

•	Future and scheduling

•	Upcoming events such as hot work, etc.

- SCHEDULE FOR DELIVERABLES

1.  The contractor shall complete the delivery date for each deliverable specified.

2. Unless otherwise specified, the number of draft copies and the number of final copies shall be the same.

3.  If for any reason any deliverable cannot be delivered within the scheduled time frame, the contractor is required to explain why in writing to the CO, including a firm commitment of when the work shall be completed.  This notice to the CO shall cite the reasons for the delay, and the impact on the overall project.  The CO will then review the facts and issue a response, in accordance with applicable regulations.

F.  CHANGES TO STATEMENT OF WORK

Any changes to this SOW shall be authorized and approved only through written correspondence from the CO.  A copy of each change will be kept in a project folder along with all other products of the project.  Costs incurred by the contractor through the actions of parties other than the CO shall be borne by the contractor.

G.  REPORTING REQUIREMENTS

1. The contractor shall provide the COR with monthly written progress reports submitted electronically.  These are due to the COR by the second workday following the end of each calendar month, throughout the project's duration.

2. The progress report shall cover all work completed during the preceding month and shall present the work to be accomplished during the subsequent month. This report shall also identify any problems that arose, along with a statement explaining how the problem was resolved. This report shall also identify any problems that have arisen but have not been completely resolved, with an explanation

H.  CONFIDENTIALITY AND NONDISCLOSURE

It is agreed that:

1.  The preliminary and final deliverables, and all associated working papers, application source code, and other material deemed relevant by VA which have been generated by the contractor in the performance of this task order, are the exclusive property of the U.S. Government and shall be submitted to the CO at the conclusion of the task order.

2. The CO will be the sole authorized official to release, verbally or in writing, any data, draft deliverables, final deliverables, or any other written or printed materials pertaining to this task order.  No information shall be released by the contractor.  Any request for information relating to this task order, presented to the contractor, shall be submitted to the CO for response.

3. Press releases, marketing material, or any other printed or electronic documentation related to this project, shall not be publicized without the written approval of the CO.

I.  ATTACHMENTS

- Construction Drawings.

- Construction Specifications.

Attachment A to the Statement of Work

Schedule of Deliverables

| Deliverable No. One | Item A detailed work plan and briefing. Shop drawings fully describing all components and work products. Detailed Schedule of Values | Quantity 3 | Delivery Date Within 21 calendar days after notice to proceed. |
| --- | --- | --- | --- |
| Two | Replace Windows Building 2J per the attached plans and specifications | 1 | Within 548 calendar days after notice to proceed. |
| Three | As-Built drawings per the attached plans and specifications. | 2 | Within 14 calendar days of project completion. |